## Methods Tech. Characteristics
| Methodology A | Methodology B | Methodology C
Blood stabilization | Paxgene tube | Tempus tube | Tempus tube
RNA purification kit | PaxGene® Blood miRNA kit | MagMax for Stabilized Blood Tubes RNA Isolation kit | Tempus™ Spin RNA Isolation Kit
Processing | Semi-automated | Manually | Manually
Thawing | 2 hours at RT | 30 min on ice | 30 min on ice
Technology | Spin colums | Magnetic beads | Spin colums
Full processing time | 145 min/12 samples | 190 min/16 samples | 150 min/16 samples
Hans on time | 40 min | 190 min | 150 min
DNase digestion | Yes | No | Yes
miRNA isolation | Yes | Yes | No
Elution volume | 80 µl | 80 µl | 100 µl
Consumable material not supplied | 50 ml conical tubes, filter tips, rotor adapter and filter tips for Qiacube robot | 50 ml conical tubes, filter tips | 50 ml conical tubes, filter tips
Required equipment | Qiacube, Vortex, refrigerated centrifuge for 10 ml tubes | Vortex, refrigerated centrifuge for 50 ml tubes, microcentrifuge for 1,5 ml tubes, magnetic stand | Vortex, refrigerated centrifuge for 50 ml tubes, microcentrifuge for 1,5 ml tubes
Cost/RNA extraction | Consumable : 31,95 € | Consumable :18,93 € | Consumable :16,5 €
| Personnel cost: 0,70 € | Personnel cost: 3,33 € | Personnel cost: 2,63 €
| Total:32,65 € | Total: 22,25 € | Total: 19,12 €
Summary of the technical characteristics, technical requirements and cost analysis for the three methodologies tested.

## Variable average data
| Yield (µg) | A260/A280 | A260/A230 | RIN
Methodology A
Technician 1 | 8,91±5,01 | 2,17±0,04 | 1,37±0,35 | 9,28±0,39
Technician 2 | 8,38±4,56 | 2,15±0,06 | 1,47±0,39 | 9,19±0,46
Total | 8,64±4,77 | 2,16±0,05 | 1,42±0,37 | 9,24±0,42
Methodology B
Technician 1 | 10,48±4,62 | 2,28±0,22 | 0,59±0,45 | 6,93±0,76
Technician 2 | 9,03±5,29 | 2,31±0,22 | 0,22±015 | 7,17±1,47
Total | 9,76±5 | 2,29±0,22 | 0,41±0,39 | 7,05±1,16
Methodology C
Technician 1 | 13,04±3,94 | 2,18±0,01 | 1,96±0,08 | 9,22±0,39
Technician 2 | 14,55±4,76 | 2,18±0,01 | 1,97±0,31 | 9,17±0,47
Total | 13,5±4,41 | 2,18±0,01 | 1,97±0,22 | 9,2±0,43
Average and standard deviation obtained for RNA yield, A260/A280, A260/A230 and RIN obtained by both technicians with the three methodologies. The average values encompassing the values obtained by both technicians are also indicated.

## Methods Robustness analysis
| Yield | A260/A280 | A260/A230 | RIN
Methodology A
Technician 1 | 17,11±11,76 | 0,73±0,56 | 18,26±22,51 | 1,74±1,37
Technician 2 | 30,72±27,71 | 1,32±1,52 | 19,74±14,2 | 3,34±3
Total | 23,91±22,15 | 1,03±1,18 | 18,95±18,72 | 2,51±2,41
Methodology B
Technician 1 | 32,91±52,30 | 1,71±2,84 | 39.86±35,39 | 6,71±9,63
Technician 2 | 9,35±12,59 | 3,27±5,23 | 36,57±32,72 | 8,98±9,53
Total | 21,64±40,17 | 2,54±4,18 | 38,29±33,58 | 7,82±9,54
Methodology C
Technician 1 | 4,43±3,26 | 0,41±0,23 | 2,25±1,72 | 1,82±1,36
Technician 2 | 9,81±8,48 | 0,32±0,27 | 2,78±2,30 | 1,71±1,32
Total | 7,18±6,96 | 0,37±0,29 | 2,51±2,02 | 1,74±1,38
Robustness of each methodology analysis. Average percentage and standard deviation for variation between methodologies and technicians for variables yield, A260/A280, A260/A230 and RIN.