## RT conditions
|  | Qiagen reagents |  | Qiagen RT mix composition (miScript II RT kit)
|  | mRNA/miRNA |  |  | mRNA + miRNA
Reverse Transcription | RNA input | 10pg - 1µg |  | miScript RT HiFlex buffer, 5x | 4.00µL
| Used RNA input | 450ng |  | miScript Reverse Transcriptase Mix | 2.00µL
| Total volume per rct | 20µl |  | 10× miScripts Nucleics Mix | 2µL
| Maximal volume RNA | 15µl |  | RNase-free water | 0 µL
| Principle | polyadenylation of miRNA and cDNA synthesis using oligo dT- and random primers |  | RNA template | 12 µL
| Duration of incubation steps | 65min |  | total RNA [RNA/rct] | 450 ng
| Incubation steps | 60min 37°C, |  | Total volume | 20µL
5min 95°C
qRT - PCR |  | mRNA | miRNA
| Recommended reaction volume | 20µl | 20µl
| Recommended input cDNA | 10-20ng | 1-3ng

## miRNA reaction conditions
miScript SYBR green (Qiagen) |  | Program
miRNA mix | miRNA maduro | Step | Time | Temperature
2x QuantiTect SYBR Green PCR Master Mix | 12.5 | Initial activation step | 15' | 95ºC
10xmiScript Primer Assay | 2.5 | 3-step cycling (40 cycles)
10x miScript Universal primer | 2.5 | Denaturation | 15'' | 94ºC
RNAse-free water | 2.5 | Annealing | 30'' | 55ºC
Template DNA | 2.50 | Extension | 30'' | 70ºC
Total volume | 25µL
total cDNA [cDNA/rct] | 2 ng

## mRNA qPCR conditions
FastStart Essential DNA Green Master |  | Program
mRNA Mix | mRNA | Step | Time | Temperature
Master mix 2× | 10µL | Initial activation step | 10' | 95ºC
Oligo F (10 µM) | 1 µL | 3-step cycling (40 cycles)
Oligo R (10 µM) | 1 µL | Denaturation | 15'' | 95ºC
Muestra | 2.5µL | Annealing | 30'' | 60ºC
RNAse-free water | 5.50µL | Extension | 30'' | 72ºC
Total volume | 20 µL | Melting curve
total cDNA [cDNA/rct] | 10 ng |  | 10'' | 95ºC
|  |  | 1' | 60ºC
Ramp 0,1 ºC/s to 97ºC

## qPCR oligonucleotide sequences
Oligo description | Sequence | Cat. no. | Reference
Hs_miR-16_2 miScript Primer Assay | _ | Qiagen, MS00031493
Hs_miR-26a_2 miScript Primer Assay | _ | Qiagen, MS00029239
Hs_miR-30b_1 miScript Primer Assay | _ | Qiagen, MS00003276
ACTB-F | TACAGCTTCACCACCACAGC |  | Boutz et al. 2016
ACTB-R | ATGCCACAGGATTCCATACC
GAPDH-F | TGCACCACCAACTGCTTAGC |  | kang et al. 2017
GAPDH-R | GGCATGGACTGTGGTCATGAG
18S-rRNA-F | CAGATTGGCTACCCAACTGTT |  | Lopez et al. 2016
18S-rRNA-R | GGCCAGGACTCGTTTGTACC