Supplemental Table 3: Bivariable and multivariable analysis of clinical characteristics and absolute bias categorised as ≤3% and >3% (paired readings only)

| Variable |  | N | Absolute Bias ≤3% (N=13488) |  | Absolute Bias >3% (N=5276) |  | Bivariable Analysis |  |  | Multivariable Analysis (N=18650) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | n | % | n | % | OR | 95% CI | p | aOR | 95% CI | p |
| Diagnosis | CVS – cyanotic | 4380 | 2801 | 20.8 | 1579 | 29.9 | 2.93 | 2.17, 3.96 | <0.001 | 0.87 | 0.71, 1.06 | 0.172 |
|  | CVS – acyanotic (ref) | 7108 | 5421 | 40.2 | 1687 | 32.0 | 1 | - | - | 1 | - | - |
|  | Sepsis | 1602 | 1239 | 9.2 | 363 | 6.9 | 1.16 | 0.74, 1.81 | 0.509 | 1.40 | 1.05, 1.86 | 0.022 |
|  | Respiratory | 3806 | 2505 | 18.6 | 1301 | 24.7 | 1.97 | 1.36, 2.85 | <0.001 | 1.45 | 1.16, 1.82 | 0.001 |
|  | Post-cardiac arrest | 460 | 388 | 2.9 | 72 | 1.4 | 0.89 | 0.49, 1.60 | 0.698 | 1.62 | 1.08, 2.43 | 0.019 |
|  | Post-operative | 680 | 472 | 3.5 | 208 | 3.9 | 0.83 | 0.49, 1.42 | 0.503 | 1.14 | 0.81, 1.62 | 0.449 |
|  | Other | 728 | 662 | 4.9 | 66 | 1.3 | 0.34 | 0.17, 0.68 | 0.002 | 1.52 | 1.05, 2.21 | 0.027 |
| Age at ICU admission (n, %) | 0-2 years (ref) | 15114 | 10442 | 77.4 | 4672 | 88.6 | 1 | - | - | - |  |  |
|  | 2-17 years | 3650 | 3046 | 22.6 | 604 | 11.5 | 0.32 | 0.24, 0.43 | <0.001 | - |  |  |
| Weight at admission (kg)* |  | 18764 | 4.8 | 6.5 | 4.1 | 3.8 | 0.51 | 0.43, 0.59 | <0.001 | 0.77 | 0.70, 0.85 | <0.001 |
| Sex (n, %) | Male (ref) | 9144 | 6362 | 47.2 | 2782 | 52.7 | 1 | - | - | 1 | - | - |
|  | Female | 9620 | 7126 | 52.9 | 2494 | 47.3 | 1.00 | 0.78, 1.30 | 0.966 | 1.13 | 0.98, 1.31 | 0.095 |
| Ethnicity (n, %) | Not ATSI (ref) | 16874 | 12173 | 90.3 | 4701 | 89.1 | 1 | - | - | 1 | - | - |
|  | ATSI | 1890 | 1315 | 9·8 | 575 | 10·9 | 0·94 | 0·60, 1·48 | 0·790 | 1·29 | 0·99, 1·68 | 0·055 |
| Oximeter type | Massimo (ref) | 9382 | 7054 | 52·3 | 2328 | 44·1 | 1 | - | - | 1 | - | - |
|  | Nellcor | 9382 | 6434 | 47·7 | 2948 | 55·9 | 1·48 | 1·38, 1·59 | <0·001 | 3·81 | 3·42, 4·24 | <0·001 |
| SaO2 Category | SaO2 < 80 | 1940 | 530 | 3·9 | 1410 | 26·7 | 21·20 | 17·83, 25·21 | <0·001 | 4·81 | 3·60, 6·43 | <0·001 |
|  | 80 ≤ SaO2 < 88 | 1634 | 735 | 5·5 | 899 | 17·0 | 7·68 | 6·66, 8·87 | <0·001 | 3·71 | 2·83, 4·86 | <0·001 |
|  | 88 ≤ SaO2 < 92 | 1336 | 674 | 5·0 | 662 | 12·6 | 4·48 | 3·93, 5·11 | <0·001 | 3·20 | 2·40, 4·28 | <0·001 |
|  | SaO2 ≥ 92 (ref) | 13854 | 11549 | 85·6 | 2305 | 43·7 | 1 | - | - | 1 | - | - |
| Lactate* |  | 18650 | 1.1 | 0·7 | 1.2 | 0·8 | 1·33 | 1·23, 1·45 | <0·001 | 1·15 | 1·03, 1·28 | 0·011 |
| Total Hb^ |  | 18742 | 119·0 | 21·0 | 125·4 | 20·5 | 1·009 | 1·007, 1·01 | <0·001 | - |  |  |
| Oxygen saturation index | None (ref) | 6087 | 5100 | 64·9 | 987 | 40·1 | 1 | - | - | - |  |  |
|  | Mild | 3042 | 2145 | 27·3 | 897 | 36·4 | 2·01 | 1·75, 2·29 | <0·001 | - |  |  |
|  | Moderate | 1004 | 543 | 6·9 | 461 | 18·7 | 3·33 | 2·76, 4·02 | <0·001 | - |  |  |
|  | Severe | 191 | 72 | 0·9 | 119 | 4·8 | 6·19 | 4·25, 9·02 | <0·001 | - |  |  |
| Ventilated | No (ref) | 6626 | 4607 | 34·2 | 2019 | 38·3 | 1 | - | - | 1 | - | - |
|  | Yes | 12138 | 8881 | 65·8 | 3257 | 61·7 | 0·90 | 0·82, 0·98 | 0·013 | 1·02 | 0·91, 1·14 | 0·748 |
| Inotropes | No (ref) | 11826 | 8834 | 65·5 | 2992 | 56·7 | 1 | - | - | - |  |  |
|  | Yes | 6938 | 4654 | 34·5 | 2284 | 43·3 | 1·23 | 1·13, 1·34 | <0·001 | - |  |  |
| Vasodilators | No (ref) | 10128 | 7231 | 53·6 | 2897 | 54·9 | 1 | - | - | - |  |  |
|  | Yes | 8636 | 6257 | 46·4 | 2379 | 45·1 | 0·90 | 0·83, 0·99 | 0·028 | - |  |  |
| Vasoconstrictors | No (ref) | 15090 | 11098 | 82·3 | 3992 | 75·7 | 1 | - | - | 1 | - | - |
|  | Yes | 3674 | 2390 | 17·7 | 1284 | 24·3 | 1·28 | 1·15, 1·42 | <0·001 | 1·23 | 1·05, 1·44 | 0·008 |

OR odds ratio; aOR adjusted odds ratio CI confidence interval; * median (interquartile range), log-transformation used for bivariable analysis; ^ mean (standard deviation)