Additional Files

Additional File 1: Figure S1. The ability of NIRS to predict the age of Ae. albopictus mosquitoes in days. (A) The best fit regression coefficient function for the simple PLS model trained on laboratory reared mosquitoes showing the most informative regions of the spectrum. Grey lines show best fit model for each of the 100 dataset randomisations whilst black line indicates the average. (B) Ability of the model to predict age of laboratory reared mosquitoes. Boxplot thick horizontal black line shows the median/50th-percentile whilst the box edges, inner and outer whiskers showing 25th/75th, 15th/85th and 5th/95th percentiles, respectively. Grey dashed line shows model with 100% accuracy. (C) Ability of the model trained on laboratory mosquitoes to predict the age of semi-field mosquitoes. Results can be compared to the resampling PLS method presented in Figure 1.

Additional File 2: Figure S2. Scatter scores plot for laboratory (blue; square) and semi-field (red; circle) mosquitoes generated from PCA models. (A) Scores calculated for PC-2 (8%) and PC-3 (2%); and (B) scores calculated for PC-3 (2%) and PC-4 (1%).

Additional File 3: Table S1. Impact of pre-processing on standard PLS calibration models. Accuracy is compared using the mean average difference between the predicted and true age (root-mean-square deviation, RMSD, in days).

| Pre-processing method | Laboratory mosquitoes |  | Semi-field mosquitoes |  |
| --- | --- | --- | --- | --- |
|  | Number of components | RMSD | Number of components | RMSD |
| Mean-centred | 7 | 3.12 | 7 | 4.22 |
| Mean normalize | 6 | 3.04 | 2 | 4.18 |
| SNV | 7 | 2.83 | 2 | 4.13 |
| Detrend-SNV | 9 | 2.35 | 12 | 3.10 |
| Savitzky-Golay (2,2,28,57)* | 3 | 2.57 | 7 | 3.60 |

*Numbers within SG filtering represents the order of derivative, polynomial order, smoothing points for each sides of the plot and total smoothing points.