Supplementary Table 1. Comparison of malaria detection by GFP and MMSR assays - capillary blood.

| Plasmodium ssp |  | MMSR |  |  | 2 = 11.1 P < 0.001 (higher detection with GFP) |
| --- | --- | --- | --- | --- | --- |
|  |  | Positive | Negative | Total |  |
| GFP | Positive | 23 | 20 | 43 |  |
|  | Negative | 3 | 57 | 60 |  |
|  | Total | 26 | 77 | 103 |  |
| P. falciparum |  | MMSR |  |  | 2 = 0 P = 1.0 (no difference) |
|  |  | Positive | Negative | Total |  |
| GFP | Positive | 25 | 10 | 35 |  |
|  | Negative | 9 | 59 | 68 |  |
|  | Total | 34 | 69 | 103 |  |
| Any malaria marker |  | MMSR |  |  | 2 = 3.4 P > 0.05 (no difference) |
|  |  | Positive | Negative | Total |  |
| GFP | Positive | 32 | 14 | 46 |  |
|  | Negative | 5 | 52 | 57 |  |
|  | Total | 37 | 66 | 103 |  |

Supplementary Table 2. Comparison of malaria detection by GFP and MMSR assays - venous blood.

| Plasmodium ssp |  | MMSR |  |  | 2 = 17.4 P < 0.001 (higher detection with GFP) |
| --- | --- | --- | --- | --- | --- |
|  |  | Positive | Negative | Total |  |
| GFP | Positive | 34 | 19 | 53 |  |
|  | Negative | 0 | 50 | 50 |  |
|  | Total | 34 | 69 | 103 |  |
| P. falciparum |  | MMSR |  |  | 2 = 2.4 P > 0.1 (no difference) |
|  |  | Positive | Negative | Total |  |
| GFP | Positive | 31 | 11 | 42 |  |
|  | Negative | 4 | 57 | 61 |  |
|  | Total | 35 | 68 | 103 |  |
| Any malaria marker |  | MMSR |  |  | 2 = 11.5 P < 0.001 (higher detection with GFP) |
|  |  | Positive | Negative | Total |  |
| GFP | Positive | 37 | 16 | 53 |  |
|  | Negative | 1 | 49 | 50 |  |
|  | Total | 38 | 65 | 103 |  |

Supplementary Table 3. Comparison of malaria detection in capillary and venous blood – GFP assay.

| Plasmodium ssp |  | Capillary |  |  | 2 = 6.75 P < 0.01 (more sensitive for venous blood) |
| --- | --- | --- | --- | --- | --- |
|  |  | Positive | Negative | Total |  |
| Venous | Positive | 42 | 11 | 53 |  |
|  | Negative | 1 | 49 | 50 |  |
|  | Total | 43 | 60 | 103 |  |
| P. falciparum |  | Capillary |  |  | 2 = 4.0 P < 0.05 (more sensitive for venous blood) |
|  |  | Positive | Negative | Total |  |
| Venous | Positive | 34 | 8 | 42 |  |
|  | Negative | 1 | 60 | 61 |  |
|  | Total | 35 | 68 | 103 |  |
| P. vivax/P. ovale |  | Capillary |  |  | 2 = 0 P = 1.0 (no difference) |
|  |  | Positive | Negative | Total |  |
| Venous | Positive | 5 | 0 | 5 |  |
|  | Negative | 1 | 97 | 98 |  |
|  | Total | 6 | 97 | 103 |  |
| Any malaria marker |  | Capillary |  |  | 2 = 4. 0 P < 0.05 (more sensitive for venous blood) |
|  |  | Positive | Negative | Total |  |
| Venous | Positive | 45 | 8 | 53 |  |
|  | Negative | 1 | 49 | 50 |  |
|  | Total | 46 | 57 | 103 |  |

Supplementary Table 4. Comparison of malaria detection in capillary and venous blood – MMSR assay.

| Plasmodium ssp |  | Capillary |  |  | 2 = 2.7 P > 0.1 (no difference) |
| --- | --- | --- | --- | --- | --- |
|  |  | Positive | Negative | Total |  |
| Venous | Positive | 21 | 13 | 34 |  |
|  | Negative | 5 | 64 | 69 |  |
|  | Total | 26 | 77 | 103 |  |
| P. falciparum |  | Capillary |  |  | 2 = 0 P = 1.0 (no difference) |
|  |  | Positive | Negative | Total |  |
| Venous | Positive | 26 | 9 | 35 |  |
|  | Negative | 8 | 60 | 68 |  |
|  | Total | 34 | 69 | 103 |  |
| P. vivax |  | Capillary |  |  | --* |
|  |  | Positive | Negative | Total |  |
| Venous | Positive | 0 | 0 | 0 |  |
|  | Negative | 0 | 103 | 103 |  |
|  | Total | 0 | 103 | 103 |  |
| Any malaria marker |  | Capillary |  |  | 2 = 0 P = 1.0 (no difference) |
|  |  | Positive | Negative | Total |  |
| Venous | Positive | 29 | 9 | 38 |  |
|  | Negative | 8 | 57 | 65 |  |
|  | Total | 37 | 66 | 103 |  |