# Supplement

Figure S1: Size distribution of the used PS-MP

Table S1: Measured water parameters at the begin of the experiment (*measured with different device). Due to technical issues, oxygen saturation and concentration as well as conductivity could not be measured in tanks containing methiocarb

| Block | treatment | pH | Temperature | Conductivity [µS/cm] | O2 [mg/L] | O2 [%] |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | control | 6.9 | 7.1 | 476 | 10.23 | 92.5 |
| 1 | DMSO | 8.3* | 7.3 | 483 | 10.82 | 95.3 |
| 1 | PS | 8.3* | 7.2 | 484 | 10.53 | 92.2 |
| 1 | methiocarb | 7.2 | 7.0 | - | - | - |
| 1 | mixture | 6.9 | 7.1 | - | - | - |
| 2 | control | 6.9 | 7.2 | 483 | 10.55 | 93.5 |
| 2 | DMSO | 8.3* | 7.3 | 485 | 10.58 | 92.9 |
| 2 | PS | 8.3* | 7.0 | 485 | 10.47 | 91.2 |
| 2 | methiocarb | 6.9 | 6.9 | - | - | - |
| 2 | mixture | 6.9 | 7.0 | - | - | - |
| 3 | control | 6.9 | 7.6 | 484 | 10.45 | 92.8 |
| 3 | DMSO | 8.3* | 7.4 | 485 | 10.49 | 92.4 |
| 3 | PS | 8.3* | 7.3 | 485 | 10.60 | 93.1 |
| 3 | methiocarb | 6.9 | 7.2 | - | - | - |
| 3 | mixture | 6.9 | 7.1 | - | - | - |

Table S2: Measured water parameters at the end of the experiment. Due to technical issues, oxygen saturation and concentration as well as conductivity could not be measured in tanks containing methiocarb

| Block | treatment | pH | Temperature | Conductivity [µS/cm] | O2 [mg/L] | O2 [%] | Nitrite [mg/L.] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | control | 7.5 | 6.7 | 507 | 11.1 | 97.1 | 0.05 |
| 1 | DMSO | 7.0 | 6.8 | 515 | 11.28 | 97.5 | 0.05 |
| 1 | PS | 7.0 | 6.8 | 517 | 11.23 | 97.2 | 0.05 |
| 1 | methiocarb | 7.2 | 6.7 | - | - | - | 0.1 |
| 1 | mixture | 7.0 | 6.7 | - | - | - | 0.1 |
| 2 | control | 7.2 | 6.5 | 510 | 11.17 | 96.9 | 0.05 |
| 2 | DMSO | 7.2 | 6.7 | 517 | 11.27 | 97.3 | 0.05 |
| 2 | PS | 7.2 | 6.5 | 518 | 11.33 | 97.1 | 0.05 |
| 2 | methiocarb | 7.2 | 6.5 | - | - | - | 0.1 |
| 2 | mixture | 7.0 | 6.5 | - | - | - | 0.1 |
| 3 | control | 7.0 | 6.8 | 512 | 11.14 | 97.0 | 0.05 |
| 3 | DMSO | 7.2 | 6.7 | 516 | 11.19 | 97.0 | 0.05 |
| 3 | PS | 7.2 | 6.7 | 517 | 10.95 | 91.3 | 0.05 |
| 3 | methiocarb | 7.2 | 6.7 | - | - | - | 0.1 |
| 3 | mixture | 7.2 | 6.7 | - | - | - | 0.2 |

Nitrogen required for MS measurements was produced and provided by a membrane nitrogen generator NGM-22-LC/MS (CMC Instruments, Eschborn, Germany), which was coupled to a SF 4 FF oil-free orbiting scroll compressor (Atlas Corpo, Stockholm, Sweden). Instrument operation, acquisition and evaluation of the acquired LC MS/MS data was conducted via Analyst Software 1.5.1. Further MS parameters applied for analysis of methiocarb are illustrated in Table S3.

Table S3: Ionization parameters applied for analysis of methiocarb via ESI-MS/MS

| Setting | Value |
| --- | --- |
| Ion source (ESI) temperature | 400 °C |
| Capillary voltage (positive ion mode) | 5500 V |
| Curtain gas (CUR) | 1.7 bar (25 psi) |
| Nebulizer gas (GS 1) | 2.8 bar (40 psi) |
| Turbo gas (GS 2) | 3.4 bar (50 psi) |
| CAD gas | Medium (5 on a scale from 1 to 12) |
| Interface heater (ihe) | On |

The number of pre-inject and post-inject flushes was set to 4, respectively. Table S4 in the supplement displays the chromatographic gradient used for LC-MS/MS measurements.

Table S4: Chromatographic gradient for the HPLC-MS/MS analysis of MTC and TCP

| Total time [min] | Eluent A [%] | Eluent B [%] |
| --- | --- | --- |
| 0 | 95 | 5 |
| 1.0 | 95 | 5 |
| 3.0 | 5 | 95 |
| 7.0 | 5 | 95 |
| 7.1 | 95 | 5 |
| 14 | 95 | 5 |

Table S5: MS settings used for the analysis of methiocarb. Transitions used for quantification (Quantifiers) are printed in bold.

| Compound | Q1 mass (m/z) | Q3 mass (m/z) | DP [V] | EP [V] | CE [V] | CXP [V] |
| --- | --- | --- | --- | --- | --- | --- |
| Methiocarb | 226 | 169 | 25 | 9 | 15 | 7 |
|  | 226 | 121 | 25 | 9 | 27 | 5 |
| Atrazine (IStd) | 216 | 174 | 35 | 5 | 25 | 5 |
|  | 216 | 104 | 35 | 5 | 40 | 5 |

Table S6: Calculated LOD and LOQ for methiocarb via application of S/N approach (n = 5). Quantifiers are printed in bold.

| Analyte | Instrumental method | Transition m/z | LoD [ng mL-1] | LoQ [ng mL-1] |
| --- | --- | --- | --- | --- |
| Methiocarb | LC-MS | 226→169 | 0.01 | 0.04 |
|  |  | 226→121 | 0.04 | 0.13 |

Table S7: Measurement precision (n = 5) and accuracy for the quantifier of methiocarb for three different concentrations

| analyte (mass transition) | Concentration [ng mL-1] |  | RSD [%] | Accuracy [%] |
| --- | --- | --- | --- | --- |
|  | Nominal | Mean |  |  |
| Methiocarb (226→169) | 0.25 | 0.25 | 10.7 | 100 |
|  | 10 | 10.3 | 2.81 | 103 |
|  | 500 | 492 | 2.91 | 98.4 |

CRED Reporting

| 1. General information |  |
| --- | --- |
| a) Purpose of study | Evaluation of effects of polystyrene microplastic particles, the pesticide and the combination in juvenile brown trout |
| b) Description of endpoints | Mortality, weight, stress proteins (Hsp70). Lipid peroxides (FOX), SOD activity, AChE activity, Cb activity, histological alterations of liver and gill |
| 2. Test design |  |
| a) standard/modified standard | Not performed according to standard procedure |
| b) Good Laboratory Practices (GLP) | Not GLP-accredited |
| c) Controls | Laboratory negative control (30 fish), negative control in experiment (3 replicate tanks), solvent control (3 replicate tanks) |
| d) Validity | Overall control mortality did not exceed 10 % |
| 3.1. Test compound - methiocarb |  |
| a) Identification | Methiocarb / mercaptodimethur (product line: PESTANAL®; CAS number: 2032-65-7; Molecular Formula: C11H15NO2S) |
| b) Physico-chemical characteristics | Solubility: 27 mg/L (20°C); octanol/water partition coefficient: 3.08; melting point; 119 °C; vapour pressure 0.015 mPa (20 °C) |
| c) Source | Sigma-Aldrich, Batch: SZBF106X |
| d) Purity in % | 99.8 % |
| e) Formulation | No formulation, no impurities |
| 3.2. Test compound – polystyrene |  |
| a) Identification | Polystyrene pellets (Polystyrol 158 K) |
| b) Physico-chemical characteristics | Transparent, density: 1.05 g/mL |
| c) Source | BASF, Germany |
| 4. Test organism |  |
| a) Scientific name | Salmo trutta f. fario |
| b) Body weight/length | 2.96 ± 1.01 g / 6.47 ±0.73 cm |
| c) Age/life stage | Juvenile approx. 11 months post hatch |
| d) Reproductive condition | Not in reproductive condition |
| e) Sex | Not determinable |
| f) Strain/clone | No defined clone |
| g) Source | Commercial trout farm (Forellenzucht Lohmühle, D-72275 Alprisbach-Ehlenbogen) |
| h) Acclimatisation | Acclimatization to lab conditions (water quality, temperature, pH) for circa three months |
| 5. Exposure conditions |  |
| a) Schedule | Static design, two times (after 48 h and 72 h)2.5 L medium removed |
| b) System | Closed |
| c) Test medium | Tap water, filtered (iron filter, active charcoal filter, particle filter) cooled and aerated |
| d) Temperature | Climate chamber set to 7 °C, checked at begin and end of the experiment; mean measured = 6.95 ± 0.34 °C |
| e) pH | Mean pH= 7.32 ± 0.51; measured at begin and end of the experiment |
| f) Hardness | Not measured |
| g) Conductivity | Mean conductivity= 489.83 ± 15.82 μS/cm; measured at begin and end of the experiment. Due to technical issues conductivity could not be measured in tanks containing methiocarb |
| h) Dissolved oxygen | Mean oxygen= 10.85±0.36 mg/L; Due to technical issues dissolved oxygen could not be measured in tanks containing methiocarb |
| i) Light intensity/quality | 10 h:14 h light:dark cycle (tanks were shaded from direct light with black plastic foil) |
| j) Feeding | Daily (4 % of body weight) of commercially available trout feed (0.8 mm, Biomar, Brande, Denmark) |
| k) Aquaria | 25 L glass aquaria filled with 15 L of medium, covered with glass plane, silicone tubing and glass pipette for aeration |
| l) Sand/sediment | No Sediment tested |
| m) Stock solutions | For each aquarium containing methiocarb: 15 mg/L methiocarb solved in 1.5 mL DMSO 1 L bi-distilled water added For polystyrene: 56.240 particles/mL |
| n) Nominal concentrations | Control: 0 %, DMSO, 0 mg/L methiocarb, 0 particles/L; solvent control: 0.01 % DMSO, 0 mg/L methiocarb, 0 particles/L; PS: 0.01 % DMSO, 0 mg/L methiocarb, 10 000 particles/L; methiocarb: 0.01 % DMSO, 1 mg/L methiocarb, 0 particles/L; mixture: 0.01 % DMSO, 1 mg/L methiocarb, 10 000 particles/L |
| o) Measured concentrations | See Table 1 |
| p) Method | HPLC-ESI-MS/MS |
| q) Duration | 96 h (18.11. - 23.11.2017) |
| r) Observations | Mortality, body weight, injuries, behavioural abnormalities |
| s) Results | Summary table in article |
| t) Biomass loading | 1.98 g/L at the end of the experiment |
| 6. Statistical Design and Biological Response |  |
| a) Replicates | Three replicate aquaria per test concentration |
| b) Number of organisms | 10 individual fish per replicate |
| c) Design | Three blocks, one replicate per treatment present in each block, placed randomized within each block |
| d) Statistical methods | Body weight, SOD-activity, AChE-activity, Cbe-activity, lipid peroxides, stress proteins: nested ANOVA; histological alterations: likelihood-ratio |
| e) Biological response | AChE-activity, Cbe-activity: reduced in methiocarb and mixture treatment; histological alterations: reactions in methiocarb and mixture treatment; mortality, body weight, SOD-activity, lipid peroxides, stress proteins: no effect |
| f) Dose-response | Not tested |
| g) Statistical significances | Not determined |
| h) Significance level | α = 0.05, in case of multiple comparisons adjusted via Bonferroni-Holm correction |
| i) Variability | Not estimated |
| j) Raw data | Provided on request |