# Primary validation of Charm II tests for the detection of antimicrobial residues in a range of aquaculture fish

Aziz Kimera Mukota1, Melanie Flore Kamini Gondam2, Julie Judith Takadong Tsafack2, James Sasanya3, Wim Reybroeck4, Muhammad Ntale5, Steven Allan Nyanzi5 and Emmanuel Tebandeke5, *

Supporting Information

Table 1a:  List of analytical standards used for spiking

| Product | Company | Lot |
| --- | --- | --- |
| Amoxicillin | Sigma-Aldrich | SLBC0896V |
| Ampicillin | Sigma-Aldrich | SZBD101XV |
| Benzylpenicillin (Pen G) | Sigma-Aldrich | 045M4815V |
| Cloxacillin | Sigma-Aldrich | BCBV3429 |
| Dicloxacillin | Sigma-Aldrich | 014M4761V |
| Oxacillin | Sigma-Aldrich | 125M4757V |
| Tetracycline | Sigma-Aldrich | BCBT1771 |
| 4-epimer-tetracycline | USP | 1-LXM-9-1 |
| Chlortetracycline | Sigma-Aldrich | SZBF054XV |
| 4-epimer-chlortetracycline | Acros Organics | A0356291 |
| Oxytetracycline | Sigma-Aldrich | BCBG9599V |
| 4-epimer-oxytetracycline | Acros Organics | A0357398 |
| Tylosin A | Sigma-Aldrich | SZBE090XV |
| Tilmicosin | Sigma-Aldrich | BCBR6592V |
| Sulfadiazine | Sigma-Aldrich | 056M4795V |
| Erythromycin A | Sigma-Aldrich | SZBE092XV |
| Neomycin | Sigma-Aldrich | SLBJ9577V |
| Lincomycin | Pfizer | 030606-QCS-33 |
| Sulfamethazine | Sigma-Aldrich | BCBM2115V |
| Sulfadimethoxine | Sigma-Aldrich | 0001431982 |
| Sulfamerasine | Sigma-Aldrich | 042K1582 |
| Sulfathiazole | Sigma-Aldrich | SLBB2307V |

Table 1b: Reproducibility in the detection of oxytetracycline at 100 µg/kg for selected fish samples

| Fish sp. | Researcher 1 cpm | Researcher 2 cpm |
| --- | --- | --- |
| Seabass | 1176 | 1296 |
|  | 1177 | 1265 |
|  | 1295 | 1177 |
|  | 1334 | 1281 |
|  | 1127 | 1166 |
|  | 1341 | 1417 |
|  | 1170 | 1460 |
|  | 1261 | 1074 |
|  | 1371 | 1361 |
|  | 1201 | 1335 |
| Pangassius | 1225 | 1185 |
|  | 1166 | 1223 |
|  | 1094 | 1224 |
|  | 1408 | 1407 |
|  | 1408 | 1405 |
| Salmon | 1307 | 1307 |
|  | 1378 | 1299 |
|  | 1298 | 1310 |
|  | 1274 | 1311 |
|  | 1313 | 1279 |
|  | 1266.2 | 1289.1 |
| Average | 1176 | 1296 |
| Standard deviation | 94.6 | 96.2 |

Table 1c: Robustness testing using spectinomycin at 25 µg/kg for selected fish samples

| Salmon spiked at 25 µg/kg spectinomycin |  | Cat fish spiked at 25 µg/kg spectinomycin |  |
| --- | --- | --- | --- |
| Reading 1 (At 0 hr) cpm | Reading 2 (After 14 hrs) cpm | Reading 1 (At 0 hr) | Reading 2 (After 14 hrs) cpm |
| 5377 | 5349 | 5076 | 4919 |
| 5097 | 4760 | 5536 | 5286 |
| 4860 | 4878 | 5224 | 5071 |
| 5106 | 4769 | 5223 | 5219 |
| 4703 | 4524 | 4966 | 4908 |
| 5039 | 4972 | 5236 | 5162 |