Appendix Tables:

Table 1: Changes in the performance of the APGRF estimation model for each study participant when removing one of the IMUs used in the three-sensor set used in equation 1.

| Healthy | Full Model | Remove Shank | Remove Thigh | Remove Pelvis | Full Model | Remove Shank | Remove Thigh | Remove Pelvis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | R2 |  |  |  | Root mean square error (RMSE) |  |  |  |
| H01 | 0.912 | 0.796 | 0.535 | 0.858 | 5.291 | 8.067 | 12.182 | 6.740 |
| H02 | 0.952 | 0.823 | 0.555 | 0.907 | 3.426 | 6.590 | 10.453 | 4.790 |
| H03 | 0.921 | 0.772 | 0.520 | 0.866 | 5.559 | 9.462 | 13.727 | 7.245 |
| H04 | 0.939 | 0.808 | 0.487 | 0.916 | 3.079 | 5.474 | 8.942 | 3.617 |
| H05 | 0.849 | 0.615 | 0.400 | 0.761 | 6.889 | 10.999 | 13.734 | 8.673 |
| H06 | 0.940 | 0.853 | 0.559 | 0.890 | 4.448 | 6.939 | 12.033 | 6.005 |
| H07 | 0.942 | 0.822 | 0.518 | 0.893 | 4.063 | 7.156 | 11.767 | 5.548 |
| H08 | 0.929 | 0.809 | 0.608 | 0.867 | 4.368 | 7.164 | 10.263 | 5.975 |
| H09 | 0.930 | 0.824 | 0.550 | 0.915 | 4.170 | 6.626 | 10.603 | 4.596 |
| H10 | 0.938 | 0.829 | 0.483 | 0.859 | 4.890 | 8.111 | 14.098 | 7.371 |
| Average± SD | 0.925 ± 0.029 | 0.795 ± 0.067 | 0.532 ± 0.056 | 0.873 ± 0.045 | 4.62 ± 1.10 | 7.66 ± 1.59 | 11.78 ± 1.72 | 6.05 ± 1.51 |
| Stroke (Paretic limb) | Full Model | Remove Shank | Remove Thigh | Remove Pelvis | Full Model | Remove Shank | Remove Thigh | Remove Pelvis |
|  | R2 |  |  |  | Root mean square error (RMSE) |  |  |  |
| S01 | 0.945 | 0.927 | 0.753 | 0.780 | 2.999 | 3.453 | 6.345 | 5.991 |
| S02 | 0.902 | 0.697 | 0.585 | 0.877 | 3.972 | 6.972 | 8.151 | 4.434 |
| S03 | 0.941 | 0.882 | 0.471 | 0.937 | 1.670 | 2.361 | 4.993 | 1.722 |
| S04* | 0.748 | 0.551 | 0.453 | 0.596 | 1.979 | 2.642 | 2.917 | 2.508 |
| S05 | 0.943 | 0.781 | 0.527 | 0.924 | 2.564 | 5.004 | 7.355 | 2.946 |
| Average | 0.896 ± 0.084 | 0.768 ± 0.151 | 0.558 ± 0.121 | 0.823 ± 0.141 | 2.64 ± 0.91 | 4.09 ± 1.91 | 5.95 ± 2.07 | 3.52 ± 1.70 |
| Stroke (Non- Paretic limb) | Full Model | Remove Shank | Remove Thigh | Remove Pelvis | Full Model | Remove Shank | Remove Thigh | Remove Pelvis |
|  | R2value |  |  |  | Root mean square error (RMSE) |  |  |  |
| S01 | 0.953 | 0.808 | 0.623 | 0.914 | 3.323 | 6.699 | 9.389 | 4.481 |
| S02 | 0.908 | 0.806 | 0.563 | 0.882 | 5.251 | 7.629 | 11.458 | 5.942 |
| S03 | 0.915 | 0.825 | 0.630 | 0.813 | 2.697 | 3.872 | 5.637 | 4.003 |
| S04* | 0.937 | 0.776 | 0.658 | 0.820 | 2.154 | 4.065 | 5.014 | 3.639 |
| S05 | 0.867 | 0.673 | 0.440 | 0.857 | 4.216 | 6.602 | 8.644 | 4.371 |
| Average | 0.916 ± 0.033 | 0.778 ± 0.061 | 0.583 ± 0.087 | 0.857 ± 0.042 | 3.53 ± 1.23 | 5.77 ± 1.70 | 8.03 ± 2.68 | 4.49 ± 0.88 |

Table 2: ICC 95% ranges for all reported point metrics

|  | Healthy |  | Stroke (Paretic Limb) |  | Stroke (Non-Paretic Limb) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Training Set | Validation Set | Training Set | Validation Set | Training Set | Validation Set |
| Peak A-GRF Magnitude | [0.94, 0.97] | [0.79, 0.92] | [0.99, 1.00] | [0.96, 0.99] | [0.99, 1.00] | [0.97, 1.00] |
| Peak A-GRF Timing | [0.40, 0.63] | [0.36, 0.73] | [0.97, 0.99] | [0.93, 0.99] | [0.78, 0.93] | [0.45, 0.91] |
| A-GRF Impulse | [0.85, 0.92] | [0.77, 0.92] | [0.96 0.99] | [0.94, 0.99] | [0.97, 0.99] | [0.95, 0.99] |
| Peak P-GRF Magnitude | [0.91, 0.95] | [0.80, 0.93] | [0.98, 0.99] | [0.91, 0.99] | [0.90 0.97] | [0.23, 0.86] |
| Peak P-GRF Timing | [0.68, 0.82] | [0.06, 0.54] | [0.96, 0.99] | [0.90, 0.98] | [0.94, 0.98] | [0.77, 0.97] |
| P-GRF Impulse | [0.74, 0.86] | [0.48, 0.79] | [0.92, 0.97] | [0.82, 0.97] | [0.91, 0.97] | [0.75, 0.96] |