| Table S2. Characteristic of the CRRT protocols with or without anticoagulation employed in the included studies |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Study | CRRT modality | Machine | Filter | Replacement /Dialysate fluid type | Replacement /Dialysate fluid flow (ml/h) | Dilution mode | Blood flow (ml/min) | Anticoagulation strategy | Vascular access | Catheter size (Fr) | Filter lifespan (hours) |
| R.Bellomo et al [24] | CVVHD | Gambro AK10 | Hospal AN69S | NR | 1000 | -- | 150 | No | NR | NR | 40.9 (27-54.8)a |
|  | CVVHD | Gambro AK10 | Hospal AN69S | NR | 1000 | -- | 150 | SH: 500IU/hour | NR | NR | 31.4 (23.2-39.6)a |
| Martin, P. Y. et al [25] | CVVH | Gambro AK10 | Hospal AN69/ Gambro FH 66 | LB | NR | NR | 100-150 | No | IJV, FV, SV | NR | 22.1 ± 14.8b |
|  | CVVH | Gambro AK10 | Hospal AN69/ Gambro FH 66 | LB | NR | NR | 100-150 | SH: 100-700IU/hour | IJV, FV, SV | NR | 24.7 ±13.2b |
| Tan, H. K.et al [26] | CVVH | BM10/11; Gambro AK/10 | Hospal AN69 | LB | 1600-1900 | Pre-filter | 200-300 | No | IJV, FV, SV | 13.5 | 32 (20-44.4)a |
|  | CVVH | BM10/11; Gambro AK/10 | Hospal AN69 | LB | 1600-1900 | Pre-filter | 200-300 | SH: 5-10IU/kg/hour | IJV, FV, SV | 13.5 | 19.5 (14.2-23.8)a |
| Holt, A. W.et al [27] | CVVHD | Gambro AK10 | Filtral AN69 | NR | NR | -- | 200 | No | IJV, SV | 10.8 | 33.2 ± 3 5.7b |
|  | CVVHD | Gambro AK10 | Filtral AN69 | NR | NR | -- | 200 | SH: 2500/5000 U bolus + syringe pump | IJV, SV | 10.8 | 32.8 |
| Morabito, S. et al [14] | CVVH CVVHD CVVHDF | Prisma system/Diapact CRRT system | AN69HF/PAN06/PAN10 | BB/BB | NR | NR | 100-150 | No | IJV, FV | 12 | 38.3 ± 30.5b |
|  | CVVH CVVHD CVVHDF | Prisma system/Diapact CRRT system | AN69HF/PAN06/PAN10 | BB/BB | NR | NR | 100-150 | SH: 2000IU bolus+5-10IU/kg/hour | IJV, FV | 12 | 38.6±25b |
| Uchino, S. et al [28] | CVVH | Gambro AK-10; BM-10/11; Kimal Hygieia | Hospal AN69/APS650 | LB or BB | 2000 | Pre- or post filter | 200 | No | FV | 13.5 | 19.3 ± 15b |
|  | CVVH | Gambro AK-10; BM-10/11; Kimal Hygieia | Hospal AN69/APS650 | LB or BB | 2000 | Pre- or post filter | 200 | SH: 5-10 IU/kg/hour | FV | 13.5 | 20.9±17.4b |
| Palsson, R. et al [29] | CVVH | BM25 Hemofiltration System | Renaflo II HF 700 polysulfone | LB or BB | 1600 | NR | 200 | No | IJV, FV, SV | 14 | 12 (4-33)c |
|  | CVVH | BM25 Hemofiltration System | Renaflo II HF 700 | LB or BB | 1600 | NR | 200 | SH: 1500U bolus+ titrated APTT 45-60s | IJV, FV, SV | 14 | 43 (13.5-75)c |
|  | CVVH | BM25 Hemofiltration System | Renaflo II HF 700 | CB | 1600 | NR | 120 | RCA | IJV, FV, SV | 14 | 42 (22.2-70.7)c |
| Nurmohamed, S. A. et al [30] | CVVH | (DIAPACT, B.Braun, Germany) | Cellulose triacetate (NIPRO UF205) | LB or BB | 2000 | Pre-filter | 180 | No | IJV, FV, SV | 11 | 12 (8-28)c |
|  | CVVH | (DIAPACT, B.Braun, Germany) | Cellulose triacetate (NIPRO UF205) | CB | 2400 | Pre-filter | 180 | RCA | IJV, FV, SV | 11 | 41 (20-62)c |
| Agarwal, B.et al [31] | CVVH | BM25 hemofiltration | Polyethersulfone membrane | LB or BB | NR | Pre-filter | NR | No | IJV, FV, SV | 12 | 12.58b |
| Kleger, G. R.et al [32] | CVVHDF | Prismaflex (Gambro,France) | AN69 | BB/BB | 500-2000/500-1000 | Pre and post-filter | 200-300 | No | IJV, FV, SV | 13 | 41.5b |
|  | CVVHDF | Prismaflex (Gambro,France) | AN69 | BB/BB | 500-2000/500-1000 | Pre and post-filter | 200-300 | SH: titrated APTT 50-70s | IJV, FV, SV | 13 | 39.3b |
|  | CVVHDF | Prismaflex (Gambro,France) | AN69 | CB/BB | 500-2000/500-1000 | Pre and post-filter | 200-300 | RCA | IJV, FV, SV | 13 | 55.3b |
| Nagarik, A. P.et al [33] | CVVHDF | Diapact Braun | NR | BB/BB | 400/1000 | Pre-filter | 100-200 | flushed with saline | AV fistula, IJV, FV, SV | NR | 24.5 ± 6.36b |
|  | CVVHDF | Diapact Braun | NR | BB/BB | 400/1000 | Pre-filter | 100-200 | SH: 250-500 IU/hour | AV fistula, IJV, FV, SV | NR | 26±6.4b |
| Panphanpho, S.et al [34] | CVVH | Aquarius CRRT | (APS-650, Asahi, Japan) | BB | 1500-2000 | Pre-filter | 150-200 | No | NR | 11.5 | 20.4 ± 3.1b |
|  | CVVH | Aquarius CRRT | (APS-650, Asahi, Japan) | BB | 1500-2000 | Pre-filter | 150-200 | 200-300ml saline flush every 0.5-1 hour | NR | 11.5 | 21.2±2b |
| Baek, N. N.et al [35] | CVVHDF | Prisma or Prismaflex (Gambro) | M-100 (Gambro) | BB/BB | 1000-2000 | Pre-filter | 120-150 | No | IJV, FV, SV | 11.5–12.5 | 10.2 (7.5–13)c |
|  | CVVHDF | Prisma or Prismaflex (Gambro) | HF-1000 (Gambro) | BB/BB | 1000-2000 | Pre-filter | 120-150 | NM: 10 mg/hour | IJV, FV, SV | 11.5-12.5 | 19.8 (12.6–26.6)c |
| Chua, H. R.et al [36] | CVVH CVVHDF | NR | AN69 (Gambro) | NR | NR | Pre-and post filter | 200 | No | IJV, FV, SV | NR | 12.0 (7.0-24.0)c |
|  | CVVH CVVHDF | NR | AN69 (Gambro) | NR | NR | Pre-and post filter | 200 | SH: 6.4U/kg/hour | IJV, FV, SV | NR | 7.5 (5.0-13.0)c |
| Morabito, S. et al [37] | CVVHDF | Prismaflex (Gambro) | AN69ST/ Prismaflex ST100/HF 1000 | BB/BB | NR | Pre-filter | NR | No | NR | NR | 25.7±21.2b |
|  | CVVHDF | Prismaflex (Gambro) | AN69ST/ Prismaflex ST100/HF 1000 | BB/BB | NR | Pre-filter | NR | SH: 5 IU/kg/ hour | NR | NR | 30.6 ± 24.3b |
|  | CVVH | Prismaflex (Gambro) | AN69ST/ Prismaflex ST100/HF 1000 | CB and BB | NR | Pre and post-filter | NR | RCA | NR | NR | 49.8 ± 35.4b |
| Hwang, S. D.et al [38] | CVVHDF | PRISMA (Gambro) | AN69/ HF1000 | BB/BB | 1000/1000 | Pre-filter | 100-150 | No | FV, IJV | 11.5 | 16.8 ± 14.5b |
|  | CVVHDF | PRISMA (Gambro) | AN69/ HF1000 | BB/BB | 1000/1000 | Pre-filter | 100-150 | SH: 1-20IU/kg/hour | FV, IJV | 11.5 | 17.5 ± 15.8b |
|  | CVVHDF | PRISMA (Gambro) | AN69/ HF1000 | BB/BB | 1000/1000 | Pre-filter | 100-150 | NM: 10-30mg/hour | FV, IJV | 11.5 | 24.3 ± 17.8b |
| Lee, Y. K.et al [39] | CVVHDF | Prisma or Prismaflex (Gambro) | NR | BB/BB | NR | Pre-filter | 130-200 | No | FV, IJV | NR | 22.7 ± 20.6b |
|  | CVVHDF | Prisma or Prismaflex (Gambro) | NR | BB/BB | NR | Pre-filter | 130-200 | NM: 10-30mg/hour | FV, IJV | NR | 26.6 ± 21.1b |
| Choi, J. Y. et al [40] | CVVHDF | MultiFiltrate® | Ultraflux® AV 600S | NR | NR | NR | 150-200 | No | NR | NR | 19.5 ± 14.9b |
|  | CVVHDF | MultiFiltrate® | Ultraflux® AV 600S | NR | NR | NR | 150-200 | NM: 10-30mg/hour | NR | NR | 31.7 ± 24.1b |
| Schilder, L.et al [41] | CVVH | DIAPACT (B.Braun Medical) | NIPRO UF-205 | LB or BB | 2000 | Pre-filter | 180 | No intervention | IJV, FV, SV | 11 | 10 (3–66)d |
|  | CVVH | DIAPACT (B.Braun Medical) | NIPRO UF-205 | LB or BB | 2000 | Pre-filter | 180 | SH: 5000U bolus+ titrated APTT 45-55s | IJV, FV, SV | 11 | 17 (1–70)d |
|  | CVVH | DIAPACT (B.Braun Medical) | NIPRO UF-205 | CB | 2400 | Pre-filter | 180 | RCA | IJV, FV, SV | 11 | 30 (5–74)d |
| Sanz Ganuza, M.et al [42] | CVVHD CVVHDF | Multifiltration /Prisma-Flex (Hospal) | Polysulfonate or AN69 | Phoxilium/Dialisan (Hospal) | NR | Post-filter | 200 | No | IJV, FV | 13-14 | 34.9 ± 23.1b |
|  | CVVHD CVVHDF | Multifiltration /Prisma-Flex (Hospal) | Polysulfonate or AN69 | Phoxilium/Dialisan (Hospal) | NR | Post-filter | 200 | SH: 5-8 U/kg/hour | IJV, FV | 13-14 | 30.5±20.7 |
| Abbreviations: AV arteriovenous, BB bicarbonate buffered solution, CB citrate buffered solution, CVVH continuous venovenous hemofiltration, CVVHD continuous venovenous hemodialysis, CVVHDF continuous venovenous hemodiafiltration, CRRT continuous renal replacement therapy, FV femoral vein, IJV internal jugular vein, LB lactate buffered solution, NM Nafamostat, NR not reported, RCA regional citrate anticoagulation, SH systemic heparin, SV subclavian vein, UFH unfractionated heparin. aMean (95% confidential interval), bMean ± standard deviation, cMedian ( interquartile range), dMedian (range) |  |  |  |  |  |  |  |  |  |  |  |