Supplementary File

All data analysed during this study are included in the present article and it is also provided in supplementary information files. The supplementary materials contain the optimal control settings for all four case studies, convergence data, statistical analysis results are as presented in Tables 1-8. MATLAB implementation code can be made available from the corresponding author on reasonable request, subject to institutional approval.

Table 1 Best control variable settings for the transmission loss minimization objective of Case-1 offered by different algorithms

| Control variables | RCGA1 | DE1 | BBO1 | ML-PSO |
| --- | --- | --- | --- | --- |
| (p.u.) | 1.0927 | 1.0915 | 1.0987 | 1.0934 |
| (p.u.) | 1.0849 | 1.0803 | 1.0870 | 1.0842 |
| (p.u.) | 1.0573 | 1.0528 | 1.0637 | 1.0567 |
| (p.u.) | 1.0595 | 1.0642 | 1.0722 | 1.0703 |
| (p.u.) | 1.0980 | 1.0792 | 1.0989 | 1.0965 |
| (p.u.) | 1.0998 | 1.0948 | 1.0982 | 1.0991 |
| (MVAR) | 29.46 | 29.49 | 29.51 | 29.54 |
| (MVAR) | 09.66 | 10.66 | 10.04 | 09.97 |
| (p.u.) | 0.9942 | 1.0633 | 1.0349 | 1.03336 |
| (p.u.) | 0.9828 | 0.9225 | 0.9624 | 0.9572 |
| (p.u.) | 0.9565 | 0.9648 | 0.9565 | 0.9548 |
| (p.u.) | 0.9417 | 0.9580 | 0.9499 | 0.9443 |
| (MW) | 6.4638 | 6.4516 | 6.3672 | 6.3214 |
| (p.u.) | 1.91622 | 1.71145 | 1.96196 | 1.96536 |
| (1:Roy et al., 2011[27]) |  |  |  |  |

Table 2 Best control variable settings for  minimization objective of Case-1 offered by different algorithms

| Control variables | RCGA1 | DE1 | BBO1 | ML-PSO |
| --- | --- | --- | --- | --- |
| (p.u.) | 0.9945 | 1.0002 | 1.0004 | 1.0002 |
| (p.u.) | 0.9919 | 1.0597 | 1.0210 | 1.0321 |
| (p.u.) | 1.0190 | 1.0192 | 1.0131 | 1.0120 |
| (p.u.) | 1.0006 | 0.9926 | 1.0099 | 1.0009 |
| (p.u.) | 1.0399 | 0.9934 | 1.0354 | 1.0326 |
| (p.u.) | 1.0752 | 1.0030 | 1.0197 | 1.0321 |
| (MVAR) | 10.96 | 22.66 | 14.22 | 14.68 |
| (MVAR) | 16.68 | 17.85 | 11.19 | 10.86 |
| (p.u.) | 1.0523 | 1.0019 | 1.0578 | 1.0362 |
| (p.u.) | 0.9316 | 0.9974 | 0.9126 | 0.9315 |
| (p.u.) | 1.0601 | 0.9357 | 0.9625 | 0.9484 |
| (p.u.) | 0.9527 | 0.9520 | 0.9536 | 0.9500 |
| (MW) | 8.7194 | 11.8264 | 8.5574 | 9.4220 |
| (p.u.) | 0.12719 | 0.12688 | 0.12415 | 0.12302 |
| (1:Roy et al., 2011[27]) |  |  |  |  |

Table 3 Best control variable settings for the transmission loss minimization objective of Case-2 offered different algorithms

| Control variables | RCGA1 | DE1 | BBO1 | ML-PSO |
| --- | --- | --- | --- | --- |
| (p.u.) | 1.0981 | 1.1000 | 1.0999 | 1.1000 |
| (p.u.) | 1.0806 | 1.0961 | 1.0901 | 1.0931 |
| (p.u.) | 1.0539 | 1.0661 | 1.0652 | 1.0548 |
| (p.u.) | 1.0658 | 1.0754 | 1.0756 | 1.0759 |
| (p.u.) | 1.0918 | 1.0988 | 1.0932 | 1.0964 |
| (p.u.) | 1.0998 | 1.1000 | 1.1000 | 1.1000 |
| (MVAR) | 24.49 | 29.87 | 30.00 | 29.89 |
| (MVAR) | 10.26 | 10.00 | 10.12 | 10.18 |
| (p.u.) | 1.0572 | 1.0442 | 1.0212 | 1.0200 |
| (p.u.) | 0.9000 | 0.9523 | 0.9835 | 0.9904 |
| (p.u.) | 0.9653 | 0.9652 | 0.9593 | 0.9615 |
| (p.u.) | 0.9385 | 0.9597 | 0.9559 | 0.9572 |
| Xc3–4(p.u.) | 0.016499 | 0.05843 | 0.00566 | 0.00572 |
| Xc19–20(p.u.) | 0.05290 | 0.02962 | 0.06409 | 0.06421 |
| (MW) | 6.4151 | 6.3998 | 6.3437 | 6.2752 |
| (p.u.) | 1.87084 | 1.95381 | 1.94171 | 1.95431 |
| (1:Roy et al., 2011[27]) |  |  |  |  |

Table 4 Best control variable settings for  minimization objective of Case-2 offered by different algorithms

| Control variables | RCGA1 | DE1 | BBO1 | ML-PSO |
| --- | --- | --- | --- | --- |
| (p.u.) | 0.9991 | 0.9982 | 0.9981 | 0.9976 |
| (p.u.) | 0.9901 | 0.9881 | 0.9732 | 0.9812 |
| (p.u.) | 1.0178 | 1.0149 | 1.0163 | 1.0132 |
| (p.u.) | 1.0150 | 1.0040 | 1.0132 | 1.0150 |
| (p.u.) | 1.0000 | 1.0747 | 1.0161 | 1.0000 |
| (p.u.) | 1.0634 | 1.0552 | 1.0722 | 1.0654 |
| (MVAR) | 10.49 | 17.53 | 17.33 | 17.56 |
| (MVAR) | 12.08 | 15.64 | 17.42 | 17.24 |
| (p.u.) | 1.0168 | 1.0970 | 1.0290 | 1.0302 |
| (p.u.) | 0.9038 | 0.9587 | 0.9659 | 0.9581 |
| (p.u.) | 1.0422 | 1.0277 | 1.0627 | 1.0253 |
| (p.u.) | 0.9524 | 0.9538 | 0.9573 | 0.9578 |
| Xc3–4(p.u.) | 0.01403 | 0.00368 | 0.00689 | 0.0069 |
| Xc19–20(p.u.) | 0.03341 | 0.02234 | 0.002373 | 0.00347 |
| (MW) | 8.7563 | 8.6474 | 9.5745 | 9.8921 |
| (p.u.) | 0.12320 | 0.12290 | 0.12063 | 0.11780 |
| (1:Roy et al., 2011[27]) |  |  |  |  |

Table 5 Best control variable settings for  minimization objective of Case-3 offered different algorithms

| Control variables | RCGA1 | DE1 | BBO1 | ML-PSO |
| --- | --- | --- | --- | --- |
| (p.u.) | 1.0979 | 1.0999 | 1.1000 | 1.1000 |
| (p.u.) | 1.0871 | 1.0899 | 1.0902 | 1.0900 |
| (p.u.) | 1.0621 | 1.0785 | 1.0656 | 1.0716 |
| (p.u.) | 1.0825 | 1.0751 | 1.0757 | 1.0755 |
| (p.u.) | 1.0971 | 1.0998 | 1.0999 | 1.0998 |
| (p.u.) | 1.0994 | 1.0999 | 1.1000 | 1.1000 |
| (MVAR) | 28.91 | 29.98 | 30.00 | 30.03 |
| (MVAR) | 09.92 | 09.99 | 10.01 | 09.97 |
| (p.u.) | 1.0661 | 1.0788 | 1.0148 | 1.0542 |
| (p.u.) | 0.9179 | 0.9064 | 0.9938 | 0.9954 |
| (p.u.) | 0.9592 | 0.9612 | 0.9630 | 0.9613 |
| (p.u.) | 0.9544 | 0.9569 | 0.9581 | 0.9594 |
| (p.u.) | 0.05102 | 0.05991 | 0.03883 | 0.04904 |
| (p.u.) | 0.09645 | 0.11597 | 0.09318 | 0.10371 |
| (radian) | 0.03340 | 0.02984 | 0.02841 | 0.02768 |
| (MW) | 6.3583 | 6.3504 | 6.2919 | 6.2634 |
| (p.u.) | 1.99725 | 1.977151 | 1.92949 | 1.92672 |
| (1:Roy et al., 2011[27]) |  |  |  |  |

Table 6 Best control variable settings for  minimization objective of Case-3offered by different algorithms

| Control variables | RCGA1 | DE1 | BBO1 | ML-PSO |
| --- | --- | --- | --- | --- |
| (p.u.) | 0.9976 | 1.0037 | 0.9982 | 0.9968 |
| (p.u.) | 0.9743 | 0.9725 | 0.9643 | 0.9603 |
| (p.u.) | 1.0167 | 1.0159 | 1.0192 | 1.0198 |
| (p.u.) | 1.0009 | 1.0114 | 1.0228 | 1.0231 |
| (p.u.) | 1.0766 | 1.0273 | 0.9680 | 0.9641 |
| (p.u.) | 1.0732 | 1.0645 | 1.0903 | 1.0900 |
| (MVAR) | 27.15 | 25.75 | 11.01 | 11.10 |
| (MVAR) | 12.87 | 13.46 | 12.16 | 12.48 |
| (p.u.) | 1.1000 | 1.0443 | 0.9815 | 0.9827 |
| (p.u.) | 0.9939 | 0.9898 | 0.9089 | 0.9000 |
| (p.u.) | 1.0621 | 1.0439 | 1.0972 | 1.0953 |
| (p.u.) | 0.9508 | 0.9532 | 0.9534 | 0.9502 |
| (p.u.) | 0.00136 | 0.00706 | 0.00448 | 0.0052 |
| (p.u.) | 0.00484 | 0.04335 | 0.00310 | 0.0023 |
| (radian) | 0.02279 | 0.09791 | -0.009049 | -0.00907 |
| (MW) | 9.2840 | 9.5839 | 10.6887 | 10.7608 |
| (p.u.) | 0.12335 | 0.12258 | 0.11857 | 0.11498 |
| (1:Roy et al., 2011[27]) |  |  |  |  |

Table 7 Best control variable settings for minimization objective of Case-4 offered different algorithms

| Control variables | RCGA1 | DE1 | BBO1 | ML-PSO |
| --- | --- | --- | --- | --- |
| (p.u.) | 1.0996 | 1.1000 | 1.1000 | 1.1000 |
| (p.u.) | 1.0893 | 1.0889 | 1.0903 | 1.0900 |
| (p.u.) | 1.0630 | 1.0638 | 1.0667 | 1.0653 |
| (p.u.) | 1.0747 | 1.0754 | 1.0763 | 1.0759 |
| (p.u.) | 1.0981 | 1.1000 | 1.0885 | 1.0834 |
| (p.u.) | 1.0997 | 1.0999 | 1.1000 | 1.1000 |
| (MVAR) | 29.86 | 29.88 | 27.08 | 27.02 |
| (MVAR) | 10.08 | 10.05 | 09.99 | 09.94 |
| (p.u.) | 1.0319 | 1.0091 | 1.0908 | 1.0912 |
| (p.u.) | 0.9667 | 0.9991 | 0.9000 | 0.9016 |
| (p.u.) | 0.9605 | 0.9628 | 0.9611 | 0.9623 |
| (p.u.) | 0.9557 | 0.9570 | 0.9577 | 0.9570 |
| (p.u.) | 0.00469 | 0.01676 | 0.00484 | 0.00492 |
| (p.u.) | 0.05201 | 0.01234 | 0.01615 | 0.01637 |
| (p.u.) | 0.01814 | 0.03854 | 0.03648 | 0.03728 |
| (radian) | 0.02909 | 0.02868 | 0.02820 | 0.02805 |
| (radian) | -0.01848 | -0.01624 | -0.01829 | -0.01834 |
| (radian) | 0.00348 | 0.00283 | -0.00447 | -0.00452 |
| (MW) | 6.3051 | 6.3006 | 6.2868 | 6.2744 |
| (p.u.) | 1.97871 | 1.96219 | 1.93453 | 1.93146 |
| (1:Roy et al., 2011[27]) |  |  |  |  |

Table 8 Best control variable settings for  minimization objective of Case-4 offered by different algorithms

| Control variables | RCGA1 | DE1 | BBO1 | ML-PSO |
| --- | --- | --- | --- | --- |
| (p.u.) | 1.0067 | 0.9993 | 0.9982 | 0.9980 |
| (p.u.) | 0.9861 | 1.0117 | 0.9623 | 0.9845 |
| (p.u.) | 1.0191 | 1.0136 | 1.0188 | 1.0174 |
| (p.u.) | 1.0168 | 1.0061 | 1.0176 | 1.0183 |
| (p.u.) | 0.9571 | 1.0361 | 1.0108 | 1.0098 |
| (p.u.) | 1.0505 | 1.0282 | 1.0900 | 1.0904 |
| (MVAR) | 21.22 | 27.50 | 03.81 | 04.41 |
| (MVAR) | 17.82 | 12.70 | 17.30 | 17.21 |
| (p.u.) | 0.9708 | 1.0577 | 1.0216 | 1.0238 |
| (p.u.) | 0.9742 | 0.9903 | 0.9000 | 0.9900 |
| (p.u.) | 1.0207 | 0.9784 | 1.1000 | 1.0869 |
| (p.u.) | 0.9575 | 0.9538 | 0.9569 | 0.9534 |
| (p.u.) | 0.04548 | 0.04155 | 0.07996 | 0.08326 |
| (p.u.) | 0.12569 | 0.08370 | 0.10476 | 0.09883 |
| (p.u.) | 0.05420 | 0.04518 | 0.08333 | 0.08534 |
| (radian) | -0.05987 | -0.05472 | -0.065141 | -0.066217 |
| (radian) | -0.01571 | -0.01624 | -0.018255 | -0.018250 |
| (radian) | -0.01357 | -0.01353 | -0.01350 | -0.01356 |
| (MW) | 9.4469 | 8.8012 | 11.2305 | 11.0468 |
| (p.u.) | 0.12158 | 0.12110 | 0.11726 | 0.11360 |
| (1:Roy et al., 2011[27]) |  |  |  |  |

Table 9 Sensitivity of ORPD objectives to renewable penetration

| RES penetration (%) | PLoss (MW) | TVD (p.u.) | Optimal XCijrange (p.u.) | Optimal φ range (°) |
| --- | --- | --- | --- | --- |
| 20% | 3.8922 | 0.0613 | [-0.039, 0.016] | [-3.3, 2.9] |
| 40% | 3.7544 | 0.0579 | [-0.042, 0.013] | [-4.12, 3.2] |
| 60% | 3.6825 | 0.0542 | [-0.045, 0.011] | [-4.9, 3.4] |
| 80% (base case) | 3.6126 | 0.0514 | [-0.048, 0.009] | [-5.2, 3.9] |
| 100% | 3.5888 | 0.0497 | [-0.051, 0.006] | [-5.6, 4.3] |

Table 10 Sensitivity to FACTS devices placement for PLoss minimization objective

| TCSC locations | TCPS locations | PLoss (MW) | % Change from base case |
| --- | --- | --- | --- |
| 27, 28, 36 (base case) | 25, 27, 36 (base case) | 3.6126 | NR* |
| 28, 36, 8-28 | 27, 36, 12-15 | 3.6422 | +0.81 |
| 27, 36, 8-28 | 25, 36, 12-15 | 3.6288 | +0.44 |
| 27, 28, 8-28 | 25, 27, 12-15 | 3.6216 | +0.23 |
| NR* means not reported in the literature. |  |  |  |

Table 11 Post-contingency performance optimized using the MLPSO technique

| Contingency | PLoss (MW) | TVD (p.u.) | Maximum voltage violation (p.u.) |
| --- | --- | --- | --- |
| No contingency | 3.6126 | 0.0514 | NR* |
| Line 2-5 outage | 3.8543 | 0.0688 | 1.101 (bus-5) |
| Line 27-28 outage | 3.9216 | 0.0723 | 1.097 (bus-28) |
| Windmill at bus 11 outage | 3.7457 | 0.0591 | NR* |
| Solar PV at bus 8 outage | 3.8013 | 0.0617 | NR* |
| NR* means not reported in the literature. |  |  |  |

Table 12 Parameter sensitivity of the MLPSO method for PLoss minimization

| Parameter variation | PLoss (MW) | Convergence iterations | Success rate (%) |
| --- | --- | --- | --- |
| Population=20 | 3.6322 | 279 | 91% |
| Population=40 (base case) | 3.6126 | 209 | 100% |
| Population=60 | 3.6159 | 194 | 100% |
| Layers=2 | 3.6255 | 239 | 93% |
| Layers=3 (base case) | 3.6126 | 209 | 100% |
| Layers=4 | 3.6143 | 224 | 100% |
| Pns=0.4 | 3.6220 | 229 | 95% |
| Pns=0.6 (base case) | 3.6126 | 209 | 100% |
| Pns=0.8 | 3.6182 | 198 | 97% |

Table 13 Robustness comparison across algorithms (for Case 4)

| Algorithm | Success rate (%) | Std. Dev. of PLoss (MW) | Worst-case PLoss (MW) | Robustness score |
| --- | --- | --- | --- | --- |
| RCGA | 87% | 0.144 | 3.891 | 6.1/10 |
| DE | 91% | 0.120 | 3.844 | 6.7/10 |
| BBO | 89% | 0.131 | 3.866 | 6.4/10 |
| MLPSO | 100% | 0.097 | 3.720 | 8.9/10 |