## README
Item | Content
Prepared for | Academic Radiology submission
Prepared on | 2026-06-05
Included tables | Model implementation details;Confusion matrices in the internal testing cohort
Positive class | Malignant lesion
Primary manuscript | Multimodal B-Mode and Contrast-Enhanced Ultrasound Radiomics With Two-Stage Supervised Contrastive Representation Learning for Differentiating Benign and Malignant Breast Lesions

## Model_Implementation
Supplementary Table S5. Model implementation details.
Multimodal B-Mode and Contrast-Enhanced Ultrasound Radiomics With Two-Stage Supervised Contrastive Representation Learning for Differentiating Benign and Malignant Breast Lesions
Model | Input | Preprocessing/partition | Architecture/fusion | Training hyperparameters | Calibration/final selection
BUS-SVM | 10 selected BUS radiomics features | Training-set median imputation; z-score standardization; training/testing split from fixed Split column | SVC using decision_function, class_weight='balanced' | GridSearchCV with 5-fold StratifiedKFold; scoring=ROC AUC; C=[0.01,0.1,1,10,100]; gamma=[scale, auto,0.001,0.01,0.1]; kernel=[linear, rbf]; random_state=123; bootstrap=2000 | OOF decision-score orientation; logistic calibration on 5-fold OOF scores; threshold from training OOF Youden index
CEUS-SVM | 12 selected CEUS radiomics features | Same as BUS-SVM | SVC using decision_function, class_weight='balanced' | Same GridSearchCV hyperparameter range as BUS-SVM | Same OOF logistic calibration and training-derived Youden threshold
BUS+CEUS-SVM | 11 selected radiomics features: 3 BUS + 8 CEUS | Same as BUS-SVM | SVC using decision_function, class_weight='balanced' | Same GridSearchCV hyperparameter range as BUS-SVM | Same OOF logistic calibration and training-derived Youden threshold
BUS+CEUS-MLP | 100 selected radiomics features: BUS50 + CEUS50 | Training-set median imputation and z-score standardization; 5-fold OOF framework | Input 100 -> dense 32 -> batch normalization -> ReLU -> dropout 0.50 -> dense 1 | Adam optimizer; lr=5e-4; weight_decay=1e-3; batch_size=32; max_epochs=160; BCEWithLogitsLoss with class-positive weight; early-stopping patience=20; random_state=123; bootstrap=2000 | OOF logistic calibration; training OOF Youden threshold=0.271471; final validation threshold-dependent metrics use training-derived threshold
Radiomics-TSMCR | Paired BUS50 and CEUS50 radiomics features | Separate modality-specific imputation/scaling; 5-fold OOF; five-seed ensemble | BUS/CEUS encoders: 50 -> 32 -> 32; projectors: 32 -> 8; shared encoder: 32 -> 32 -> 32; fused vector=128; classifier: 128 -> 64 -> dropout 0.35 -> 1 | Supervised cross-modal contrastive loss, temperature=0.10; stage1/stage2 contrastive weights=1.0/1.0; DSVM-inspired squared hinge, C=1.0; Adam lr=5e-4; weight_decay=1e-3; batch_size=64; contrastive max_epochs=120, patience=15; classifier max_epochs=120, patience=20; seeds=[42,123,2024,3407,520] | Each seed used 5-fold OOF + logistic calibration; ensemble probability = mean calibrated probabilities across seeds; training OOF Youden threshold=0.336474
ResNet18-TSMCR | Paired BUS and CEUS intratumoral ROI image patches, 128 x 128 pixels | Fixed split from TSMCR_Modeling; no automatic re-split; resize to 128 x 128; augmentation: horizontal flip p=0.5 and rotation +/-10 degrees; normalization mean/std=[0.5,0.5,0.5] | Two non-pretrained ResNet18 encoders with output_dim=128; shared MLP encoder 128 -> 128 -> 128; projection head=32; fused_dim=512; DSVM classifier: 512 -> 256 -> dropout 0.30 -> 1 | use_pretrained_resnet18=False; Adam lr=1e-4 for SMCL and classifier; weight_decay=1e-4; batch_size=8; balanced sampler=True; stage1_last=128; stage2_hidden=128; stage2_last=128; lambda1=lambda2=0.9; alpha_svm=1.0; positive_weight_multiplier=1.0; SMCL/classifier max_epochs=60/60; patience=12/12; 5-fold OOF; bootstrap=2000 | Logistic calibration with OOF probability safety check; selected threshold from training OOF with sensitivity target >=0.75; final threshold=0.260898
Note | SVM final C/gamma/kernel values were selected by the 5-fold GridSearchCV workflow and saved in the SVM output workbook. The uploaded SVM training script documents the search range but does not itself contain model-specific final selected values.

## Confusion_Matrix
Supplementary Table S6. Confusion matrices in the internal testing cohort.
In all confusion matrices, malignant lesions were treated as the positive class. TN = actual benign predicted benign; FP = actual benign predicted malignant; FN = actual malignant predicted benign; TP = actual malignant predicted malignant.
Model | Dataset | Threshold rule | N | Actual benign | Actual malignant | TN | FP | FN | TP | Accuracy | Sensitivity | Specificity | Source/note
BUS-SVM | Internal testing | Training-derived operating threshold | 146 | 86 | 60 | 26 | 60 | 2 | 58 | 0.575 | 0.967 | 0.302 | Derived from final manuscript Table 2 metrics; malignant=positive.
CEUS-SVM | Internal testing | Training-derived operating threshold | 146 | 86 | 60 | 67 | 19 | 11 | 49 | 0.795 | 0.817 | 0.779 | Derived from final manuscript Table 2 metrics; malignant=positive.
BUS+CEUS-SVM | Internal testing | Training-derived operating threshold | 146 | 86 | 60 | 67 | 19 | 10 | 50 | 0.801 | 0.833 | 0.779 | Derived from final manuscript Table 2 metrics; malignant=positive.
BUS+CEUS-MLP | Internal testing | OOF training Youden threshold=0.271471 | 146 | 86 | 60 | 57 | 29 | 9 | 51 | 0.74 | 0.85 | 0.663 | Extracted from deep model result workbook and matches final manuscript threshold-dependent metrics.
ResNet18-TSMCR | Internal testing | OOF sensitivity target >=0.75 threshold=0.260898 | 146 | 86 | 60 | 77 | 9 | 16 | 44 | 0.829 | 0.733 | 0.895 | Extracted from image-based ResNet18-TSMCR result workbook.
Radiomics-TSMCR | Internal testing | OOF training Youden threshold=0.336474 | 146 | 86 | 60 | 70 | 16 | 13 | 47 | 0.801 | 0.783 | 0.814 | Extracted from TSMCR ensemble result workbook and matches final manuscript Table 2 metrics.