Highlights

 Thermal runaway of 15 Ah LFP batteries is characterized at different rates.

 Multi-parameter monitoring reveals electro-thermo-mechanical-gas coupling during thermal runaway.

 Temperature rise and heat release scale non-linearly with overcharge rates.

 Higher overcharge rates shorten runaway onset and exacerbate hazard severity.