No evidence of SARS-CoV-2 associated with flies and cockroaches in COVID-19 positive households

Christopher M. Roundy1*, Sarah A. Hamer2, Italo B. Zecca2, Edward B. Davila2, Lisa D. Auckland2, Wendy Tang1, Haley Gavranovic1, Sonja L. Swiger1, Jeffrey K. Tomberlin1, Rebecca S. B. Fischer3, Alex Pauvolid-Correa2,4, Gabriel L. Hamer1*

Affiliations

- Department of Entomology, Texas A&M University and AgriLife Research, College Station, TX 77843, USA

- College of Veterinary Medicine and Biomedical Sciences, Texas A&M University, College Station, TX 77843, USA

- School of Public Health, Texas A&M University, College Station, TX 77843, USA

- Laboratory of Respiratory Viruses and Measles, SARS-CoV-2 National Reference Laboratory and Regional Reference Laboratory in the Americas (PAHO/WHO), Fiocruz, Rio de Janeiro 21040-360, Brazil

*Correspondence: cmroundy@tamu.edu and ghamer@tamu.edu

Additional file 1: Inactivation of SARS-CoV-2 by MagMAX lysis concentrate and detection of virus-exposed flies

Background:

The complete inactivation of infectious specimens is a critical step prior to the removal of any biological samples from high containment laboratories. Commonly used extraction agents, such as TRIzol LS Reagent (Invitrogen Corp., Carlsbad, CA) and AVL Buffer (Qiagen, Valencia, CA), have been shown to inactivate a broad range of viruses, such as alphaviruses, peribunyaviruses, filoviruses, and flaviviruses [1]. Recent studies have demonstrated the ability of some commercial lysis solutions to inactivate SARS-CoV-2 [2-4]. However, the effectiveness of MagMAX lysis concentrate (MagMAX CORE Nucleic Acid Purification Kit, ThermoFisher Sci., Waltham, MA), which is the reagent used for the high throughput nucleic acid extraction platform on KingFisher Flex System (ThermoFisher Sci., Waltham, MA) has not been fully evaluated. The purpose of this study is to evaluate the ability of MagMAX lysis concentrate to inactivate infectious SARS-CoV-2 propagates [1,5].

Methods

E6 Vero cells were plated in 6-well plates at the BSL2 laboratory and then transferred to BSL3 incubators when reached 80% confluency. Three treatments were tested: a positive control, a negative control, and the experimental treatment. For the positive control, SARS-CoV-2 (BEI Resrouces NR-52381, Isolate USA-IL1/2020) titer 1.8 x 106 PFU/mL was diluted at 1:5 in cell culture media (DMEM or 199). For the negative control, cell culture media was diluted at 1:5 in MagMax Lysis buffer concentrate. For the experimental treatment, the SARS-CoV-2 stock was diluted at 1:5 in either MagMax Lysis buffer concentrate or a dilution of the buffer. During the experimental treatment, the lysis buffer dilution was prepared before addition of undiluted viral stock. For each of these conditions, samples were mixed by pipetting at room temperature but had no further incubation. The MagMAX kit’s protocol is dependent on sample type and total amount but it calls for 200 L of blood to be combined with 700 L of lysis solution (Applied Biosystems).

A 10-fold dilution was performed (10-2 to 10-7) for positive and negative treatments. For the experimental treatment, a 10-fold dilution of the buffer was prepared (10-2 to 10-7) and 200uL of SARS-CoV-2 stock were added to 800uL of each dilution. Cell culture media was used as the diluent reagent. In duplicates, 200 L of each treatment dilution were inoculated on vero monolayers in 6-well plates for a total of six plates. Additionally, 200 uL of SARS-CoV-2 stock, 200 L of cell culture media, and 200 L of MagMax Lysis concentrate were inoculated in duplicate as supplementary controls. Inoculated cells were incubated for one hour at 37C with 5% CO2. After the first incubation period, cell monolayers were overlaid with 0,5% agarose solution. Plates were then incubated for the second time at 37C with 5% CO2 for 48 hours for the formation of plaques caused by cell lysis. At the end of the second incubation, plates were overlaid again by a 0,5% agarose solution with 2% neutral red dye. Plaques were counted using a fluorescent light plate reader on 96h post infection.

Results:

Viral dilutions with undiluted lysis buffer and lysis buffer diluted at 10-2 demonstrated cytotoxicity with complete cell death in all wells. No cytotoxicity was observed in monolayers inoculated with lysis buffer diluted from 10-3 to 10-7 (Table S1).

Viral titration of the positive control treatment (SARS-CoV-2 + Diluent) resulted in too many viral plaques to count from 10-1 to 10-4 dilution. All cells inoculated with the positive control treatment between the dilutions of 10-5 and 10-7 demonstrated plaques (Table S1).

Viral titration of the experimental treatment (SARS-CoV-2 + MagMax Lysis buffer) resulted in cell death at the dilution of 10-2. No cytotoxicity or plaques were observed in cell monolayers inoculated with the experimental treatment between the dilutions of 10-3 and 10-7.

Results are summarized in Table S1.

Table S1 Summary of results of inactivation of SARS-CoV-2 by MagMax Lysis buffer. Two hundred microliters of Diluent or SARS-CoV-2 virus stock were mixed with 800 uL of MagMax lysis concentrate or Diluent. A 10-fold serial dilution was made of each treatment. Two hundred microliters of each sample were inoculated onto vero 6-well cell culture plates in duplicates. The average number of plaques/well is reported for each dilution. (CD = cell death; TNTC = too numerous to count)

|  | Dilution 10x |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Treatment | 2 | 3 | 4 | 5 | 6 | 7 |
| Diluent + Lysis buffer | CD | 0 | 0 | 0 | 0 | 0 |
| SARS-CoV-2 + Diluent | TNTC | TNTC | TNTC | 26 | 5 | 0 |
| SARS-CoV-2 + Lysis buffer | CD | 0 | 0 | 0 | 0 | 0 |
| Diluent | 0 | 0 | 0 | 0 | 0 | 0 |

Conclusion:

This study demonstrates the ability of MagMax lysis buffer to inactivate SARS-CoV-2. In order to evaluate the efficacy of MagMax lysis buffer concentrate as a viral inactivation reagent it is necessary to also determine the toxicity of the extraction reagent to vero cell culture.

Here, we demonstrate that the lysis buffer alone leads to massive cell death in vero cells following plaque assay. We demonstrate that MagMax lysis buffer does not cause cell death after it is diluted up to 1000 times. This result demonstrates that massive cell death caused by lysis buffer ceases at the dilution of 10-3 and any cell death following a 1000-fold dilution will be due to viral cytopathic effect.

Results from the positive control treatment (where SARS-CoV-2 was not exposed to MagMax lysis buffer), demonstrates SARS-CoV-2 causes plaques until the dilution of 10-7 (Table S1). Considering no plaques were detected in the experimental treatment (SARS-CoV-2 + Lysis solution) between the dilutions of 10-3 and 10-7 (Table S1), we can conclude that the MagMax lysis buffer concentrate from the MagMax core kit sufficiently inactivates SARS-CoV-2. One way to examine these results is to interpret the lysis buffer dilution as a percentage at which the buffer remains effective. At 10-5 and 10-6, representing 0.001% and 0.0001% buffer solutions, the viral stock was still shown to be inactivated. It is worth noting that during normal use, undiluted lysis buffer will be used on samples containing significantly less active virus (more than 100-fold below stock titer). These results support the reliance on MagMax lysis buffer to render biologically infectious specimens non-infectious, of critical importance for transferring samples to lower-level containment [1,5].

References:

- Blow JA, Dohm DJ, Negley DL, Mores CN. Virus inactivation by nucleic acid extraction reagents. Journal of virological methods. 2004; 119(2), 195-198.

- Pastorino B, Touret F, Gilles M, Luciani L, de Lamballerie X, Charrel RN. Evaluation of Chemical Protocols for Inactivating SARS-CoV-2 Infectious Samples. Viruses. 2020;12(6):624. Published 2020 Jun 8. doi:10.3390/v12060624

- Patterson EI, Prince T, Anderson ER, et al. Methods of Inactivation of SARS-CoV-2 for Downstream Biological Assays. Journal of Infectious Disease. 2020. Published online 2020 Aug 15. doi: 10.1093/infdis/jiaa507

- Welch SR, Davies KA, Buczkowski H, et al. Analysis of Inactivation of SARS-CoV-2 by Specimen Transport Media, Nucleic Acid Extraction Reagents, Detergents, and Fixatives. Journal of Clinical Microbiology. 2020; 58 (11). doi: 10.1128/JCM.01713-20

- Centers for Disease Control and Prevention, 2018. CDC Infectious Diseases Laboratories -Division of Vector-Borne Diseases- Brault Inactivation Verification Procedure (INACT_VERIF_BRA_001). Doc. No. ADBVIR.PM.C.005., Rev. No. 01C, Effective Date: 08/31/2018.