Table 1 Distribution of metal denture materials and locations in enrolled patients

| Material | Maxillary denture | Mandibular denture | Maxillary and mandibular denture |
| --- | --- | --- | --- |
| Cobalt-chromium alloy | 5 | 4 | 3 |
| Nickel-chromium alloy | 6 | 7 | 3 |
| Ferromagnetic stainless steel | 3 | 3 | 2 |

Table 2  Imaging parameters for Dixon‑FLAIR and FS‑FLAIR sequences

|  | Dixon-FLAIR | FS-FLAIR |
| --- | --- | --- |
| TR/TE(ms) | 9000/95 | 9000/95 |
| TI(ms) | 2500 | 2500 |
| Flip angle | 150° | 150° |
| FOV(mm) | 230 x 212 | 230 x 212 |
| Matrix | 304 x 228 | 304 x 228 |
| Slice thickness/gap(mm) | 5/1.5 | 5/1.5 |
| Number slices | 20 | 20 |
| Average | 1 | 1 |
| Bandwidth(Hz/pixel) | 783 | 238 |
| Acceleration factor | 2 | 2 |
| Turbo factor | 19 | 19 |
| Fat suppression | Dixon(dual echo) | Fat Sat. |
| Acquisition time | 2min, 6 s | 2min, 6 s |

Table 3  Qualitative analysis of FS‑FLAIR and Dixon‑FLAIR sequences

|  | Radiologist1 |  |  | Radiologist2 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FS-FLAIR | Dixon-FLAIR | P-value | FS-FLAIR | Dixon-FLAIR | P-value |
| Fat suppression efficacy |  |  |  |  |  |  |
| maxillary sinus | 1(1,3) | 2(1,5) | <0.001 | 1(1,4) | 2(1,5) | <0.001 |
| orbital | 2(1,4) | 3(2,5) | <0.001 | 2(1,4) | 3(2,5) | <0.001 |
| frontal sinus | 2(1,5) | 3(2,5) | <0.001 | 2(1,4) | 3(2,5) | <0.001 |
| central sulcus | 3(2,5) | 4(3,5) | <0.001 | 3(2,4) | 4(2,5) | <0.001 |
| Signal distortion |  |  |  |  |  |  |
| maxillary sinus | 1(1,3) | 3(2,4) | <0.001 | 1(1,3) | 3(2,4) | <0.001 |
| orbital | 2(1,4) | 3(2,5) | <0.001 | 2(1,4) | 3(2,4) | <0.001 |
| frontal sinus | 2(1,5) | 4(3,5) | <0.001 | 2(1,4) | 4(3,5) | <0.001 |
| central sulcus | 3(2,5) | 4(3,5) | <0.001 | 3(2,5) | 4(3,5) | <0.001 |
| Overall image quality | 1(1,4) | 4(2,5) | <0.001 | 1(1,4) | 4(3,5) | <0.001 |

| Table 4 Inter-observer agreement (κ, 95% CI) for qualitative assessments |  |  |
| --- | --- | --- |
|  | FS-FLAIR | Dixon-FLAIR |
| Fat suppression efficacy |  |  |
| maxillary sinus | 0.72 (0.68, 0.76) | 0.75 (0.70, 0.80) |
| orbital | 0.76 (0.72, 0.80) | 0.81 (0.79, 0.83) |
| frontal sinus | 0.74 (0.70, 0.78) | 0.76 (0.73, 0.79) |
| central sulcus | 0.82 (0.80, 0.84) | 0.81 (0.79, 0.83) |
| Signal distortion |  |  |
| maxillary sinus | 0.65 (0.62, 0.68) | 0.77 (0.72, 0.82) |
| orbital | 0.72 (0.68, 0.76) | 0.79 (0.71, 0.87) |
| frontal sinus | 0.73 (0.69, 0.77) | 0.71 (0.67, 0.75) |
| central sulcus | 0.74 (0.69, 0.79) | 0.72 (0.64, 0.80) |
| Overall image quality | 0.80 (0.72, 0.88) | 0.76 (0.73, 0.79) |

Table 5 Quantitative comparison between Dixon‑FLAIR and FS‑FLAIR

|  | FS-FLAIR | Dixon-FLAIR | P-value |
| --- | --- | --- | --- |
| SNR | 121.42±29.35 | 114.44±30.96 | <0.001 |
| CNR | 39.55 ± 14.48 | 35.13 ± 11.98 | <0.001 |
| Number of slices with inhomogeneous water suppression | 1.8±0.6 | 0 | <0.001 |

Table 6  Lesion detection rates for Dixon-FLAIR and FS-FLAIR

| Reader | Lesions | Dixon-FLAIR | FS-FLAIR | p-value |
| --- | --- | --- | --- | --- |
| Reader 1 | Overall (n=136) | 123 (90.4%) | 82 (60.3%) | < 0.001 |
| Reader 2 | Overall (n=136) | 118 (86.8%) | 79 (58.1%) | < 0.001 |

Table 7  Diagnostic confidence scores for Dixon-FLAIR and FS-FLAIR

|  | Reader 1 |  |  | Reader 2 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FS-FLAIR | Dixon-FLAIR | P-value | FS-FLAIR | Dixon-FLAIR | P-value |
| Median (IQR) | 2 (1–5) | 4 (3–5) | <0.001 | 2 (1–5) | 4 (3–5) | <0.001 |
| Mean ± SD | 2.0 ± 0.8 | 4.1 ± 0.7 | <0.001 | 2.1 ± 0.9 | 4.0 ± 0.8 | <0.001 |