Fantastic report on

2-Zn Mg_1.DOC

Distribution:

| Name | Function | 0.1 | 0.5 | 1.0 |
| --- | --- | --- | --- | --- |
| N.N.-999 | Masterking Group Manager (MGM) |  |  |  |
| N.N.-998 | Product Ontwikkelt Manager (POM) |  |  |  |
| N.N.-1 | (AS) |  |  |  |
| N.N.-2 | (DS) |  |  |  |
| N.N.-3 | (BS) |  |  |  |
| T.P. | Supervisor All Coding |  |  |  |

# Table of Contents:

Table of Contents:	2

Anchor Scan Parameters: (Bookmark1)	3

Graphics: (Bookmark2)	4

Peak List: (Bookmark 3)	5

Identified Patterns List: (Bookmark4)	6

Plot of Identified Phases: (Bookmark 5)	6

Document History: (Bookmark 6)	7

# Anchor Scan Parameters: (Bookmark1)

Dataset Name	2-Zn Mg

File name	C:\Users\alzahra\Desktop\03-08-01\03-08-01-Dr hosseinzade\2-Zn Mg\2-Zn Mg.raw

Raw Data Origin	Rigaku-binary (.RAW)

Scan Axis	Gonio

Start Position [°2Th.]	6.0000

End Position [°2Th.]	80.0000

Step Size [°2Th.]	0.0400

Scan Step Time [s]	1.0000

Scan Type	Pre-set time

Offset [°2Th.]	0.0000

Divergence Slit Type	Fixed

Divergence Slit Size [°]	1.0000

Specimen Length [mm]	10.00

Receiving Slit Size [mm]	0.1000

Measurement Temperature [°C]	25.00

Anode Material	Cu

K-Alpha1 [?]	1.54060

K-Alpha2 [?]	1.54443

K-Beta [?]	1.39225

K-A2 / K-A1 Ratio	0.50000

Generator Settings	0 mA, 0 kV

Diffractometer Number	0

Goniometer Radius [mm]	240.00

Dist. Focus-Diverg. Slit [mm]	91.00

Incident Beam Monochromator	No

Spinning	No

# Graphics: (Bookmark2)

# Peak List: (Bookmark 3)

| Pos. [°2Th.] | Height [cts] | FWHM Left [°2Th.] | d-spacing [?] | Rel. Int. [%] | Tip Width | Matched by |
| --- | --- | --- | --- | --- | --- | --- |
| 20.6888 | 244.13 | 0.3149 | 4.29336 | 5.90 | 0.3779 |  |
| 21.0645 | 374.48 | 0.3149 | 4.21764 | 9.05 | 0.3779 |  |
| 30.3269 | 435.28 | 0.1968 | 2.94731 | 10.52 | 0.2362 |  |
| 31.8755 | 2524.34 | 0.3936 | 2.80757 | 60.99 | 0.4723 |  |
| 33.1077 | 82.75 | 0.4723 | 2.70583 | 2.00 | 0.5668 |  |
| 34.7098 | 2084.56 | 0.3542 | 2.58452 | 50.37 | 0.4251 |  |
| 36.3889 | 4138.62 | 0.4330 | 2.46903 | 100.00 | 0.5196 |  |
| 36.9654 | 580.40 | 0.2362 | 2.43184 | 14.02 | 0.2834 |  |
| 39.6053 | 6.64 | 0.3936 | 2.27562 | 0.16 | 0.4723 |  |
| 41.5976 | 21.34 | 0.6298 | 2.17112 | 0.52 | 0.7557 |  |
| 42.9393 | 3380.51 | 0.4723 | 2.10634 | 81.68 | 0.5668 |  |
| 45.5091 | 13.42 | 0.3149 | 1.99320 | 0.32 | 0.3779 |  |
| 46.2988 | 83.71 | 0.3936 | 1.96102 | 2.02 | 0.4723 |  |
| 47.7222 | 927.22 | 0.4330 | 1.90580 | 22.40 | 0.5196 |  |
| 51.9642 | 63.97 | 0.7085 | 1.75977 | 1.55 | 0.8502 |  |
| 56.6689 | 1534.19 | 0.4330 | 1.62433 | 37.07 | 0.5196 |  |
| 62.2544 | 1641.63 | 0.4330 | 1.49135 | 39.67 | 0.5196 |  |
| 63.0284 | 1263.42 | 0.3936 | 1.47489 | 30.53 | 0.4723 |  |
| 66.4192 | 83.35 | 0.3936 | 1.40758 | 2.01 | 0.4723 |  |
| 68.0349 | 1001.03 | 0.4723 | 1.37804 | 24.19 | 0.5668 |  |
| 69.0999 | 471.38 | 0.3149 | 1.35938 | 11.39 | 0.3779 |  |
| 72.8083 | 33.54 | 0.4723 | 1.29902 | 0.81 | 0.5668 |  |
| 74.4809 | 247.38 | 0.2755 | 1.27394 | 5.98 | 0.3306 |  |
| 76.9720 | 121.46 | 0.4723 | 1.23881 | 2.93 | 0.5668 |  |
| 78.3752 | 407.81 | 0.1574 | 1.22010 | 9.85 | 0.1889 |  |

# Identified Patterns List: (Bookmark4)

# Plot of Identified Phases: (Bookmark 5)

# Document History: (Bookmark 6)

Insert Measurement:

- File name = 2-Zn Mg.raw

- Modification time = "10/22/2024 02:22:46 ب.ظ"

- Modification editor = "alzahra"

Determine Background:

- Add to net scan = "User defined intensity"

- User defined intensity = "100"

- Correction method = "Automatic"

- Bending factor = "4"

- Minimum significance = "1"

- Minimum tip width = "0.97"

- Maximum tip width = "5"

- Peak base width = "2"

- Use smoothed input data = "Yes"

- Granularity = "2"

- Modification time = "08/20/2024 02:26:32 ب.ظ"

- Modification editor = "alzahra"

Search Peaks:

- Minimum significance = "2"

- Minimum tip width = "0.01"

- Maximum tip width = "9"

- Peak base width = "19"

- Method = "Top of smoothed peak"

- Modification time = "03/02/2024 12:01:48 ب.ظ"

- Modification editor = "alzahra"

Search & Match:

- Allow pattern shift = "No"

- Auto residue = "Yes"

- Data source = "Profile and peak list"

- Demote unmatched strong = "Yes"

- Multi phase = "Yes"

- Restriction set = "Untitled"

- Restriction = "Restriction set"

- Subset name = ""

- Match intensity = "No"

- Two theta shift = "0"

- Identify = "No"

- Max. no. of accepted patterns = "5"

- Minimum score = "50"

- Min. new lines / total lines = "60"

- Search depth = "10"

- Minimum new lines = "5"

- Minimum scale factor = "0.1"

- Intensity threshold = "0"

- Use line clustering = "Yes"

- Line cluster range = "1.5"

- Search sensitivity = "1.8"

- Use adaptive smoothing = "Yes"

- Smoothing range = "1.5"

- Threshold factor = "3"

- Modification time = "10/22/2024 02:22:56 ب.ظ"

- Modification editor = "alzahra"