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	Item
	Reporting detail

	Biologic product
	Zimmer Biomet GPS III system; leukocyte-rich platelet-rich plasma (L-PRP) separation/extraction kit.

	Manufacturer
	Zimmer Biomet.

	Autologous blood volume
	GPS III STD manufacturer protocol: 52 mL autologous blood.

	Anticoagulant
	ACD-A 8 mL according to manufacturer information.

	Processing
	Closed system; centrifugation at 3200 rpm for 15 minutes according to manufacturer information.

	Final product volume
	Approximately 6 mL L-PRP according to manufacturer information.

	Leukocyte content
	Leukocyte-rich PRP by device type; measured leukocyte counts were not available in the retrospective dataset.

	Platelet concentration/counts
	Manufacturer describes platelet concentration/recovery; patient-specific platelet counts were not measured in this retrospective dataset.

	Activation
	No exogenous activation recorded.

	Route/site
	Intra-articular injection into the knee.

	Number of injections
	Initial GPS L-PRP injection; 1-year clinical evaluation.

	Image guidance
	Not recorded in the dataset; specify before submission if ultrasound/fluoroscopy was used.

	Post-injection rehabilitation/medication restrictions
	Not standardized in the retrospective dataset; describe institutional protocol if available.

	Adverse events
	Injection-site pain in 3 cases; no serious adverse events.






