An exploratory analysis of forme fruste keratoconus sensitivity diagnostic parameters

Hui Zhang1，2, Xue Zhang1, Lin Hua1，2, Lin Li1，2, Lei Tian3，4, Xinxin Zhang5, Haixia Zhang*1，2

1 School of Biomedical Engineering, Capital Medical University, Beijing 100069, China;

2 Beijing Key Laboratory of Fundamental Research on Biomechanics in Clinical Application, Capital Medical University, Beijing 100069, China;

3 Beijing Tongren Eye Center, Beijing Key Laboratory of Ophthalmology and Visual Sciences, Beijing Institute of Ophthalmology, Beijing Tongren Hospital, Capital Medical University; Beijing 100730, China;

4 Beijing Advanced Innovation Center for Big Data-Based Precision Medicine, Beihang University & Capital Medical University, Beijing Tongren Hospital, Beijing 100730, China.

5School of statistics, Capital University of Economics and Business, Beijing, 100070, China

* Corresponding author Professor Haixia Zhang, School of Biomedical Engineering, Capital Medical University, Beijing, 100069, P. R. China; Phone: 0086 (01) 83911798, Email: Zhanghx@ccmu.edu.cn;

Table Definitions and abbreviations of parameters

| Abbreviations | Definitions |
| --- | --- |
| A1DLL | Deflection length at the first applanation |
| A1L | The first applanation length |
| A1V | The first velocity of applanation |
| A2DLL | Deflection length at the second applanation |
| A2L | The second applanation length |
| A2T | The second applanation time |
| A2V | The second velocity of applanation |
| ABR | Aberration coefficient |
| ACD | Anterior chamber depth |
| AED_TP | The differential changes in anterior corneal elevation of the thinnest points between the BFS and the enhanced BFS |
| AEmax | Anterior elevation with BFS at the maximum value |
| AP | Corneal thickness at the apex |
| ARTavg | The average Ambrósio relationed thickness |
| ARTmax | The maximum Ambrósio relationed thickness |
| ARTmin | The minimum Ambrósio relationed thickness |
| Astig F | The astigmatism of front surface |
| AUC | Area under the ROC curve |
| B.Ele.Th | The elevation value at the corneal thinnest location on back surface |
| BAD-D | Belin- Ambrósio enhanced ectasia total deviation index |
| BFS | The best fit sphere |
| bIOP | Biomechanical-corrected intraocular pressure |
| CBI | Corvis Biomechanical Index |
| CKC | Clinical keratoconus |
| CKI | Central keratoconus index |
| Corvis ST | Corneal visualization scheimpflug technology |
| CTSP 4 / CTSP 6 / CTSP 8 / CTSP 10 | Corneal thickness spatial profile, the averages of the pachymetric values on concentric rings in 2, 4, 6, 8, and 10 mm diameter from the thinnest point |
| CV 3 / CV 5/ CV 7/ CV 10 | Cornea volume in a diameter of 1, 3, 5, 7, 10 mm around the apex |
| Da | Deviation of ARTmax |
| DA Ratio 1 | The maximal value of the ratio between deformation amplitude at the apex and that at 1 mm from the corneal apex |
| dArcLM | Delta arc length max |
| Db | Deviation of back elevation difference map |
| Df | Deviation of front elevation difference map |
| Dp | Deviation of average pachymetric progression |
| Dt | Deviation of minimum thickness |
| DTP-AP | Distance between the thinnest point of cornea and corneal apex |
| F.Ele.Th | The elevation value at the corneal thinnest location on front surface |
| FFKC | Forme fruste keratoconus |
| HCDA | Deformation amplitude at the highest concavity |
| HCDLL | Deflection length at the highest concavity |
| HCT | Time from the start until the highest concavity |
| IHA | Index of height asymmetry |
| IHD | Index of height decentration |
| IOP | Intraocular pressure |
| I-S | Inferior-superior diopter asymmetry within 3 mm area |
| ISV | Index of surface variance |
| IVA | Index of vertical asymmetry |
| K1 F | Fat meridian diopter of the front surface |
| K2 F | Steep meridian diopter of the front surface |
| KI | Keratoconus index |
| Km F | Mean diopter of the front surface |
| Kmax F | The maximum diopter of the front surface |
| Pachy | Pachymetry |
| Pachyslope | Slope of the pachymetry |
| PD | Peak distance |
| PEapex | Posterior elevation at the corneal apex relative to the BFS |
| PED_TP | The differential changes in posterior corneal elevation of the thinnest points between the BFS and the enhanced BFS |
| PEmax | Posterior elevation with BFS at the maximum value |
| PP | Thickness of pupil center |
| PPIavg | The average pachymetric progression index |
| PPImax | The maximum pachymetric progression index |
| PPImin | The minimum pachymetric progression index |
| PTI 2 / PTI 4 / PTI 6 / PTI 8 / PTI 10 | Percentage thickness increase, the percentage of increase from the thinnest point to the periphery in 2, 4, 6, 8 and 10 mm |
| Rmin B | The minimum radius of curvature of back corneal surface |
| Rmin F | The minimum radius of curvature of front corneal surface |
| SPA1 | Stiffness parameter at first applanation |
| SROC | Summary receiver operator characteristic |
| TBI | Tomographic and Biomechanical Index, |
| TKC | Topographic keratoconus classification |
| TP | Corneal thickness at the thinnest point |
| VAE-NT | The fellow eyes of these patients with normal topography |