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	Parameter
	Mean (SD)
	95% CI
	P-value

	Predicted ΔQFR (vPCI)
	0.225 (SD 0.091)
	—
	—

	Actual ΔQFR
	0.190 (SD 0.097)
	—
	—

	Mean difference (Predicted − Actual)
	+0.035
	0.022 to 0.049
	<0.001



The analysis was restricted to the QFR-guided group (n = 43 vessels). A paired Student's t-test (Shapiro-Wilk normality test p=0.617, meeting parametric assumptions) was used to compare the vPCI-predicted ΔQFR with the actual measured ΔQFR, reporting the mean difference and 95% CI. This exploratory analysis aimed to evaluate the predictive performance of the vPCI tool in the DCB setting, which is conceptually independent of the primary endpoint comparison between the two strategies.

