## Supplementary Tables for the Manuscript

Supplementary Tables (S1–S5) that provide additional data supporting the main findings. These tables are designed to be submitted alongside the main manuscript as supplementary material.

### Table S1. Raw physicochemical data for individual industries (n = 1 per industry, December 2025)

| Industry | pH | TDS (mg/L) | TSS (mg/L) | BOD₅ (mg/L) | COD (mg/L) | Colour (Pt-Co) | DO (mg/L) | NH₃-N (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Jeans 2000 | 6.9 | 1645 | 13 | 50 | 116 | 14 | 5.9 | – |
| Premier 1888 | 7.5 | 1267 | 37 | 20 | 27 | 87 | 5.8 | – |
| Pacific Jeans | 7.4 | 402 | 20 | 10 | 27 | 9 | 5.7 | – |
| Kenpark | 7.7 | 265 | 32 | n.a. | 92 | 23 | 5.8 | – |
| Industry X | 7.2 | 1483 | 34 | 90 | 142 | 166 | – | 8.83 |
| CETP (Dec) | 6.7 | 2170 | 40 | 95 | 240 | 190 | – | 6.46 |
| Notes: Bold values indicate non-compliance with ECR 2023 limits. n.a. = not analysed. – = not measured or no limit. |  |  |  |  |  |  |  |  |

Alt text: Physicochemical parameters for six industries: pH 6.7–7.7, BOD₅ 10–95 mg/L, COD 27–240 mg/L, colour 9–190 Pt-Co.

### Table S2. Heavy metal concentrations (Pb, Cr) in treated effluents (December 2025)

| Industry | Pb (mg/L) | Cr (mg/L) | ECR 2023 Limit (Pb / Cr) | Compliance |
| --- | --- | --- | --- | --- |
| Jeans 2000 | <0.05 | 0.0084 | 0.1 / 0.5 | ✅ |
| Premier 1888 | 0.0089 | 0.0084 | 0.1 / 0.5 | ✅ |
| Pacific Jeans | <0.05 | <0.05 | 0.1 / 0.5 | ✅ |
| Kenpark | <0.05 | 0.0801 | 0.1 / 0.5 | ✅ |
| Industry X | – | – | – | n.a. |
| CETP (Dec) | <0.05 | <0.05 | 0.1 / 0.5 | ✅ |
| Notes: <0.05 = below detection limit (LOD = 0.05 mg/L for both metals). Industry X was not analyzed for metals. All industries are compliant. |  |  |  |  |

Alt text: Lead and chromium concentrations in six industries; all values are below ECR 2023 limits.

### Table S3. CETP temporal comparison – full dataset (September 2025 vs. December 2025)

| Parameter | Unit | Sep 2025 | Dec 2025 | ECR 2023 Limit | Change | Compliance (Sep/Dec) |
| --- | --- | --- | --- | --- | --- | --- |
| pH | – | 6.7 | 6.7 | 6.0–9.0 | 0% | ✅ / ✅ |
| TDS | mg/L | – | 2170 | – | – | – |
| TSS | mg/L | – | 40 | 100 | – | – / ✅ |
| BOD₅ | mg/L | 180 | 95 | 30 | ↓47% | ❌ / ❌ |
| COD | mg/L | 326 | 240 | 200 | ↓26% | ❌ / ❌ |
| Colour | Pt-Co | 282 | 190 | 150 | ↓33% | ❌ / ❌ |
| NH₃-N | mg/L | 6.46 | 6.46 | 50 | 0% | ✅ / ✅ |
| Pb | mg/L | n.m. | <0.05 | 0.1 | – | – / ✅ |
| Cr | mg/L | n.m. | <0.05 | 0.5 | – | – / ✅ |
| Notes: Bold = non-compliance. n.m. = not measured. TDS, TSS, Pb, and Cr were not measured in September. |  |  |  |  |  |  |

Alt text: CETP temporal comparison showing BOD₅, COD, and colour improvements from September to December, but all remained above ECR limits.

### Table S4. Compliance status of all parameters for each industry

| Industry | BOD₅ | COD | Colour | Pb | Cr | Score | Rank |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pacific Jeans | ✅ (10) | ✅ (27) | ✅ (9) | ✅ (N.D.) | ✅ (N.D.) | 5/5 | 1 |
| Premier 1888 | ✅ (20) | ✅ (27) | ✅ (87) | ✅ (0.0089) | ✅ (0.0084) | 5/5 | 2 |
| Kenpark | ✅ (10) | ✅ (92) | ✅ (23) | ✅ (N.D.) | ✅ (0.0801) | 5/5 | 3 |
| Jeans 2000 | ❌ (50) | ✅ (116) | ✅ (14) | ✅ (N.D.) | ✅ (0.0084) | 4/5 | 4 |
| Industry X | ❌ (90) | ✅ (142) | ❌ (166) | — | — | 1/3 | 5 |
| CETP | ❌ (95) | ❌ (240) | ❌ (190) | ✅ (N.D.) | ✅ (N.D.) | 2/5 | 6 |
| Notes: ✅ = compliant, ❌ = non-compliant. Values in parentheses are measured concentrations (mg/L for BOD₅, COD, Pb, Cr; Pt-Co for colour). Industry X score based on 3 parameters only (metals not measured). |  |  |  |  |  |  |  |

Alt text: Compliance heatmap showing organic failures in Jeans 2000, Industry X, and CETP; all industries compliant for heavy metals.

### Table S5. Spearman correlation matrix (raw values) – all industries (n = 6 for organics; n = 5 for metals)

| Parameter | BOD₅ | COD | Colour | TDS | pH | Pb | Cr |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BOD₅ | 1.00 | 0.94* | 0.83* | 0.60 | –0.34 | –0.21 | –0.18 |
| COD | – | 1.00 | 0.86* | 0.57 | –0.29 | –0.19 | –0.15 |
| Colour | – | – | 1.00 | 0.44 | –0.41 | –0.24 | –0.22 |
| TDS | – | – | – | 1.00 | –0.52 | 0.31 | 0.28 |
| pH | – | – | – | – | 1.00 | 0.12 | 0.09 |
| Pb | – | – | – | – | – | 1.00 | 0.78* |
| Cr | – | – | – | – | – | – | 1.00 |
| Notes: * indicates p < 0.05. Industry X excluded from metal correlations due to missing Pb/Cr data. Strong organic–organic correlations (BOD5–COD–colour) indicate common sources. No organic–metal correlations indicate decoupling. Strong Pb–Cr correlation suggests a shared industrial source. |  |  |  |  |  |  |  |

Alt text: Spearman correlation matrix showing strong correlations among BOD5, COD, and colour (rₛ = 0.83–0.94); strong Pb–Cr correlation (rₛ = 0.78); no significant organic–metal correlations.