Supplementary materials

SERS chemical tongue for rapid detection of chili oils assisted with convolutional neural network

Peng Wang • Cun-Fang Zhang • Yu Qin • Xiao-Lan Wei

College of Food Science and Engineering, Chongqing Technology and Business University, Chongqing 400067, China
Corresponding authors:  Xiao-Lan Wei, weishine@ctbu.edu.cn

Table S1. Chili oil compositions

| Series | Category | Base Oil1 | Capsaicin Concentration (μg/mL) | Additives2 |
| --- | --- | --- | --- | --- |
| 1 |  | RO | 0、0.3、1.0、2.0、3.0、4.0、5.0、6.0 |  |
| 2 |  | 1 RO + 1 SO | 0、0.3、1.0、2.0、3.0、4.0、5.0、6.0 |  |
| 3 | A | RO | 3.0 |  |
|  | B | SO | 3.0 |  |
|  | C | 1 RO + 1 SO | 3.0 |  |
|  | D | 2 RO + 1 SO | 3.0 |  |
|  | E | 1 RO + 2 SO | 3.0 |  |
| 4 | A | RO | Erjingtiao (LS) |  |
|  | B | RO | Slender (MS) |  |
|  | C | RO | Frutescens (HS) |  |
|  | D | SO | Erjingtiao (LS) |  |
|  | E | SO | Slender (MS) |  |
|  | F | SO | Frutescens (HS) |  |
|  | G | 1 RO + 1 SO | Erjingtiao (LS) |  |
|  | H | 1 RO + 1 SO | Slender (MS) |  |
|  | I | 1 RO + 1 SO | Frutescens (HS) |  |
| 5 |  | 1 RO + 3 BT | 0、0.5、1.0、2.0、3.0、4.0、5.0、6.0 |  |
| 6 |  | 1 RO + 1.5 LO + 1.5 BT | 0、0.5、1.0、2.0、3.0、4.0、5.0、6.0 |  |
| 7 | A | RO | 3.0 | SGG + SP + Suc |
|  | B | 1 RO + 3 BT | 3.0 | SGG + SP + Suc |
|  | C | 1 RO + 1.5 LO + 1.5 BT | 3.0 | SGG + SP + Suc |
| 8 | A | 1 RO + 1.5 LO + 1.5 BT | 3.0 | SGG |
|  | B | 1 RO + 1.5 LO + 1.5 BT | 3.0 | SP |
|  | C | 1 RO + 1.5 LO + 1.5 BT | 3.0 | SGG + SP |
|  | D | 1 RO + 1.5 LO + 1.5 BT | 3.0 | SGG + SP + Suc |
| 9 | A | RO | Erjingtiao (LS) | SGG + SP + Suc |
|  | B | RO | Slender (MS) | SGG + SP + Suc |
|  | C | RO | Frutescens (HS) | SGG + SP + Suc |
|  | D | 1 RO + 3 BT | Erjingtiao (LS) | SGG + SP + Suc |
|  | E | 1 RO + 3 BT | Slender (MS) | SGG + SP + Suc |
|  | F | 1 RO + 3 BT | Frutescens (HS) | SGG + SP + Suc |
|  | G | 2 RO + 3 LO + 3 BT | Erjingtiao (LS) | SGG + SP + Suc |
|  | H | 2 RO + 3 LO + 3 BT | Slender (MS) | SGG + SP + Suc |
|  | I | 2 RO + 3 LO + 3 BT | Frutescens (HS) | SGG + SP + Suc |

1RO: Rapeseed oil; SO: Soybean Oil; LO: Lard Oil; BT: Beef Tallow.  2S: Scallion; G: Ginger; G: Garlic; SP: Sichuan pepper; Suc: Sucrose.  3LS: Low Spicy; MS: Medium Spicy; HS: High Spicy.

Table S2. Comparison of vibration assignments for FTIR analysis

| Compound | Wavenumber(cm-1) | Vibration Distribution | Compound | Wavenumber(cm-1) | Vibration Distribution |
| --- | --- | --- | --- | --- | --- |
| ATP | 815 | C-H bending vibration | MNP@Ag-CPDA | 812 | C-H bending vibration |
|  | 1382 | C-N stretching vibration |  | 1084 | C-O stretching vibration |
|  | 1490 | C=C bending vibration |  | 1272 | C-N stretching vibration |
|  | 1589 | C=C bending vibration |  | 1484、 1630 | C=C bending vibration |
|  | 3332、3414 | N-H stretching vibration |  | 2969.75 | C-H bending vibration |
| ATP+BA | 750-650 | O-H bending vibration |  | 3428.93 | N-H stretching vibration |
|  | 1047、1084 | C-O stretching vibration | MNP@Ag-CPDAB | 1046.96、 1083.73 | C-O stretching vibration |
|  | 1482、1630 | C=C bending vibration |  | 1482.34 | C=C bending vibration |
|  | 1715 | C=O bending vibration |  | 1629.97 | -C=O bending vibration |
|  | 2970 | C-H bending vibration |  | 2971.35 | C-H bending vibration |
|  | 3353 | N-H stretching vibration |  | 3428.25 | N-H stretching vibration |
| HTP | 1050 | C-O stretching vibration | MNP@Ag-CPDH | 1039.13、1083.48 | C-O stretching vibration |
|  | 1230 | C-O stretching vibration |  | 1247.82 | C-O stretching vibration |
|  | 1315 | O-H bending vibration |  | 1430.43、1485.77 | C=C bending vibration |
|  | 1402、1540 | C=C in benzene ring |  | 1631.65 | C=C bending vibration |
|  | 3350 | O-H stretching vibration |  | 3432.30 | O-H stretching vibration |

Table S3. Ratios of various chemical bonding states in three sensors

| C1s |  |  |  | O1s |  | N1s |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CPDATP:9.9% |  |  |  | CPDATP:38.83% |  | CPDATP:0.2% |  |  |
| CPDATP-BA: 10.69% |  |  |  | CPDATP-BA: 38.33% |  | CPDATP-BA:0.86% |  |  |
| CPDHTP: 9.77% |  |  |  | CPDHTP: 44.45% |  | CPDHTP: ─ |  |  |
|  | C-C/C=C | C-C | C=O | MetalO | C-O | C=O | MetalN | C-NH2 |
| CPDATP | 57.07% | 33.23% 9.24% | 9.7% | 57.22% | 42.78% | ─ | 25% | 75% |
| CPDATP-BA | 75% |  | 10.01% | 41.65% | 37.15% | 21.20% | 8.7% | 91.3% |
| CPDHTP | 65.92% | 23.65% | 10.43% | 41.57% | 58.43% | ─ | ─ | ─ |

Table S4. Assignments of characteristic peaks of SERS sensors.

| Sensor | Wavenumber(cm-1) | Vibration Distribution |
| --- | --- | --- |
| MNP@Ag-CPDAB | 404 661 732 1078 1173 1340 1488 1430 1558 1614 | C-S stretching vibration C-H stretching vibration C-OH Out-of-plane bending vibration loop breathing + C-S stretching vibration CH bend + C-N stretch C-OH bending vibration C-C stretch +CH bending vibration C-OH bending vibration benzene ring C-C- stretching vibration C=O stretching vibration |
| MNP@Ag-CPDH | 385 632 1005 1076 1167 1290 1490 1597 | C-S stretching vibration C-S stretching vibration C-C stretching vibration loop breathing + C-S stretching vibration O-H bending vibration C-OH bending vibration CH bending vibration benzene ring C-C- stretching vibration |
| MNP@Ag-CPDA | 403 659 1008 1078 1171 1488 1554 1590 1609 | C-S stretching vibration C-H stretching vibration C-C stretching vibration loop breathing + C-S stretching vibration CH bend + C-N stretch C-C stretch +CH bending vibration benzene ring C-C stretching vibration benzene ring C-C stretching vibration C–C stretching vibration +NH2 deformation vibration |

Table S5. Detailed information of representative flavor components in chili oil.

| Molecule | Structure |  | Interaction |  |
| --- | --- | --- | --- | --- |
| Unsaturated fatty acids （USFA） |  |  |  | hydrogen bond electrostatic interaction π-π interaction |
| Saturated fatty acid (SFA) |  |  |  | hydrogen bond electrostatic interaction hydrogen bond electrostatic interaction π-π interaction |
| Capsaicin |  |  |  |  |

Table S6. Detailed numerical results of CNN and PLS-R for quantitative detection series 1, 2, 5, and 6.

| Series | Model | Regression Equation | R² | RMSE (μg/mL) | MAE (μg/mL) |
| --- | --- | --- | --- | --- | --- |
| Series1 | CNN | y = 0.9736x + 0.0451 | 0.9907 ± 0.0021 | 0.2048 ± 0.0106 | 0.1526 ± 0.0081 |
|  | PLS-R | y = 0.9557x + 0.1112 | 0.9850 ± 0.0034 | 0.2602 ± 0.0148 | 0.2001 ± 0.0115 |
| Series2 | CNN | y = 0.9939x + 0.0506 | 0.9784 ± 0.0048 | 0.3118 ± 0.0184 | 0.2127 ± 0.0136 |
|  | PLS-R | y = 0.9715x + 0.1073 | 0.9613 ± 0.0062 | 0.4176 ± 0.0267 | 0.3310 ± 0.0214 |
| Series5 | CNN | y = 0.9536x + 0.0988 | 0.9787 ± 0.0051 | 0.3059 ± 0.0192 | 0.2188 ± 0.0145 |
|  | PLS-R | y = 0.8386x + 0.4004 | 0.8889 ± 0.0147 | 0.6993 ± 0.0528 | 0.5325 ± 0.0416 |
| Series6 | CNN | y = 0.9553x + 0.1340 | 0.9767 ± 0.0056 | 0.3205 ± 0.0208 | 0.2260 ± 0.0153 |
|  | PLS-R | y = 0.9144x + 0.2537 | 0.9466 ± 0.0089 | 0.4847 ± 0.0342 | 0.3832 ± 0.0276 |

Table S7. Detailed numerical results of qualitative detections in series 3, 4, 7, 8, and 9 using CNN, KNN, LDA, and SVM.

| Series | Model | Accuracy | Macro Precision | Macro Recall | Macro F1 | Weighted F1 |
| --- | --- | --- | --- | --- | --- | --- |
| series3 | CNN | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 |
|  | KNN | 86.67 ± 1.85 | 87.27 ± 1.72 | 86.67 ± 1.85 | 86.71 ± 1.79 | 86.71 ± 1.79 |
|  | LDA | 99.33 ± 0.47 | 99.35 ± 0.45 | 99.33 ± 0.47 | 99.33 ± 0.47 | 99.33 ± 0.47 |
|  | SVM | 95.33 ± 1.12 | 95.75 ± 1.05 | 95.33 ± 1.12 | 95.31 ± 1.09 | 95.31 ± 1.09 |
| series4 | CNN | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 |
|  | KNN | 90.00 ± 1.88 | 90.12 ± 1.79 | 90.00 ± 1.88 | 89.87 ± 1.91 | 89.87 ± 1.91 |
|  | LDA | 99.26 ± 0.44 | 99.28 ± 0.42 | 99.26 ± 0.44 | 99.26 ± 0.44 | 99.26 ± 0.44 |
|  | SVM | 94.44 ± 1.25 | 95.04 ± 1.13 | 94.44 ± 1.25 | 94.38 ± 1.28 | 94.38 ± 1.28 |
| series7 | CNN | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 |
|  | KNN | 97.78 ± 0.84 | 97.92 ± 0.78 | 97.78 ± 0.84 | 97.79 ± 0.82 | 97.79 ± 0.82 |
|  | LDA | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 |
|  | SVM | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 |
| series8 | CNN | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 | 100.00 ± 0.00 |
|  | KNN | 90.00 ± 1.76 | 91.27 ± 1.62 | 90.00 ± 1.76 | 89.96 ± 1.81 | 89.96 ± 1.81 |
|  | LDA | 98.33 ± 0.69 | 98.44 ± 0.65 | 98.33 ± 0.69 | 98.33 ± 0.69 | 98.33 ± 0.69 |
|  | SVM | 99.17 ± 0.52 | 99.19 ± 0.50 | 99.17 ± 0.52 | 99.17 ± 0.52 | 99.17 ± 0.52 |
| series9 | CNN | 99.63 ± 0.31 | 99.64 ± 0.30 | 99.63 ± 0.31 | 99.63 ± 0.31 | 99.63 ± 0.31 |
|  | KNN | 84.44 ± 2.16 | 85.69 ± 2.04 | 84.44 ± 2.16 | 84.21 ± 2.22 | 84.21 ± 2.22 |
|  | LDA | 96.67 ± 0.98 | 97.28 ± 0.86 | 96.67 ± 0.98 | 96.80 ± 0.93 | 96.80 ± 0.93 |
|  | SVM | 88.15 ± 1.94 | 91.62 ± 1.58 | 88.15 ± 1.94 | 88.31 ± 1.89 | 88.31 ± 1.89 |

Table S8. Apparent recovery analysis for CNN-based capsaicin quantification in different chili oil matrices.

| Matrix | Series | Spiked concentration (μg/mL) | Predicted concentration (μg/mL) | RSD (%) | Apparent recovery (%) |
| --- | --- | --- | --- | --- | --- |
| Simple oil matrix | Series 1 | 1.0 | 0.98 ± 0.04 | 4.08 | 98.00 |
|  | Series 1 | 3.0 | 2.95 ± 0.08 | 2.71 | 98.33 |
|  | Series 1 | 5.0 | 5.06 ± 0.11 | 2.17 | 101.20 |
| Complex oil matrix | Series 5 | 1.0 | 0.93 ± 0.07 | 7.53 | 93.00 |
|  | Series 5 | 3.0 | 2.88 ± 0.12 | 4.17 | 96.00 |
|  | Series 5 | 5.0 | 4.91 ± 0.18 | 3.67 | 98.20 |

Table S9. Capsaicin contents (HPLC) and predicted values (array method) for seven brands of chili oil.

| No. | Brand | Category | HPLC Capsaicin (μg/mL) | Array Method Capsaicin (μg/mL) |
| --- | --- | --- | --- | --- |
| 1 | Lee Kum Kee | Pure chili oil | 92.6 ± 0.626 | 93.4 ± 2.06 |
| 2 | Yao Ma Zi | Pure chili oil | 108 ± 0.872 | 107 ± 1.35 |
| 3 | Rongxiang Zhuoyue | Pure chili oil (Spicy) | 176 ± 2.31 | 176 ± 1.26 |
| 4 | Qiaotou | Composite chili oil | 88.2 ± 0.749 | 87.5 ± 2.27 |
| 5 | Ya Er Ye | Composite chili oil | 93.7 ± 1.67 | 93.9 ± 1.48 |
| 6 | Jiao Huan Tian | Composite chili oil | 170 ± 1.44 | 170 ± 1.35 |
| 7 | Shu Wei Ji | Composite chili oil | 99.3 ± 1.58 | 97.5 ± 0.941 |

Table S10. Fortified concentrations, mean measured values, and recoveries for seven brands

| No. | Brand | Sample Background (μg/mL) | Spiked Amount (μg/mL) | Mean Measured Value (μg/mL) | Recovery ± RSD (%) |
| --- | --- | --- | --- | --- | --- |
| 1 | Lee Kum Kee | 92.6 | 20.0 | 114 ± 0.281 | 105 ± 1.41 |
| 2 | Yao Ma Zi | 108 | 20.0 | 126 ± 0.442 | 92.2 ± 2.21 |
| 3 | Rongxiang Zhuoyue | 176 | 20.0 | 193 ± 0.478 | 84.8 ± 2.39 |
| 4 | Qiaotou | 88.2 | 20.0 | 109 ± 0.653 | 103 ± 3.27 |
| 5 | Ya Er Ye | 93.7 | 20.0 | 115 ± 0.524 | 106 ± 2.62 |
| 6 | Jiao Huan Tian | 170 | 20.0 | 189 ± 0.758 | 93.0 ± 3.79 |
| 7 | Shu Wei Ji | 99.3 | 20.0 | 120 ± 0.184 | 101 ± 0.92 |

Figure S1. TEM(a) and HR-TEM(b) images of MNP@Ag nanoparticles.

Figure S2. High-resolution XPS spectra of (a) MNP@Ag-CPDH and (b) MNP@Ag-CPDAB.

Figure S3. Enhanced Raman spectrum of HTP by the MNP@Ag substrate.

The SERS enhancement factor (EF) is key to assessing substrate performance. Here, we evaluated the Raman signal enhancement of HTP probe molecules by MNP@Ag nanoparticles and calculated the EF. The calculation method is as follows:

(1)

where ISERS is the SERS intensity of HTP on MNP@Ag, IRaman is the normal Raman intensity of HTP in solution, NSERS is the number of molecules probed on the substrate, and NRaman is the number of molecules probed in solution. The intensity at 1074 cm⁻¹ was used, giving ISERS = 4.90 × 10⁴ and IRaman = 309. NRaman was obtained from

(2)

with Vlaser = π × x/2 × y/2 × z = 9.55 × 10⁻¹⁸ m³, where x = 910 nm, y = 680 nm, and z = 4320 nm are the confocal resolutions in solution, and CReceptor = 1 mol·m⁻³. NA is Avogadro's no. NRaman = 5.75 × 10⁶ molecules.

NSERS was calculated by

(3)

where PMNP@Ag = 16 nanoparticles/μm², AMNP@Ag = 3.14 × 10⁻⁴ μm², Alaser = π × x/2 × y/2 = 0.155 μm² with x = 520 nm and y = 380 nm in air, and Dreceptors = 3.29 × 10¹³ molecules/cm². The resulting NSERS is 256 molecules. Substitution into (1) gives EF = (3.56 ± 0.037) × 10⁶.

Figure S4. (a) Raman spectra of the MNP@Ag substrate for detecting different concentrations of HTP, (b) linear relationship between Raman intensity at 1074 cm⁻¹ and −log[c] of HTP, (c) SERS intensity of the 1074 cm⁻¹ peak based on 15 repeated measurements, and (d) RSD at 1074 cm⁻¹ among 15 independent batches of SERS substrates.

Figure. S5 Batch-to-batch reproducibility of SERS intensities at 1078 and 1171 cm⁻¹ for MNP@Ag-CPDA.

Figure. S6 (a) Stability of MNP@Ag-CPDs over 0–28 days (left), (b) SERS intensity of 1078 and 1171 cm-1 characteristic peaks as a function of sensor storage time (right).

Figure. S7 Calibration plots of capsaicin concentration obtained using PLS-R for (a, c) sensor array and (b, d) single MNP@Ag-CPDH sensor

Fig S8. Super spectrum of different chili oil series.

Fig S9. Principal component analysis (PCA) diagram of nine chili oil series.

Fig S10. Chili oil SERS heatmap before and after data augmentation

Fig S11. Training loss iteration curve of the CNN model on the training set and validation set.