Supplementary Information

Gluten free diet does not fully restore the faecal metabolome in paediatric coeliac disease

Table S1. LC-MS Instrumentation and Acquisition Parameters for Untargeted Metabolomics Analysis.

| Category | Parameter | Setting |
| --- | --- | --- |
| Chromatography | Column | Vanquish Accucore C18 UHPLC column (ThermoScientific, 100 mm x 2.1 mm, 2.6 μM) |
|  | Flow rate | 400 μL min -1 |
| Mobile Phase | Mobile phase A | 99.9% water + 0.1% formic acid |
|  | Mobile phase B | 99.9% MeOH + 0.1% formic acid |
| Ionisation | Source type | Heated electrospray ionisation |
|  | Spray voltage (positive mode) | 3900 V |
|  | Spray voltage (negative mode) | 2500 V |
| Temperature | Transfer tube temperature | 320°C |
|  | Vaporiser temperature | 300°C |
| Gas settings | Sheath gas | 40 arbitrary units |
|  | Auxiliary gas | 10 arbitrary units |
|  | Sweep gas | 1 arbitrary unit |
| Acquisition | Mode | Data-dependent acquisition (top 5) |
|  | MS1 resolution | 60,000 |
|  | MS/MS resolution | 30,000 |
| Collision | Gas | Nitrogen |
|  | Fragmentation method | High energy collisional dissociation (HCD) |
| Nebulisation | Gas | Nitrogen |

Table S2. Data pre-processing and statistical configuration settings for metabolomics analysis. QC, quality control; QC-RSC, quality control-based robust signal correction; MPV, missing value placeholder; LOD, limit of detection.

| Category | Parameter | Setting |
| --- | --- | --- |
| Data Filtering | Missing Value Threshold | >20% excluded |
| Data Transformation | Log Transformation | Enabled (LogTransform = TRUE) |
| Data Cleaning | Zero Removal | Enabled (RemoveZeros = TRUE) |
| Outlier Detection | Scope | Local (OutlierScope = Local) |
|  | Method | Linear (OutlierMethod = Linear) |
|  | Confidence Interval | 0.95 (OutlierCI = 0.95) |
| Outlier Handling | Post Hoc Replacement | MPV (OutlierPostHoc = MPV) |
| Signal Correction | QC-Based Robust Signal Correction | Spline (QCRSCmode = Spline) |
|  | Gamma Range | 1:0.5:4 (QCRSCgammaRange) |
|  | Cross-Validation | 5-fold (QCRSCcvMethod = 5-Fold) |
|  | Monte Carlo Repetitions | 5 (QCRSCmcReps = 5) |
|  | Correction Type | Subtract (QCRSCtype = subtract) |
| Background Filtering | Blank Ratio Method | QC (BankRatioMethod = QC) |
|  | Relative Limit of Detection | 1.5 (RelaiveLOD = 1.5) |
| Missing Data Handling | Imputation Method | k-Nearest Neighbours (KNN) |
| Statistical Analysis | Parametric Testing | Enabled (StatsParametric = TRUE) |
| Computational Settings | Parallel Processing | Enabled (ParallelProcess = TRUE) |

Table S3. Parameters of Compound Discoverer workflow.

| Workflow Node | Workflow Parameter | Workflow Information |
| --- | --- | --- |
| Input files |  | .raw data |
| Select Spectra | Spectrum Properties Filter | Lower RT limit: 0 Upper RT limit: 0 |
|  | Scan Event Filters | Polarity Mode: Is + |
| Align Retention Times | General Settings | Alignment Model: Adaptive curve Maximum Shift [min]: 0.3 Mass Tolerance: 2 ppm |
| Detect Compounds | General Settings | Mass Tolerance: 2 ppm Intensity Tolerance [%]: 30 S/N Threshold: 5 Min. Peak Intensity: 500 000 Ions: [2M + FA + H]-1; [2M + H]+1; [2M + K]+1; [2M + Na]+1; [2M - H]-1; [M + 2H]+2; [M + Cl]-1; [M + FA - H]-1; [M + H]+1; [M + H + K]+2; 2M + H + MeOH]+1; [M + H + Na]+2; [M + H – H2O]+1; [M + K]+1; [M + Na]+1; [M - 2H]-2; [M + 2H + K]-1; [M -H]-1; [M -H2O]-1 Min. Element Counts: C H Max. Element Counts: C90 H190 Br3 Cl4 K2 N10 Na2 O15 P5 S5 |
| Group Compounds | Compound Consolidation | Mass Tolerance: 2 ppm RT Tolerance [min]: 0.2 |
|  | Fragment Data Selection | Preferred Ions: [M - H] +1; [M- H] -1 |
| Search mzCloud | General Settings | Compound Classes: Endogenous Metabolites, Excipients/ Additives/ Colourants, Extractables/ Leachables, Natural Products/ Medicines, Natural Toxins, Personal Care Products/ Cosmetics, Small Molecule Chemicals, Steroids/ Vitamins/ Hormones, Therapeutic/ Prescription Drugs Precursor Mass Tolerance: 10 ppm FT Fragment Mass Tolerance: 10 ppm Library: Autoprocessed, Reference Post. Processing: Recalibrated Annotation Matching. Fragments: True |
|  | DDA Search | Identity Search: Cosine Match Activation Type: True Match Activation Energy: Match with Tolerance Activation Energy: 20 |
|  | DIA Search | Use DIA Scans: False Max. Isolation Width [Da]: 500 Match Activation Type: False Match Activation Energy: Any Activation Energy Tolerance: 100 Apply Intensity Threshold: False Match Factor Threshold: 20 |
| Predict Compositions | Prediction Settings | Mass Tolerance: 2 ppm Min. Element Counts: C. H Max. Element Counts: C90 H190 Br3 Cl4 K2 N10 Na2 O15 P5 S5 Min. RDBE: 0 Max. RDBE: 40 Min. H/C: 0.1 Max. H/C: 4 Max.# Candidates: 10 Max.# Internal Candidates: 200 |
|  | Pattern Matching | Intensity Tolerance [%]: 30 Intensity Threshold [%]: 0.1 S/N Threshold: 3 Min. Spectral Fit [%]: 30 Min. Pattern Cov. [%]: 90 Use Dynamic Recalibration: True |
|  | Fragments Matching | Use Fragments: True Mass Tolerance: 2 ppm S/N Threshold: 5 |
| Map to Metabolika Pathways | Search Settings | Metabolika pathways: All Search Mode: By Formula or Mass |
|  | By Mass Search Settings | Mass Tolerance: 2 ppm |
|  | By Formula Search Settings | Max. # of Predicted Compositions to be searched per Compound: 3 |
|  | Display Settings | Max. # of Pathways in ‘Pathways’ column: 20 |
| Apply mzLogic | General Settings | FT Fragment Mass Tolerance: 10 ppm IT Fragment Mass Tolerance: 0.4 Da Max. # Compounds: 0 Max. # mzCloud Similarity Results to consider per Compound: 10 Match Factor Threshold: 30 |
| Assign Compound Annotations | General Settings | Mass Tolerance: 2 ppm |
|  | Data Sources | Data source #1: mzCloud Search Data source #2: Predicted Compositions Data source #3: MassList Search |
|  | Sorting Rules | Use mzLogic: True Use Spectral Distance: True SFit Threshold: 20 SFit Range: 20 |
| Fill Gaps | General Settings | Mass Tolerance: 2 ppm S/N Threshold: 5 Use Real Peak Detection: True |
| Apply QC Correction | General Settings | Min. QC Coverage [%]: 30 Max. QC Area. RSD [%]: 30 Max. Corrected QC Area RSD [%]: 25 Max. # Files Between QC Files: 15 |
| Mark Background Compounds | General Settings | Max. Sample/ Blank: 5 Max. Blank/ Sample: 0 Hide Background: True |
| Differential Analysis | General Settings | Log10 Transform Values: True |

Figure S1. Overall experimental workflow following stages of sample collection, metabolite extraction using optimised method, data acquisition and analysis, and biological interpretation.

Figure S2. Variable importance in projection (VIP) plot showing the top differential metabolites from the orthogonal partial least square discriminant analysis (OPLS-DA) model comparing UCD vs. HC.

Supplementary Table S4. Significantly altered metabolites between UCD patients and HCs.

| Metabolite | Group Comparison |
| --- | --- |
| Leu-Pro-Tyr | Decreased in UCD |
| Ornithine | Decreased in UCD |
| Ferulic acid | Decreased in UCD |
| N-Acetyl-L-glutamic acid | Decreased in UCD |
| Methyl 3-methanesulfonamidobenzoate | Decreased in UCD |
| Palmitoleoylglycine | Decreased in UCD |
| 3-Oxocholic acid | Decreased in UCD |
| 2-Isobutyl-3-methylpyrazine | Decreased in UCD |
| Bz-Arg-OEt | Decreased in UCD |
| 2-Aminoethyl 4,6-dideoxy-4-(3-hydroxy-3-methylbutanoyl)amino-2-O-methyl-Î±-D-glucoside | Decreased in UCD |
| Leu-Leu-Asp | Decreased in UCD |
| Bussealin E | Decreased in UCD |
| 9-Methyluric acid | Decreased in UCD |
| 4-Hydroxyprolylleucine | Decreased in UCD |
| N-(3-Indolylacetyl)valine | Decreased in UCD |
| Leu-Ala-Ser | Decreased in UCD |
| Caffeine | Decreased in UCD |
| Trileucine | Decreased in UCD |
| N-Acetyltyramine | Decreased in UCD |
| Uric acid | Decreased in UCD |
| N-Acetylglucosaminitol | Decreased in UCD |
| Hippuric acid | Increased in UCD |
| Undecanoylcarnitine | Increased in UCD |
| Glycodeoxycholic acid | Increased in UCD |
| Glycine | Increased in UCD |
| 8-Carboxy-3-oxooctanoyl-L-homoserine lactone | Increased in UCD |
| 7,8-Dihydroxy-3,7-dimethyl-6-oxo-7,8-dihydro-6H-isochromene-5-carbaldehyde | Increased in UCD |
| Monolaurin | Increased in UCD |
| N-(Indole-3-acetyl)leucine | Increased in UCD |
| Methyl 2-acetamido-2-deoxy-Î±-D-galactopyranoside | Increased in UCD |
| N-Acetylhistamine | Increased in UCD |
| O-Î±-D-mannosyl-L-threonine | Increased in UCD |
| Aspartic acid | Increased in UCD |
| Galactosylhydroxylysine | Increased in UCD |
| Isovalerylglutamic acid | Increased in UCD |
| 3-Oxodocosanoic acid | Increased in UCD |
| E-2-Butenyl-4-methylthreonine | Increased in UCD |
| 3,5-Dimethoxyphenyl-4-methylsulfonyl-1-piperazinyl methanone | Increased in UCD |

B

A

C

Figure S3. Orthogonal partial least square discriminant analysis (OPLS-DA) and variable importance for treated vs untreated coeliac disease (TCD vs UCD). (A) OPLS-DA scores plot comparing TCD vs UCD with points representing individual samples and ellipses showing 95% confidence intervals, R2Y = 0.767, Q2 = 0.0963. (B) Variable importance in projection (VIP) plot showing the top differential metabolites from the orthogonal partial least square discriminant analysis (OPLS-DA) model comparing TCD vs. UCD. (C) Volcano plot displaying the significantly altered metabolites between TCD and UCD patients.

B

A

C

Figure S4. Orthogonal partial least square discriminant analysis (OPLS-DA) and variable importance for treated coeliac disease (TCD) vs HCs. (A) OPLS-DA scores plot comparing TCD vs HC with points representing individual samples and ellipses showing 95% confidence intervals, R2Y = 0.843, Q2 = 0.548. (B) Variable importance in projection (VIP) plot showing the top differential metabolites from the orthogonal partial least square discriminant analysis (OPLS-DA) model comparing TCD vs. HC. (C) Volcano plot displaying the significantly altered metabolites between TCD patients and HCs.

Supplementary Table S5. Top differentially abundant metabolites identified in the prospective cohort, with corresponding VIP scores in the cross-sectional cohort. Metabolites with VIP > 1.2 were considered contributors to group separation, those with VIP values between 1.0 and 1.2 were classed as low model contributors, and metabolites with VIP < 1.0 were considered to have no appreciable contribution to the multivariate model.

| Variable | Direction | VIP Score |
| --- | --- | --- |
| Monolinolenin | Low model contribution | 1.055896 |
| N-Acetyl-L-glutamic acid | No effect | VIP < 1 |
| N-[(2S)-2-Hydroxypropanoyl]-L-phenylalanine | Increased in TCD | 1.465013 |
| Xanthurenic acid | Increased in TCD | 1.956463 |
| Methyl-alpha-aspartyl phenylalaninate | No effect | VIP < 1 |
| 3-Amino-4,7-dihydroxy-8-methylcoumarin | No effect | VIP < 1 |
| L-Alanyl-L-proline | No effect | VIP < 1 |
| Phenylalanine | Low model contribution | 1.009252 |
| O-alpha-D-mannosyl-L-threonine | No effect | VIP < 1 |
| Galactosylhydroxylysine | Increased in UCD | 2.110364 |
| N-indole-3-acetyl-leucine | Increased in UCD | 2.199974 |
| Pyridoxine | Low model contribution | 1.177892 |
| Butyryl-L-homoserine-lactone | Increased in UCD | 1.268518 |
| 9(11)-dehydroaxinysterol | Increased in UCD | 2.040323 |
| N-alpha-methyl-L-lysine | No effect | VIP < 1 |
| Bz-Arg-OEt | Low model contribution | 1.140965 |

Figure S5. Treatment responsive metabolites in all participants. Boxplots showing the relative intensities of metabolites significantly altered in both untreated coeliac disease (UCD) and HCs compared with treated coeliac disease (TCD). Statistical significance is indicated by *p < 0.05, **p < 0.01, ***p < 0.001.

A

B

D

C

Figure S6. Metabolomics differences in unaffected siblings compared with TCD patients and HCs. (A)

Orthogonal partial least square discriminant analysis (OPLS-DA) scores plot comparing unaffected siblings (S) with treated TCD patients (TCD). Each point represents an individual sample, with 95% confidence ellipses shown for each group (R²Y = 0.834, Q² = 0.212). (B) Volcano plot showing metabolites significantly altered between TCD patients and unaffected siblings. (C) OPLS-DA scores plot comparing unaffected siblings (S) with healthy controls (HC). Each point represents an individual sample, with 95% confidence ellipses shown for each group (R²Y = 0.733, Q² = 0.031). (D) Volcano plot showing metabolites significantly altered between HCs and unaffected siblings.