Appendix

Table A1: The optimal location and sizing of DGUs of implemented methods in IEEE 33-bus distribution system

| Applied method | The optimal solution (Bus – Size) | Total capacity |
| --- | --- | --- |
| GA (Moradi et al. 2012) | Bus 11 - 1.5000 MW; Bus 29 - 0.4228 MW; Bus 30 - 1.0714 MW | 2.9942 MW |
| PSO (Moradi et al. 2012) | Bus 08 - 1.1768 MW; Bus 13 - 0.9816 MW; Bus 32 - 0.8297 MW | 2.9881 MW |
| GA-PSO (Moradi et al. 2012) | Bus 11 - 0.9250 MW; Bus 16 - 0.8630 MW; Bus 32 - 1.2000 MW | 2.9880 MW |
| LSF-SA (Injeti et al. 2013) | Bus 06 - 1.1124 MW; Bus 18 - 0.4874 MW; Bus 30 - 0.8679 MW | 2.4677 MW |
| BFOA (Devabalaji et al. 2016) | Bus 17 - 0.6335 MW; Bus 18 - 0.0908 MW; Bus 33 - 0.9470 MW | 1.6713 MW |
| BSOA (El-Fergany et al. 2015) | Bus 13 - 0.6320 MW; Bus 28 - 0.4860 MW; Bus 31 - 0.5500 MW | 1.6680 MW |
| ABC | Bus 31 - 0.4145 MW, Bus 15 - 0.7179 MW, Bus 26 - 1.0060 MW | 2.1384 MW |
| SSA | Bus 13 - 0.6741 MW, Bus 06 - 1.0960 MW, Bus 31 - 0.4514 MW | 2.2215 MW |
| EO | Bus 06 - 1.1489 MW, Bus 15 - 0.6147 MW, Bus 31 - 0.4514 MW | 2.2150 MW |
| IEO | Bus 31 - 0.4514 MW, Bus 06 - 1.1476 MW, Bus 15 - 0.6153 MW | 2.2143 MW |

Table A2: The optimal location and sizing of DGUs of implemented methods in IEEE 69-bus distribution system

| Applied method | The optimal solution (Bus – Size) | Total capacity |
| --- | --- | --- |
| MOBA (Prakash et al. 2018) | Bus 23 - 0.4000 MW; Bus 61 - 1.2000 MW; Bus 64 - 0.4000 MW | 2.0000 MW |
| GA (Moradi et al. 2012) | Bus 21 - 0.9297 MW; Bus 62 - 1.0752 MW; Bus 64 - 0.9925 MW | 2.9974 MW |
| PSO (Moradi et al. 2012) | Bus 17 - 0.9925 MW; Bus 61 - 1.1998 MW; Bus 63 - 0.7956 MW | 2.9879 MW |
| GA-PSO (Moradi et al. 2012) | Bus 21 - 0.9105 MW; Bus 61 - 1.1926 MW; Bus 63 - 0.8849 MW | 2.9880 MW |
| LSF-SA (Injeti et al. 2013) | Bus 18 - 0.4204 MW; Bus 60 - 1.3311 MW; Bus 65 - 0.4298 MW | 2.1813 MW |
| BFOA (Devabalaji et al. 2016) | Bus 27 - 0.2954 MW; Bus 61 - 1.3451 MW; Bus 65 - 0.4476 MW | 2.0881 MW |
| HSA (Rao et al. 2013) | Bus 63 - 1.3024 MW; Bus 64 - 0.3690 MW; Bus 65 - 0.1018 MW | 1.7732 MW |
| ABC | Bus 64 - 0.4699 MW, Bus 61 - 1.1743 MW, Bus 20 - 0.4019 MW | 2.0461 MW |
| SSA | Bus 17 - 0.2953 MW, Bus 12 - 0.2012 MW, Bus 61 - 1.6200 MW | 2.1165 MW |
| EO | Bus 18 - 0.4249 MW, Bus 64 - 0.1927 MW, Bus 61 - 1.4790 MW | 2.0966 MW |
| IEO | Bus 61 - 1.3765 MW, Bus 18 - 0.4260 MW, Bus 64 - 0.2896 MW | 2.0921 MW |

Table A3: The optimal location and sizing of DGUs of implemented methods in IEEE 85-bus distribution system

| Applied method | The optimal solution (Bus – Size) | Total capacity |
| --- | --- | --- |
| ABC | Bus 63 - 0.9256 MW, Bus 35 - 0.6860 MW, Bus 11 - 0.4142 MW | 2.0258 MW |
| SSA | Bus 72 - 0.5458 MW, Bus 11 - 0.5891 MW, Bus 34 - 0.8474 MW | 1.9823 MW |
| EO | Bus 67 - 0.6688 MW, Bus 34 - 0.8022 MW, Bus 11 - 0.5067 MW | 1.9777 MW |
| IEO | Bus 67 - 0.5990 MW, Bus 11 - 0.5798 MW, Bus 34 - 0.7987 MW | 1.9775 MW |