Table 1. Principal engineering specifications of Hub Dam

| Parameter | Characteristics |
| --- | --- |
| Dam type | Earth-fill dam |
| Location | Sindh-Balochistan provincial border, 55 km NE of Karachi |
| Coordinates | 25°15′21″N, 67°6′51″E |
| Purpose | Municipal water supply, industrial use, irrigation |
| Construction began | September 1963 |
| Operational since | June 1981 |
| Construction cost | Rs. 1,191.806 million (approx. US$ 4.1 million) |
| Operator | Water and Power Development Authority (WAPDA) |
| Installed power capacity | 5 MW |

Table 1. Engineering specifications of Hub Dam. Source: WAPDA; Pakistan Water Gateway.

Table 2. Reservoir capacity parameters of Hub Dam

| Parameter | Value |
| --- | --- |
| Gross storage capacity | 857,000 acre-ft (original design); 687,276 acre-ft (current) |
| Total storage capacity | 687,276 acre-ft (0.847742 km³) |
| Active (live) storage capacity | 656,000 acre-ft (0.809 km³) |
| Inactive (dead) storage capacity | 41,806 acre-ft (0.051567 km³) |
| Catchment area | 3,410 sq. miles (8,800 km²) |
| Original reservoir surface area | 34 sq. miles |
| Current reserved surface area | 29.06 sq. miles (75.3 km²) |
| Water supply to Karachi | 102 million gallons per day (MGD) |
| Water supply to Lasbela, Balochistan | 59 million gallons per day (MGD) |

Table 2. Reservoir capacity parameters. Source: WAPDA; Federal Flood Commission.

Table 3. Spillway specifications of Hub Dam

| Parameter | Characteristics |
| --- | --- |
| Type | Ungated Ogee-shaped spillway |
| Crest elevation | 339 feet |
| Spillway length | 6,020 feet |
| Outflow design capacity | 458,000 cubic feet per second (CFS) |
| Spillway height | 339 feet |

Table 3. Spillway specifications of Hub Dam. Source: WAPDA.