Material and Methods

Preparation of Blood Samples

Plasma samples were drawn from peripheral veins and were stored in tubes containing ethylene diaminetetra-acetic acid (EDTA) to prevent coagulation. Samples were transferred to the laboratory and underwent centrifugation at 1,300 x g for 10 minute at 4℃. The supernatant plasma was filtered through a cellulose acetate filter (0.2 μm pore site) and platelet-free plasma was stored at -80℃. For mass spectrometry (MS), plasma protein concentration was determined by the Bradford assay. The plasma protein samples were denatured by incubation in 50mM Tris buffer (pH 8.0) containing 3 M urea at 37℃ for 30 minutes. Samples were reduced with 10 mM dithiothreitol for 1 hour at 56 ℃, treated with 60 mM iodoacetamide for 1 hour at room temperature in the dark, and then diluted 10-fold with 50 mM ammonium bicarbonate. Digestion was performed with sequencing-grade trypsin (Promega, Madison, WI, USA) at 37 ℃ overnight at protein: trypsin molar ratio of 50:1. Tryptic digests were desalted using a C18 SPE cartridge (Waters, Milford, MA, USA) and dried in vacuo. The dried samples were dissolved in 0.1% formic acid. One hundred femtomoles of a betagalactosidase (β-Gal) peptide (residues 954-962, GDFQFNISR) was added to the desalted peptide mixture.