# Primary validation of Charm II tests for the detection of antimicrobial residues in a range of aquaculture fish

Aziz Kimera Mukota1, Melanie Flore Kamini Gondam2, Julie Judith Takadong Tsafack2, James Sasanya3, Wim Reybroeck4, Muhammad Ntale5, Steven Allan Nyanzi5 and Emmanuel Tebandeke5, *

Supporting Information

Table 1a:  List of analytical standards used for spiking*

| Product | Company | Lot |
| --- | --- | --- |
| Amoxicillin | Sigma-Aldrich | SLBC0896V |
| Ampicillin | Sigma-Aldrich | SZBD101XV |
| Benzylpenicillin (Pen G) | Sigma-Aldrich | 045M4815V |
| Cloxacillin | Sigma-Aldrich | BCBV3429 |
| Dicloxacillin | Sigma-Aldrich | 014M4761V |
| Oxacillin | Sigma-Aldrich | 125M4757V |
| Tetracycline | Sigma-Aldrich | BCBT1771 |
| 4-epimer-tetracycline | USP | 1-LXM-9-1 |
| Chlortetracycline | Sigma-Aldrich | SZBF054XV |
| 4-epimer-chlortetracycline | Acros Organics | A0356291 |
| Oxytetracycline | Sigma-Aldrich | BCBG9599V |
| 4-epimer-oxytetracycline | Acros Organics | A0357398 |
| Tylosin A | Sigma-Aldrich | SZBE090XV |
| Tilmicosin | Sigma-Aldrich | BCBR6592V |
| Sulfadiazine | Sigma-Aldrich | 056M4795V |
| Erythromycin A | Sigma-Aldrich | SZBE092XV |
| Neomycin | Sigma-Aldrich | SLBJ9577V |
| Lincomycin | Pfizer | 030606-QCS-33 |
| Sulfamethazine | Sigma-Aldrich | BCBM2115V |
| Sulfadimethoxine | Sigma-Aldrich | 0001431982 |
| Sulfamerasine | Sigma-Aldrich | 042K1582 |
| Sulfathiazole | Sigma-Aldrich | SLBB2307V |

*The respective level of spiking is presented in Table 3

Table 1b.  Limits of quantitation and detection (µg/kg) from Charm II Assays and published results

[29, 30, 31]

| Family | Compound | EU-MRL (μg kg-1) | Matrix | Charm II Manufacturer’s claim | Validated CCβ for fish using Charm II technique | HPLC–ESI-MS/MS [29] Fish matrix | HPLC-MS/MS [30] Fish matrix |  | LC–ESI-MS/MS [31] Fish matrix |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | LOD (μg kg-1) | LOD (μg kg-1) | LOD (μg kg-1) | LOD (μg kg-1) | LOQ (μg kg-1) | LOD (μg kg-1) |
| Tetracyclines | Tetracycline | 100 | Tissue | 25 | 25 |  | 10 | 33 | 3.64 |
|  | Chlortetracycline | 100 | Tissue | 100 | 25 |  | 16 | 52 | 34.76 |
|  | Oxytetracycline | 100 | Tissue | 100 | 100 |  | 12 | 41 | 2.6 |
| Macrolides | Erythromycin | 200 | Tissue | 100 | 100 |  |  |  |  |
|  | Tilmicosin | 50 | Tissue | 50 | 100 |  |  |  |  |
|  | Tylosin | 100 | Tissue | 400 | 100 |  |  |  | 13.29 |
| β-lactam | Penicillin G | 50 | Tissue | 50 | 25 |  |  |  | 119.60 |
|  | Ampicillin | 50 | Tissue | 40 | 50 |  |  |  | 0.83 |
|  | Amoxicillin | 50 | Tissue | 50 | 50 |  |  |  |  |
|  | Oxacillin | 300 | Tissue | 500 | 300 |  |  |  | 95.77 |
|  | Dicloxacillin | 300 | Tissue | 300 | 300 |  |  |  |  |
|  | Cloxacillin | 300 | Tissue | 500 | 300 |  |  |  |  |
| Aminoglycosides | Streptomycin | 500 | Tissue | 500 | 25 |  |  |  | 6.98 |
| Sulfonamides | Sulfamethazine | 100 | Tissue | 100 | 25 |  |  |  | 0.9 |
|  | Sulfadimethoxine | 100 | Tissue | 100 | 25 | 0.5 | 1.2 | 4 | 1.20 |
|  | Sulfamerasine | 100 |  |  | 25 |  | 4 | 14 | 1.19 |
|  | Sulfadiazine | 100 |  |  | 25 |  | 11 | 36 | 0.39 |
|  | Sulfathiazole | 100 | Tissue | 100 | 25 |  |  |  | 0.71 |