TABLE I. CONVERTER DESIGN SPECIFICATIONS

| Parameter | Symbol | Value |
| --- | --- | --- |
| Rated Power | Prated | 2 kW |
| PV Voltage | VPV | 200 V |
| Battery Voltage | Vbat | 48 V |
| EV battery/ DC Bus Voltage | Vbus | 200 V |
| Switching Frequency | fs | 50 kHz |
| Boost Inductance | L1 | 400 µH |
| Battery Inductance | L2 | 200 µH |
| DC Bus Capacitance | Cbus | 50 µF |
| Current Ripple | ΔIL | 10% |
| Voltage Ripple | ΔVo | 1% |
| MPPT Algorithm | – | Incremental Conductance |
| SoC Operating Range | – | 20–90% |

TABLE II COMPARATIVE PERFORMANCE ANALYSIS: FPP VS. PROPOSED DPP CONVERTER

| Parameter | FPP Converter | Proposed DPP |
| --- | --- | --- |
| Peak System Efficiency | 90.2% | 95.8% |
| Efficiency at 50% Load | 87.5% | 94.6% |
| Efficiency at 25% Load | 83.1% | 93.8% |
| Converter Rating (kVA) | 2.0 | 0.8 |
| Switching Losses (W) at Rated Load | 42 | 17 |
| Conduction Losses (W) at Rated Load | 28 | 11 |
| Voltage Regulation (%) | ±2.1 | ±1.05 |
| Transient Recovery Time (ms) | 35 | 15 |
| MPPT Efficiency (%) | 98.1% | 99.2% |
| Component Count (Active) | 6 | 6 |
| Control Complexity | Low | Moderate |