Supplementary Materials

Supplemental Table S1. The detail of mass spectrometry parameters.

| Description | Parameters |
| --- | --- |
| Scan type(m/z) | 70-1050 |
| Sheath gas flow (arb) | 50 |
| Aux gas flow rate (arb) | 13 |
| Heater temp (℃) | 425 |
| Capillary temp (℃) | 325 |
| Spray voltage (+)(V) | 3500 |
| Spray voltage (-)(V) | -3500 |
| Normalized collision energy(eV) | 20.40.60 |
| Resolution (Full MS) | 60,000 |
| Resolution(MS2) | 7500 |