EDF-6. Recommended 176Hf/177Hf value for zircon reference materials and weighted mean standard corrected ratio obtained in each analytical session (Mud Tank primary reference material).

| Zircon standard | Recommended 176Hf/177Hf | Weighted mean for session 1 (24/2/2021) | Weighted mean for session 2 (25/2/2021) | Weighted mean for session 3 (26/2/2021) |
| --- | --- | --- | --- | --- |
| Mud Tank | 0.282505 ± 0.000044 (Woodhead and Hergt, 2005) | 0.282507 ± 0.000012 (MSWD = 0.72, n = 14) | 0.282507 ± 0.000014 (MSWD = 0.29, n = 16) | 0.282507 ± 0.000015 (MSWD = 0.83, n = 14 |
| GJ-1 | 0.282000 ± 0.00005, (Morel et al., 2008) | 0.282022 ± 0.000015 (MSWD = 0.68, n = 14) | 0.282024 ± 0.000018 (MSWD = 0.18, n = 14) | 0.282024 ± 0.000016 (MSWD = 1.5, n = 15) |
| R33 | 0.282764 ± 0.000014 (Fisher et al., 2014) | 0.282743 ± 0.000015 (MSWD = 0.19, n = 11) | 0.2824757 ± 0.000016 (MSWD = 1.2, n = 14) | 0.282758 ± 0.000016 (MSWD = 0.66, n = 14) |
| 91500 | 0.282306 ± 0.00004 (Woodhead et al., 2004) | 0.282308 ± 0.000018 (MSWD = 1.2, n = 15) | 0.282298 ± 0.000021 (MSWD = 0.83, n = 14) | 0.282310 ± 0.000017 (MSWD = 0.71, n = 18) |