EDF-7 Recommended ages for zircon reference materials and weighted mean standard corrected ages obtained in each analytical session.

| Zircon standard | Recommended age (Ma) | Weighted mean for session 1 (24/2/2021) | Weighted mean for session 2 (25/2/2021) | Weighted mean for session 3 (26/2/2021) |
| --- | --- | --- | --- | --- |
| GJ-1 | 608.5 ± 1.5 Ma (Jackson et al., 2004) 601.5± 0.40 Ma (Horstwood et al., 2016) | 605.6 ± 2.2Ma (MSWD = 0.18, n = 15) | 608.2± 0.93 Ma (MSWD = 3.8, n = 16) | 607.3± 1.5 Ma (MSWD = 0.99, n = 14) |
| Maniitsoq | 3007.3 ± 0.3 Ma (March et al., 2019) | 3003.8 ± 4.1 Ma (MSWD = 3.5, n = 9) | - | 3008.3 ± 7.8 Ma (MSWD = 2.1, n = 7) |
| 91500 | 1062.4 ± 0.4 Ma (Wiedenbeck et al., 1995) | 1061.0 ± 4 Ma (MSWD = 0.61, n = 14) | 1062.3 ± 2.2 Ma (MSWD = 0.05, n = 14) | 1062.3 ± 2.6 Ma (MSWD = 0.53, n = 16) |
| OGC | 3467 ± 3 Ma (Stern et al., 2009) | 3465.1 ± 2.9 Ma (MSWD = 0.48, n = 13) | - | 3464.9 ± 5.1 Ma (MSWD = 0.66, n = 13) |
| Note: No grains >1400Ma were measured in session 2 so older standards were not required. |  |  |  |  |