Table S1. The regression equation, r2 values, linear range, LLOQ and LLOD for cocktail drugs in rat plasma.

| Analytes | Regression equation | r2 | Linear range (ng/mL) | LLOQ (ng/mL) | LLOD (ng/mL) |
| --- | --- | --- | --- | --- | --- |
| Caffeine | y = 0.7014x - 0.0010 | 0.9999 | 21.0 - 21000 | 10.0 | 3.33 |
| Dapsone | y = 1.5033x - 0.0009 | 0.9998 | 20.1 - 20100 | 10.0 | 3.33 |
| Coumarin | y = 0.5613x - 0.0197 | 0.9997 | 51.0 - 20400 | 50.0 | 16.67 |
| Chlorzoxazone | y = 0.4296x + 0.0610 | 0.9995 | 102.0 -51000 | 50.0 | 16.67 |
| Tolbutamide | y = 0.2910x - 0.0082 | 0.9996 | 101.0-101000 | 50.0 | 16.67 |

Table S2. Summary of accuracy, precision, extraction recovery and stability of cocktail drugs (Mean ± SD, n = 6).

| Analytes | Spiked conc. (ng/mL) | Measured conc.(ng/mL) | Intra-day |  | Inter-day |  | Extraction recovery (%) | Stability |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Accuracy (%) | Precision (RSD, %) | Accuracy (%) | Precision (RSD, %) |  | Room temperature (12 h) |  | Auto-sampler (25 ℃, 24 h) |  | Freeze-thaw cycles |  | -20 ℃ (60 days) |  |
|  |  |  |  |  |  |  |  | Accuracy (%) | Precision (RSD, %) | Accuracy (%) | Precision (RSD, %) | Accuracy (%) | Precision (RSD, %) | Accuracy (%) | Precision (RSD, %) |
| Caffeine | 21 | 19.95 ± 0.91 | 94.99 | 4.58 | 91.25 | 2.99 | 100.72 ± 9.97 | 88.04 | 2.48 | 88.03 | 8.29 | 105.59 | 6.92 | 91.68 | 10.51 |
|  | 1050 | 967.88 ± 56.78 | 92.18 | 5.87 | 92.22 | 2.02 | 101.76 ± 7.27 | 99.69 | 5.27 | 90.43 | 4.72 | 89.00 | 3.40 | 91.87 | 5.76 |
|  | 21000 | 18564.63 ± 242.30 | 88.40 | 1.31 | 90.87 | 4.75 | 110.25 ± 7.03 | 90.89 | 8.51 | 95.98 | 6.35 | 92.01 | 2.61 | 98.88 | 8.53 |
| Dapsone | 20.1 | 17.82 ± 1.32 | 88.63 | 7.40 | 92.14 | 3.37 | 99.52 ± 8.09 | 88.11 | 10.84 | 87.37 | 9.58 | 99.04 | 5.52 | 102.45 | 7.08 |
|  | 1005 | 926.72 ± 69.69 | 92.91 | 7.52 | 90.62 | 1.16 | 106.28 ± 10.07 | 89.10 | 7.41 | 95.76 | 8.52 | 99.39 | 9.42 | 89.89 | 7.32 |
|  | 20100 | 18883.93 ± 1701.21 | 93.95 | 9.01 | 103.10 | 5.97 | 106.82 ± 2.72 | 106.94 | 9.34 | 94.51 | 3.58 | 93.48 | 6.26 | 90.77 | 7.53 |
| Coumarin | 51 | 54.56 ± 1.71 | 106.99 | 3.14 | 103.70 | 4.75 | 99.40 ± 9.59 | 99.09 | 6.49 | 97.98 | 5.46 | 106.32 | 5.86 | 102.34 | 7.09 |
|  | 1020 | 921.93 ± 68.46 | 90.38 | 7.43 | 92.75 | 5.00 | 101.56 ± 6.19 | 100.15 | 7.87 | 90.25 | 8.70 | 96.83 | 8.12 | 93.98 | 4.00 |
|  | 20400 | 20086.94 ± 1701.28 | 98.47 | 8.47 | 99.84 | 5.43 | 97.77 ± 7.04 | 97.20 | 5.59 | 104.28 | 8.86 | 102.88 | 7.27 | 107.71 | 6.93 |
| Chlorzoxazone | 102 | 100.60 ± 7.88 | 98.63 | 7.83 | 90.24 | 5.81 | 97.81 ± 6.43 | 95.00 | 12.82 | 107.05 | 9.36 | 106.10 | 6.76 | 99.67 | 7.78 |
|  | 5100 | 5050.78 ± 301.57 | 98.25 | 6.02 | 99.44 | 4.20 | 107.92 ± 12.48 | 106.92 | 7.50 | 92.63 | 7.62 | 96.35 | 9.37 | 93.92 | 10.19 |
|  | 51000 | 45284.64 ± 1520.69 | 88.79 | 3.36 | 91.62 | 4.41 | 96.93 ± 7.22 | 99.10 | 9.04 | 94.47 | 10.24 | 88.28 | 8.51 | 88.15 | 5.61 |
| Tolbutamide | 101 | 111.17 ± 10.87 | 110.07 | 9.78 | 105.36 | 5.68 | 94.25 ± 11.88 | 91.74 | 8.55 | 102.55 | 11.04 | 106.39 | 5.66 | 107.58 | 6.23 |
|  | 5050 | 5276.45 ± 455.26 | 104.48 | 8.63 | 104.44 | 1.07 | 93.36 ± 9.72 | 109.63 | 6.66 | 102.41 | 5.83 | 108.63 | 9.10 | 89.22 | 3.16 |
|  | 101000 | 93179.43 ± 2839.36 | 92.26 | 3.05 | 94.71 | 9.66 | 100.69 ± 10.64 | 93.55 | 7.30 | 104.71 | 9.14 | 92.12 | 9.98 | 93.51 | 10.42 |

8

Table S3. Summary of accuracy, precision, extraction recovery and stability of tofacitinib (Mean ± SD, n = 6).

| Spiked conc. (ng/mL) | Measured conc.(ng/mL) | Intra-day |  | Inter-day |  | Extraction recovery (%) | Stability |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Accuracy (%) | Precision (RSD, %) | Accuracy (%) | Precision (RSD, %) |  | Room temperature (12 h) |  | Auto-sampler (25 ℃, 24 h) |  | Freeze-thaw cycles |  | -20 ℃ (60 days) |  |
|  |  |  |  |  |  |  | Accuracy (%) | Precision (RSD, %) | Accuracy (%) | Precision (RSD, %) | Accuracy (%) | Precision (RSD, %) | Accuracy (%) | Precision (RSD, %) |
| 54.5 | 56.17 ± 1.98 | 103.06 | 3.52 | 104.43 | 1.98 | 101.96 ± 5.95 | 108.48 | 3.22 | 108.50 | 5.94 | 103.15 | 5.22 | 103.74 | 5.53 |
| 1090 | 1087.48 ± 55.63 | 99.77 | 5.12 | 104.97 | 7.62 | 92.72 ± 4.01 | 99.17 | 2.21 | 96.03 | 6.04 | 106.65 | 3.43 | 97.79 | 4.72 |
| 21800 | 21490.31 ± 983.00 | 98.58 | 4.57 | 99.89 | 1.58 | 100.71 ± 2.42 | 95.59 | 5.50 | 99.61 | 2.86 | 99.08 | 4.43 | 100.64 | 5.37 |