Supplementary Materials

The following supplementary materials are provided as separate files with this submission:

Supplementary Table S1. Per-animal procedural timing. Suturing-device operation time, fixation-device operation time, and total procedure duration for each deployed HaloChord® device across the 5 animals, with device counts per animal indicated.

| Animal ID | Endpoint | Devices used | Set 1 time (min) | Set 2 time (min) | Fixation cycle time (min) | Total procedure time |
| --- | --- | --- | --- | --- | --- | --- |
| P-1251-24-770 | 30d | 1 | 11 | Not deployed | 1 | 2 h 50 min |
| P-1257-24-768 | 60d | 2 | 19 | 17 | 4 | 3 h 37 min |
| P-1252-24-771 | 180d | 2 | 11 | 5 | 16 | 3 h |
| P-1250-24-778 | 180d | 2 | 7 | 7 | 3 | 2 h 25 min |
| P-25-236 | 180d | 1 | 7 | Not deployed | 2 | 4 h 10 min |

Supplementary Table S2. Hematology and clinical biochemistry parameters (mean ± SD) across follow-up timepoints. Sample sizes at each timepoint reflect the staged terminal-endpoint design: baseline through 30 days, n = 5; 90 days, n = 4; 180 days, n = 3.

| Parameter | Ref. range | Baseline | Immediate | 30d | 90d | 180d |
| --- | --- | --- | --- | --- | --- | --- |
| Hematology |  |  |  |  |  |  |
| WBC (×10⁹/L) | 10.20-30.00 | 22.74 ± 6.01 | 18.76 ± 5.22 | 17.56 ± 5.21 | 11.69 ± 3.47 | 13.69 ± 2.31 |
| Neu% (%) | 20.0-63.0 | 37.80 ± 6.01 | 40.42 ± 8.91 | 31.06 ± 7.01 | 30.20 ± 7.06 | 33.00 ± 4.25 |
| Lym% (%) | 30.0-70.0 | 55.90 ± 7.12 | 55.66 ± 9.59 | 60.74 ± 8.23 | 63.30 ± 7.41 | 55.83 ± 5.98 |
| Mon% | 1.0-12.0 | 2.50 ± 0.96 | 2.30 ± 1.17 | 3.30 ± 1.53 | 2.45 ± 1.35 | 5.00 ± 0.72 |
| Eos% | 0.0-7.0 | 3.56 ± 0.44 | 1.42 ± 0.42 | 4.70 ± 1.11 | 3.78 ± 0.57 | 5.93 ± 1.90 |
| Bas% | 0.0-2.0 | 0.24 ± 0.11 | 0.20 ± 0.14 | 0.20 ± 0.09 | 0.28 ± 1.10 | 0.23 ± 0.15 |
| RBC (×10¹²/L) | 5.50-9.00 | 6.79 ± 0.67 | 6.33 ± 0.67 | 6.47 ± 0.88 | 6.72 ± 1.64 | 6.13 ± 0.96 |
| HGB (g/L) | 100-160 | 116.80 ± 12.62 | 107.20 ± 6.50 | 107.80 ± 10.83 | 112.50 ± 14.84 | 115.00 ± 16.64 |
| HCT (%) | 33.0-52.0 | 40.78 ± 4.16 | 37.64 ± 2.17 | 37.50 ± 4.21 | 38.58 ± 7.11 | 38.00 ± 5.90 |
| MCV | 51.0-73.0 | 60.18 ± 4.41 | 59.84 ± 4.34 | 58.26 ± 4.34 | 58.20 ± 5.40 | 62.00 ± 2.41 |
| PLT (×10⁹/L) | 200-1000 | 242.60 ± 36.87 | 213.80 ± 23.57 | 305.00 ± 48.37 | 227.00 ± 20.31 | 187.67 ± 23.16 |
| Coagulation |  |  |  |  |  |  |
| TT (s) | 12.00-18.00 | 33.5 ± 4.64 | 7.56 ± 0.61 | 28.16 ± 1.56 | 39.73 ± 24.55 | 29.45 ± 4.92 |
| PT (s) | 10.0-14.0 | 11.10 ± 0.92 | 11.96 ± 0.70 | 11.33 ± 0.84 | 12.70 ± 0.90 | 11.34 ± 0.67 |
| APTT (s) | 22.0-36.0 | 7.78 ± 1.83 | 28.62 ± 19.76 | 9.09 ± 2.34 | 7.06 ± 1.59 | 5.78 ± 1.75 |
| FIB (g/L) | 2.00-4.00 | 2.11 ± 0.50 | 1.85 ± 0.26 | 1.82 ± 0.30 | 1.62 ± 0.38 | 1.76 ± 0.18 |
| INR | 0.80-1.20 | 0.93 ± 0.08 | 0.99 ± 0.05 | 0.95 ± 0.07 | 1.05 ± 0.07 | 0.95 ± 0.05 |
| Biochemistry |  |  |  |  |  |  |
| ALT (U/L) | 0.00-125.04 | 39.48 ± 7.27 | 34.13 ± 7.72 | 45.88 ± 10.01 | 42.04 ± 4.92 | 48.73 ± 8.49 |
| AST (U/L) | 0.00-250.00 | 25.81 ± 3.88 | 32.22 ± 12.55 | 27.85 ± 11.60 | 18.50 ± 5.13 | 23.13 ± 8.81 |
| CREA (μmol/L) | 50.00-210.00 | 144.18 ± 25.90 | 128.09 ± 12.20 | 141.80 ± 35.19 | 180.43 ± 21.22 | 209.05 ± 23.27 |
| UREA (mmol/L) | 2.00-14.07 | 2.29 ± 0.71 | 2.31 ± 0.80 | 2.58 ± 0.82 | 3.14 ± 0.95 | 3.95 ± 0.06 |
| Glu (mmol/L) | 2.50-9.00 | 3.84 ± 0.83 | 4.73 ± 1.34 | 3.89 ± 0.52 | 4.41 ± 0.69 | 3.84 ± 0.63 |
| LDH (U/L) | 250.00-800.00 | 556.64 ± 150.52 | 501.90 ± 98.16 | 418.59 ± 33.91 | 341.51 ± 51.03 | 410.71 ± 16.93 |
| Inflammation |  |  |  |  |  |  |
| CRP (mg/L) | ≤10.00 | 6.40 ± 2.07 | 6.04 ± 1.71 | 10.81 ± 8.47 | 3.10 ± 0.33 | All < threshold |