SUPPLEMENTARY MATERIAL

# Supplementary Table 1. Modified and reference experimental conditions of the established protocol to determine the robustness of multiplex LFD.

| Condition | Reference |  | Modification |  |
| --- | --- | --- | --- | --- |
| LFD |  |  |  |  |
| Deviation in the extraction procedure |  |  |  |  |
| Sample weight (g) | 1 |  | 0.8 | 1.2 |
| Extraction buffer volume (mL) | 9 |  | 8 | 10 |
| Deviation in the assay |  |  |  |  |
| Assay volume (L) | 150 |  | 100 | 300 |
| Assay time (min) | 10 |  | 2 | 5 |

Supplementary Table 2. Data for the non-specific target lines determined in hazelnut, almond and walnut extracts using the naked eye and an objective reader. At least six independent extracts of each nut were analyzed in several replicates.

| Hazelnut test line |  |  | Naked eye |  | Strip reader |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | (µg/g) | N | x |  | x | Mean | SD | POD | LCL | ULC |
| Almond protein | 50 | 10 | 10 |  | 10 | 18.0 | 17.0 | 1.00 | 0.72 | 1.00 |
|  | 10 | 10 | 5 |  | 5 | 4.5 | 4.8 | 0.50 | 0.24 | 0.76 |
|  | 5.0 | 10 | 0 |  | 0 | 1.4 | 1.3 | 0.00 | 0.00 | 0.28 |
|  | 2.0 | 10 | 0 |  | 0 | 1.3 | 1.1 | 0.00 | 0.00 | 0.28 |
|  | 1.0 | 40 | 0 |  | 0 | 0.4 | 0.4 | 0.00 | 0.00 | 0.28 |
|  | 0.1 | 20 | 0 |  | 0 | 0.0 | 0.0 | 0.00 | 0.00 | 0.28 |
| Walnut protein | 50 | 10 | 10 |  | 10 | 8.7 | 5.0 | 1.00 | 0.72 | 1.00 |
|  | 10 | 10 | 0 |  | 0 | 0.4 | 0.6 | 0.00 | 0.00 | 0.28 |
|  | 5.0 | 10 | 0 |  | 0 | 0.6 | 0.5 | 0.00 | 0.00 | 0.28 |
|  | 2.0 | 10 | 0 |  | 0 | 0.5 | 0.8 | 0.00 | 0.00 | 0.28 |
|  | 1.0 | 40 | 0 |  | 0 | 0.3 | 0.2 | 0.00 | 0.00 | 0.09 |
|  | 0.5 | 40 | 0 |  | 0 | 1.0 | 0.5 | 0.00 | 0.00 | 0.09 |
|  | 0.1 | 20 | 0 |  | 0 | 4.0 | 0.3 | 0.00 | 0.00 | 0.16 |
| Almond test line |  |  | Naked eye |  | Strip reader |  |  |  |  |  |
|  | (µg/g) | N | x |  | x | Mean | SD | POD | LCL | ULC |
| Hazelnut protein | 50 | 10 | 0 |  | 0 | 0.9 | 1.1 | 0.00 | 0.00 | 0.28 |
|  | 10 | 10 | 0 |  | 0 | 0.5 | 0.4 | 0.00 | 0.00 | 0.28 |
|  | 5.0 | 10 | 0 |  | 0 | 1.0 | 0.5 | 0.00 | 0.00 | 0.09 |
|  | 2.5 | 40 | 0 |  | 0 | 1.3 | 0.5 | 0.00 | 0.00 | 0.09 |
|  | 1.0 | 40 | 0 |  | 0 | 1.2 | 0.5 | 0.00 | 0.00 | 0.16 |
| Walnut protein | 50 | 10 | 0 |  | 0 | 3.0 | 0.7 | 0.00 | 0.00 | 0.28 |
|  | 10 | 10 | 0 |  | 0 | 0.9 | 0.2 | 0.00 | 0.00 | 0.28 |
|  | 5.0 | 10 | 0 |  | 0 | 0.9 | 0.6 | 0.00 | 0.00 | 0.28 |
|  | 2.0 | 10 | 0 |  | 0 | 0.8 | 0.7 | 0.00 | 0.00 | 0.28 |
|  | 1.0 | 40 | 0 |  | 0 | 1.1 | 0.5 | 0.00 | 0.00 | 0.09 |
|  | 0.5 | 40 | 0 |  | 0 | 0.4 | 0.3 | 0.00 | 0.00 | 0.09 |
|  | 0.1 | 20 | 0 |  | 0 | 1.6 | 0.8 | 0.00 | 0.00 | 0.16 |
| Walnut test line |  |  | Naked eye |  | Strip reader |  |  |  |  |  |
|  | (µg/g) | N | x |  | x | Mean | SD | POD | LCL | ULC |
| Hazelnut protein | 50 | 10 | 0 |  | 0 | 1.9 | 0.7 | 0.00 | 0.00 | 0.28 |
|  | 10 | 10 | 0 |  | 0 | 1.4 | 0.3 | 0.00 | 0.00 | 0.28 |
|  | 5.0 | 40 | 0 |  | 0 | 1.2 | 0.7 | 0.00 | 0.00 | 0.09 |
|  | 2.5 | 40 | 0 |  | 0 | 1.1 | 0.5 | 0.00 | 0.00 | 0.09 |
|  | 1.0 | 20 | 0 |  | 0 | 1.0 | 0.4 | 0.00 | 0.00 | 0.16 |
| Almond protein | 50 | 10 | 0 |  | 0 | 1.3 | 0.5 | 0.00 | 0.00 | 0.28 |
|  | 10 | 10 | 0 |  | 0 | 0.8 | 0.8 | 0.00 | 0.00 | 0.28 |
|  | 5.0 | 10 | 0 |  | 0 | 0.9 | 0.4 | 0.00 | 0.00 | 0.28 |
|  | 2.0 | 10 | 0 |  | 0 | 0.9 | 1.2 | 0.00 | 0.00 | 0.28 |
|  | 1.0 | 40 | 0 |  | 0 | 0.9 | 0.3 | 0.00 | 0.00 | 0.09 |
|  | 0.1 | 20 | 0 |  | 0 | 0.4 | 0.5 | 0.00 | 0.00 | 0.28 |

N: number of replicates assayed. X: number of positive results. POD: Probability of detection (POD). LCL: lower control limit (95% CI).  UCL: upper control limit (95%CI). SD: standard deviation of optical reader signal.

# Hazelnut signal threshold: 4.0, Almond signal threshold: 3.7, Walnut signal threshold:3.1

Supplementary Table 3. Evaluation of the hook effect of the LFD with protein extracts of raw hazelnut, almond, and walnut diluted in buffer extraction. Results from the analysis of two strips from three independent extractions (n=6). The highest concentration for each allergen corresponds to the undiluted extract.

|  | Positive Strip reader (%) |  |  | Strip reader (signal a.u) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Hazelnut protein (mg/g) | Hazelnut TL | Almond TL | Walnut TL | Hazelnut TL | Almond TL | Walnut TL |
| 120 | 0 | 0 | 0 | 1.9 | 2,6 | 1,5 |
| 30.0 | 100 | 16 | 0 | 24.2 | 3.5 | 2,6 |
| 1.2 | 100 | 33 | 0 | 71.3 | 3.8 | 2,8 |
| Almond protein (mg/g) |  |  |  |  |  |  |
| 190 | 0 | 0 | 0 | 0.6 | 3,2 | 2.0 |
| 47.5 | 16 | 100 | 0 | 2.3 | 18.4 | 1,4 |
| 1.9 | 100 | 100 | 0 | 21.4 | 88.2 | 2,0 |
| Walnut protein (mg/g) |  |  |  |  |  |  |
| 149 | 50 | 100 | 100 | 3,2 | 8,9 | 11,2 |
| 35.0 | 100 | 100 | 100 | 8,2 | 30,2 | 40,0 |
| 1.5 | 100 | 100 | 100 | 7,2 | 35,0 | 84,6 |

*a.u.: arbitrary unitsTL: Test line

Hazelnut signal threshold: 4.0, Almond signal threshold: 3.7, Walnut signal threshold:3.1

sp|E3SH28|PRU01_PRUDU       MAK---AFVFSLCLLLVFNGCLAARQS----QLSPQNQCQLNQLQAREPDNRIQAEAGQI	53

tr|Q8W1C2|Q8W1C2_CORAV      MAKLILVS-FSLCLLVLFNGCLGINVGLRRQQQRYFGECNLDRLNALEPTNRIEAEACQI	59

sp|Q2TPW5|JUGR4_JUGRE       MAKPILLSIYLFLIVALFNGCLAQSGGR---QQQQFGQCQLNRLDALEPTNRIEAEAGVI	57

***      : : :: :*****.   .    *    .:*:*::*:* ** ***:***  *

sp|E3SH28|PRU01_PRUDU       ETWNFNQEDFQCAGVAASRITIQRNGLHLPSYSNAPQLIYIVQGRGVLGAVFSGCPETFE	113

tr|Q8W1C2|Q8W1C2_CORAV      ESWDHNDQQFQCAGVAVIRRTIEPNGLLLPQYSNAPELIYIERGRGITGVLFPGCPETFE	119

sp|Q2TPW5|JUGR4_JUGRE       ESWDPNNQQFQCAGVAVVRRTIEPNGLLLPQYSNAPQLVYIARGRGITGVLFPGCPETFE	117

*:*: *:::*******. * **: *** **.*****:*:** :***: *.:* *******

sp|E3SH28|PRU01_PRUDU       ESQQSSQQGRQQEQEQERQQQQQGEQGRQQGQQEQQQERQGRQQGRQQQEEGRQQEQQQG	173

tr|Q8W1C2|Q8W1C2_CORAV      DPQQQSQQGQRQGQGQ--------------------------------------------	135

sp|Q2TPW5|JUGR4_JUGRE       ESQRQSQQGQ--------------------------------------------------	127

: *:.****:

sp|E3SH28|PRU01_PRUDU       QQGRPQQQQQFRQFDRHQKTRRIREGDVVAIPAGVAYWSYNDGDQELVAVNLFHVSSDHN	233

tr|Q8W1C2|Q8W1C2_CORAV      --------SQRSEQDRHQKIRHFREGDIIALPAGVAHWCYNDGDSPVVTVSLLHTNNYAN	187

sp|Q2TPW5|JUGR4_JUGRE       --------SREFQQDRHQKIRHFREGDIIAFPAGVAHWSYNDGSNPVVAISLLDTNNNAN	179

.:  : ***** *::****::*:*****:*.****.. :*::.*:....  *

sp|E3SH28|PRU01_PRUDU       QLDQNPRKFYLAGNPENEFNQQGQSQPRQQGEQGRPGQHQQPFGRPRQQEQQGSGNNVFS	293

tr|Q8W1C2|Q8W1C2_CORAV      QLDENPRHFYLAGNPDDEHQRQGQQQFGQRRRQQ---QHS-HG-EQGEQEQQGEGNNVFS	242

sp|Q2TPW5|JUGR4_JUGRE       QLDQNPRNFYLAGNPDDEFRPQGQQEYEQHRRQQ---QRQ-QRPGEHGQQQRGLGNNVFS	235

***:***:*******::*.. ***.:  *: .*    *:.        *:*:* ******

sp|E3SH28|PRU01_PRUDU       GFNTQLLAQALNVNEETARNLQGQNDNRNQIIRVRGN-LDFVQPPRGRQEREHEERQQ--	350

tr|Q8W1C2|Q8W1C2_CORAV      GFDAEFLADAFNVDVDTARRLQSNQDKRRNIVKVEGR-LQVVRPERSRQEWERQERQERE	301

sp|Q2TPW5|JUGR4_JUGRE       GFDADFLADAFNVDTETARRLQSENDHRRSIVRVEGRQLQVIRPRWSREEQEREERKERE	295

**::::**:*:**: :***.**.::*:*..*::*.*. *:.::*  .*:* *::**::

sp|E3SH28|PRU01_PRUDU       ---EQLQQERQQQGGQLMANGLEETFCSLRLKENIGNPERADIFSPRAGRISTLNSHNLP	407

tr|Q8W1C2|Q8W1C2_CORAV      SEQERERQRRQG-GRGRDVNGFEETICSLRLRENICTRSRADIYTEQVGRINTVNSNTLP	360

sp|Q2TPW5|JUGR4_JUGRE       RERESESERRQSRRGGRDDNGLEETICTLRLRENIGDPSRADIYTEEAGRISTVNSHTLP	355

*   :.**        **:***:*:***:***   .****:: ..***.*:**:.**

sp|E3SH28|PRU01_PRUDU       ILRFLRLSAERGFFYRNGIYSPHWNVNAHSVVYVIRGNARVQVVNENGDAILDQEVQQGQ	467

tr|Q8W1C2|Q8W1C2_CORAV      VLRWLQLSAERGDLQREGLYVPHWNLNAHSVVYAIRGRARVQVVDDNGNTVFDDELRQGQ	420

sp|Q2TPW5|JUGR4_JUGRE       VLRWLQLSAERGALYSDALYVPHWNLNAHSVVYALRGRAEVQVVDNFGQTVFDDELREGQ	415

:**:*:****** :  :.:* ****:*******.:**.*.****:: *::::*:*:::**

sp|E3SH28|PRU01_PRUDU       LFIVPQNHGVIQQAGNQGFEYFAFKTEENAFINTLAGRTSFLRALPDEVLANAYQISREQ	527

tr|Q8W1C2|Q8W1C2_CORAV      VLTIPQNFAVAKRAESEGFEWVAFKTNDNAQISPLAGRTSAIRALPDDVLANAFQISREE	480

sp|Q2TPW5|JUGR4_JUGRE       LLTIPQNFAVVKRARNEGFEWVSFKTNENAMVSPLAGRTSAIRALPEEVLATAFQIPRED	475

:: :***..* ::* .:***:.:***::** :. ****** :****::***.*:** **:

sp|E3SH28|PRU01_PRUDU       ARQLKYNRQETIALSSSQQRRAVV-----------	551

tr|Q8W1C2|Q8W1C2_CORAV      ARRLKYNRQETTLVRSSRSSSERKRRSESEGRAEA	515

sp|Q2TPW5|JUGR4_JUGRE       ARRLKFNRQESTLVRSRPSRSRSS---RSERRAEV	507

**:**:****:  : *  .

Supplementary Figure 1. Sequence (UniProt: https://www.uniprot.org/) alignment of Pru du 6 (E3SH28), Jug r 4 (Q8W1C2) and Cor a 9 (Q8W1C2) with Clustal Omega (1.2.4) (https://www.ebi.ac.uk/jdispatcher/msa/clustalo).  (* = identical residues; * = highly conserved substitutions: = weakly conserved substitutions; gap = non-conserved positions).

Supplementary Figure 2. 3D Alignment of the predicted structures of the 11S proteins of almond, hazelnut and walnut from three different three-dimensional perspectives (A, B, C) with the software Chimera X1.10.01.  Pru du 6 (AF-E3SH28--F1-model_v6.pdb)  Cor a 9 (AF-Q8W1C2-F1- model_v6.pdb)  Jug r 4 (AF-Q2TPW5-F1-model_v6.pdb) from alpha fold.

CLUSTAL O(1.2.4) multiple sequence alignment

tr|Q8H2B9|Q8H2B9_PRUDU      ---MKVVAAYLLAVLG-GN-----TT----PSAEDLKDILGSVGAETDD--DRI------	39

tr|D0PWG2|D0PWG2_CORAV      MARLATLAALFAALLLVAHAAAFRTTITTVDVDEDIVNQQGRRGESCREQAQRQQNLNQC	60

sp|P93198|2SS_JUGRE         -------AALLVALLFVANAAAFRTTITTMEIDEDIDN-PRRRGEGCREQIQRQQNLNHC	52

** : *:*  .:     **       **: :     *    :  :*

tr|Q8H2B9|Q8H2B9_PRUDU      -------------------------------------------------QLLLSEVKGKD	50

tr|D0PWG2|D0PWG2_CORAV      QRYMRQQSQYGSYDGSNQQQQQELEQCCQQLRQMDERCRCEGLRQAVMQ--QQGEMRGEE	118

sp|P93198|2SS_JUGRE         QYYLRQQSRSGGYDEDNQ--RQHFRQCCQQLSQMDEQCQCEGLRQVVRRQQQQQGLRGEE	110

::*::

tr|Q8H2B9|Q8H2B9_PRUDU      ITELIASGREKLASVPSGGGAVAVAAPGAGAGAAAPAAAEPKKEEKVEEKEDTDDDMGFS	110

tr|D0PWG2|D0PWG2_CORAV      MREVMETARD------------------------------------------LPNQCRLS	136

sp|P93198|2SS_JUGRE         MEEMVQSARD------------------------------------------LPNECGIS	128

: *:: :.*:                                            ::  :*

tr|Q8H2B9|Q8H2B9_PRUDU      LFD--------	113

tr|D0PWG2|D0PWG2_CORAV      PQRCEIRSARF	147

sp|P93198|2SS_JUGRE         SQRCEIRRSWF	139

Supplementary Figure 3. Sequence (UniProt: https://www.uniprot.org/) alignment of Cor a 14 (D0PWG2), Pru du 5 (Q8H2B9) and Jug r 1 (P93198) with Clustal Omega (https://www.ebi.ac.uk/jdispatcher/msa/clustalo).  (* = identical residues;* = highly conserved substitutions; : = weakly conserved substitutions; gap = non-conserved positions).

Supplementary Figure 4. 3D Alignment of the different predicted structures of the 2S proteins of almond, hazelnut and walnut from three different three-dimensional perspectives with the software Chimera X1.10.01 (A, B, C).  Pru du 5 (AF-E3SH28--F1-model_v6.pdb)  Cor a 14 (AF-Q8W1C2-F1- model_v6.pdb)  Jug r 1 (AF-Q2TPW5-F1-model_v6.pdb) from alpha fold.

Supplementary Table 4. Results of the robustness determination of multiplex LFD at 1 µg/g of walnut and almond protein and 5 µg/g of hazelnut protein spiked in herb liquor. Effect of the deviations in the protocol on the sensitivity of the test.

| Deviations in the extraction procedure |  |  |  |
| --- | --- | --- | --- |
| Sample portion (g) |  |  |  |
|  | 0.8 (n= 2) | 1 (n=2) | 1.2 (n=2) |
| 5µg/g Hazelnut protein | P | P | P |
| 1µg/g Almond protein | P | P | P |
| 1µg/g walnut protein | P | P | P |
| Extraction buffer volume (mL) |  |  |  |
|  | 9 (n= 2) | 10 (n= 2) | 11 (n= 2) |
| 5µg/g Hazelnut protein | P | P | P |
| 1µg/g Almond protein | P | P | P |
| 1µg/g walnut protein | P | P | P |
| Deviations in the analysis procedure |  |  |  |
| Assay volume (mL) |  |  |  |
|  | 0.10 (n= 2) | 0.15 (n= 2) | 0.20 (n= 2) |
| 5µg/g Hazelnut protein | P | P | P |
| 1µg/g Almond protein | P | P | P |
| 1µg/g walnut protein | P | P | P |
| Assay time (min) |  |  |  |
|  | 2 (n=2) | 5 (n=2) | 10 (n=2) |
| 5µg/g Hazelnut protein | N | N | P |
| 1µg/g Almond protein | N | P | P |
| 1µg/g walnut protein | N | P | P |

n: number of independent extractions, N: negative, P: positive