Supplementary Table 1. Parameters measured during LIT.

| Name | Units | Description |
| --- | --- | --- |
| ICP_baseline | mmHg | Mean ICP over a 30-60 s stable period prior to infusion, representing baseline intracranial pressure. |
| ICP_plateau | mmHg | Mean ICP over a 30-60 s stable plateau period at the end of infusion. |
| ICP_delta | mmHg | Difference between plateau and baseline ICP (ICP_plateau − ICP_baseline). |
| T_plateau | Minutes | Time from infusion start to attainment of a stable ICP plateau. |
| T_recovery | Minutes | Time from cessation of infusion to return of ICP to a stable near baseline pressure. |
| Infusion_AUC | mmHg·min | Area under the ICP curve above baseline during infusion, representing cumulative pressure load. |
| Apparent Rout | mmHg·min/ml | Resistance to CSF outflow, calculated as (ICP_plateau − ICP_baseline) / infusion rate (Q). |
| V_delta | ml | Total infused volume of liquid required to reach plateau (V_delta = Q × T_plateau). |
| Compliance | ml/mmHg | Volume change per unit pressure increase, calculated as V_delta / (ICP_plateau − ICP_baseline). |
| PVI (Pressure Volume Index) | ml | The volume change required to produce a tenfold increase in ICP. Calculated using the Marmarou approximation: V_delta / log₁₀(ICP_plateau / ICP_baseline). |
| Elastance_index | - | A measure of system stiffness. Calculated as: ln(ICP_plateau / ICP_baseline) / V_delta. |
| AMP_ICP_MEAN | mmHg | Mean amplitude of beat-to-beat ICP pulsations calculated individually for baseline, plateau and recovery. |
| AMP_ICP_STD | mmHg | Standard deviation of beat-to-beat ICP pulse amplitudes calculated individually for baseline, plateau and recovery. |
| RAP | - | The correlation coefficient between mean ICP and AMP (amplitude). It is commonly used as an index of compensatory reserve and pressure-amplitude coupling. Calculated individually for each phase (baseline, plateau, recovery) as the median moving correlation between pulse amplitude and mean ICP (30 s window, 2 s step). |
| RAP_GLOBAL | - | Global correlation between pulse amplitude and mean ICP over each phase (baseline, plateau, recovery). The measurement was only done if the recording had at least 30 s in the specific phase. |
| POWER_SLOW_ABS | mmHg2 | Absolute spectral power of ICP in the 0.005–0.05 Hz band, reflecting slow vasogenic oscillations (B-waves). Calculated individually during baseline, infusion, plateau, recovery. |
| F_PEAK_SLOW | Hz | The dominant frequency within the 0.005–0.05 Hz band, representing the main rhythm of slow wave oscillations. Calculated individually for baseline, infusion, plateau, recovery. |
| SWI (Slow Wave Instability Index) | - | Ratio of power in the 0.005–0.05 Hz band to total power (0.005–0.5 Hz), representing relative slow-wave dominance. Calculated individually for baseline, infusion, plateau, recovery. |
| Infusion_slope_rise | [mmHg/min] | Rate of ICP increase from infusion start to plateau, estimated by linear regression. |
| Hysteresis_area | - | Area between pressure–amplitude curves during infusion and recovery, representing hysteresis in the pressure–volume relationship. |
| Artefact_burden | [%] | Percentage of recording identified as artefact within the central valid segment. |

Supplementary Table 2. Associations of age, BMI, and sex with selected LIT-derived parameters.

| Parameter | Effect estimate | p value | BH-adjusted p value |
| --- | --- | --- | --- |
| Age — Spearman rank correlation (ρ) |  |  |  |
| Baseline ICP, mmHg | 0.332 | 0.141 | 0.805 |
| Plateau ICP, mmHg | 0.276 | 0.226 | 0.805 |
| ICP delta, mmHg | 0.010 | 0.967 | 0.987 |
| Time to plateau, min | −0.265 | 0.245 | 0.805 |
| Infusion AUC, mmHg·min | −0.269 | 0.238 | 0.805 |
| Apparent Rout, mmHg·min/ml | 0.010 | 0.967 | 0.987 |
| Compliance, ml/mmHg | −0.248 | 0.293 | 0.805 |
| PVI, ml | −0.197 | 0.405 | 0.891 |
| Elastance index | 0.144 | 0.532 | 0.937 |
| Infusion slope, mmHg/min | 0.413 | 0.063 | 0.805 |
| AMP baseline, mmHg | 0.004 | 0.987 | 0.987 |
| AMP plateau, mmHg | 0.162 | 0.484 | 0.937 |
| RAP baseline | 0.125 | 0.590 | 0.937 |
| RAP plateau | 0.243 | 0.288 | 0.805 |
| BMI — Spearman rank correlation (ρ) |  |  |  |
| Baseline ICP, mmHg | 0.453 | 0.039 | 0.579 |
| Plateau ICP, mmHg | 0.058 | 0.801 | 1.000 |
| ICP delta, mmHg | −0.322 | 0.154 | 0.579 |
| Time to plateau, min | −0.370 | 0.099 | 0.579 |
| Infusion AUC, mmHg·min | −0.319 | 0.158 | 0.579 |
| Apparent Rout, mmHg·min/ml | −0.322 | 0.154 | 0.579 |
| Compliance, ml/mmHg | −0.035 | 0.885 | 1.000 |
| PVI, ml | −0.006 | 0.980 | 1.000 |
| Elastance index | −0.074 | 0.751 | 1.000 |
| Infusion slope, mmHg/min | −0.027 | 0.907 | 1.000 |
| AMP baseline, mmHg | 0.036 | 0.876 | 1.000 |
| AMP plateau, mmHg | −0.177 | 0.444 | 0.976 |
| RAP baseline | −0.185 | 0.421 | 0.976 |
| RAP plateau | 0.266 | 0.244 | 0.728 |
| Sex — Wilcoxon location-shift estimate (male minus female) |  |  |  |
| Baseline ICP, mmHg | 4.210 | 0.303 | 0.952 |
| Plateau ICP, mmHg | 6.730 | 0.110 | 0.557 |
| ICP delta, mmHg | 4.055 | 0.127 | 0.557 |
| Time to plateau, min | −0.670 | 0.568 | 0.995 |
| Infusion AUC, mmHg·min | 9.305 | 0.696 | 0.995 |
| Apparent Rout, mmHg·min/ml | 2.705 | 0.127 | 0.557 |
| Compliance, ml/mmHg | −0.200 | 0.649 | 0.995 |
| PVI, ml | −0.180 | 0.939 | 1.000 |
| Elastance index | −0.005 | 0.748 | 0.995 |
| Infusion slope, mmHg/min | −0.430 | 1.000 | 1.000 |
| AMP baseline, mmHg | 0.525 | 0.804 | 0.995 |
| AMP plateau, mmHg | 0.295 | 0.859 | 0.995 |
| RAP baseline | 0.055 | 0.670 | 0.995 |
| RAP plateau | −0.240 | 0.064 | 0.557 |

Associations with age and BMI were evaluated using Spearman rank correlation, with effect estimates reported as Spearman’s ρ. Differences according to sex were evaluated using the Wilcoxon rank-sum test, with location-shift estimates expressed as male minus female. P values were adjusted for multiple testing separately within each demographic predictor using the Benjamini–Hochberg method. BMI showed a nominal positive association with baseline ICP, but no association with age, BMI, or sex remained statistically significant after correction for multiple testing. Abbreviations: AMP, pulse amplitude; BMI, body mass index; ICP, intracranial pressure; LIT, lumbar infusion testing; PVI, pressure-volume index; RAP, correlation coefficient between mean ICP and pulse amplitude; Rout, resistance to CSF outflow.

Supplementary Table 3. LIT-derived parameters according to radiological venous sinus stenosis status.

| Parameter | No sinus stenosis, median [IQR] | Sinus stenosis, median [IQR] | p value | BH-adjusted p value |
| --- | --- | --- | --- | --- |
| Baseline ICP, mmHg | 17.18 [12.89–21.85] | 22.69 [16.96–26.55] | 0.073 | 0.447 |
| Plateau ICP, mmHg | 27.31 [25.15–37.44] | 33.89 [31.13–35.19] | 0.307 | 0.909 |
| ICP delta, mmHg | 12.41 [9.65–15.42] | 12.68 [8.25–16.29] | 0.916 | 0.968 |
| Time to plateau, min | 6.33 [6.00–6.75] | 3.50 [2.50–5.75] | 0.071 | 0.447 |
| Infusion AUC, mmHg·min | 110.58 [89.50–141.86] | 121.75 [70.32–167.59] | 0.699 | 0.909 |
| Infused volume to plateau, ml | 9.50 [9.00–10.12] | 5.25 [3.75–8.62] | 0.071 | 0.447 |
| Apparent Rout, mmHg·min/ml | 8.27 [6.43–10.28] | 8.46 [5.50–10.86] | 0.916 | 0.968 |
| Compliance, ml/mmHg | 0.71 [0.58–1.11] | 0.40 [0.32–0.90] | 0.427 | 0.909 |
| PVI, ml | 42.30 [26.66–52.93] | 30.04 [16.17–63.38] | 0.571 | 0.909 |
| Elastance index | 0.05 [0.04–0.08] | 0.08 [0.04–0.14] | 0.377 | 0.909 |
| Infusion slope, mmHg/min | 0.92 [0.77–2.00] | 1.59 [1.06–1.95] | 0.647 | 0.909 |
| AMP baseline, mmHg | 1.84 [1.61–2.70] | 2.50 [1.75–2.82] | 0.597 | 0.909 |
| AMP plateau, mmHg | 4.58 [3.33–5.58] | 3.66 [2.20–5.64] | 0.699 | 0.909 |
| RAP baseline | 0.07 [−0.01–0.20] | 0.06 [0.00–0.09] | 0.647 | 0.909 |
| RAP plateau | 0.18 [0.06–0.38] | 0.07 [0.02–0.14] | 0.192 | 0.890 |

Continuous variables are presented as median and interquartile range and were compared using the Wilcoxon rank-sum test. P values were adjusted for multiple testing using the Benjamini–Hochberg method. No LIT-derived parameter differed significantly according to venous sinus stenosis status after correction for multiple testing. Abbreviations: AMP, pulse amplitude; ICP, intracranial pressure; LIT, lumbar infusion testing; PVI, pressure-volume index; RAP, correlation coefficient between mean ICP and pulse amplitude; Rout, resistance to CSF outflow.

Supplementary Table 4. LIT-derived parameters according to general anesthesia status.

| Parameter | No general anesthesia, median [IQR] | General anesthesia, median [IQR] | p value | BH-adjusted p value |
| --- | --- | --- | --- | --- |
| Baseline ICP, mmHg | 16.82 [14.79–22.55] | 21.85 [16.79–24.96] | 0.303 | 0.545 |
| Plateau ICP, mmHg | 30.86 [24.46–45.97] | 33.45 [29.86–34.74] | 0.859 | 0.928 |
| ICP delta, mmHg | 13.99 [10.76–20.07] | 12.38 [8.39–15.82] | 0.374 | 0.545 |
| Time to plateau, min | 6.50 [2.33–7.00] | 5.50 [3.00–6.04] | 0.354 | 0.545 |
| Infusion AUC, mmHg·min | 137.07 [106.42–157.37] | 92.54 [64.04–140.44] | 0.189 | 0.465 |
| Apparent Rout, mmHg·min/ml | 9.33 [7.17–13.38] | 8.25 [5.59–10.54] | 0.374 | 0.545 |
| Compliance, ml/mmHg | 0.45 [0.31–1.12] | 0.65 [0.46–1.04] | 0.595 | 0.734 |
| PVI, ml | 26.46 [19.77–43.68] | 40.91 [23.96–65.50] | 0.323 | 0.545 |
| Elastance index | 0.09 [0.05–0.12] | 0.06 [0.03–0.09] | 0.239 | 0.526 |
| Infusion slope, mmHg/min | 1.95 [1.67–2.20] | 0.94 [0.64–1.62] | 0.082 | 0.356 |
| AMP baseline, mmHg | 1.84 [1.12–2.48] | 2.59 [1.81–3.89] | 0.060 | 0.356 |
| AMP SD plateau, mmHg | 0.58 [0.45–1.03] | 0.35 [0.24–0.43] | 0.023 | 0.212 |
| RAP baseline | 0.07 [0.01–0.09] | 0.04 [−0.04–0.20] | 0.887 | 0.928 |
| RAP plateau | 0.21 [0.04–0.46] | 0.10 [0.05–0.16] | 0.434 | 0.574 |
| Slow-wave power infusion, mmHg² | 190.93 [141.79–437.02] | 52.01 [23.44–86.00] | 0.012 | 0.145 |
| Slow-wave power plateau, mmHg² | 334.37 [208.75–571.00] | 39.70 [22.06–55.37] | 0.004 | 0.081 |
| Peak slow-wave frequency plateau, Hz | 0.02 [0.02–0.02] | 0.02 [0.02–0.02] | 0.942 | 0.942 |
| SWI plateau | 0.31 [0.26–0.38] | 0.11 [0.07–0.15] | 0.003 | 0.081 |

Continuous variables are presented as median and interquartile range and were compared using the Wilcoxon rank-sum test. P values were adjusted for multiple testing using the Benjamini–Hochberg method. Several pulsatility and slow-wave measures showed differences at the unadjusted level, but none remained statistically significant after correction for multiple testing. Abbreviations: AMP, pulse amplitude; GA, general anesthesia; ICP, intracranial pressure; LIT, lumbar infusion testing; PVI, pressure-volume index; RAP, correlation coefficient between mean ICP and pulse amplitude; Rout, resistance to CSF outflow; SWI, slow-wave instability index.

Supplementary Table 5. LIT-derived parameters according to acetazolamide exposure before LIT.

| Parameter | No acetazolamide pre-LIT, median [IQR] | Acetazolamide pre-LIT, median [IQR] | p value | BH-adjusted p value |
| --- | --- | --- | --- | --- |
| Baseline ICP, mmHg | 17.80 [13.11–23.03] | 19.69 [16.55–23.85] | 0.560 | 0.987 |
| Plateau ICP, mmHg | 30.77 [24.51–37.15] | 32.99 [27.31–34.52] | 0.893 | 1.000 |
| ICP delta, mmHg | 10.67 [8.79–14.43] | 13.76 [8.54–16.52] | 0.893 | 1.000 |
| Time to plateau, min | 6.50 [5.04–8.04] | 6.00 [3.00–6.33] | 0.418 | 0.987 |
| Infusion AUC, mmHg·min | 92.67 [63.83–116.27] | 137.07 [79.77–157.37] | 0.263 | 0.987 |
| Apparent Rout, mmHg·min/ml | 7.11 [5.86–9.62] | 9.17 [5.69–11.01] | 0.893 | 1.000 |
| Compliance, ml/mmHg | 1.13 [0.80–1.27] | 0.56 [0.33–0.82] | 0.422 | 0.987 |
| PVI, ml | 51.77 [35.59–62.72] | 33.33 [20.45–48.46] | 0.539 | 0.987 |
| Elastance index | 0.04 [0.04–0.09] | 0.06 [0.04–0.11] | 0.686 | 1.000 |
| Infusion slope, mmHg/min | 0.90 [0.80–2.65] | 1.67 [0.88–1.96] | 0.754 | 1.000 |
| AMP baseline, mmHg | 2.71 [1.46–5.25] | 2.33 [1.57–2.78] | 0.823 | 1.000 |
| AMP SD plateau, mmHg | 0.29 [0.28–0.36] | 0.45 [0.31–0.58] | 0.370 | 0.987 |
| RAP baseline | 0.21 [0.14–0.24] | 0.06 [−0.04–0.09] | 0.117 | 0.987 |
| RAP plateau | 0.20 [0.18–0.24] | 0.08 [0.04–0.21] | 0.165 | 0.987 |
| Slow-wave power infusion, mmHg² | 73.97 [15.44–217.76] | 89.10 [45.82–190.93] | 0.516 | 0.987 |
| Slow-wave power plateau, mmHg² | 18.32 [16.04–171.10] | 55.37 [44.73–281.73] | 0.288 | 0.987 |
| Peak slow-wave frequency plateau, Hz | 0.02 [0.02–0.02] | 0.02 [0.02–0.02] | 0.186 | 0.987 |
| SWI plateau | 0.11 [0.08–0.20] | 0.15 [0.11–0.31] | 0.458 | 0.987 |

Continuous variables are presented as median and interquartile range and were compared using the Wilcoxon rank-sum test. P values were adjusted for multiple testing using the Benjamini–Hochberg method. No LIT-derived parameter differed significantly according to acetazolamide exposure before LIT. Abbreviations: AMP, pulse amplitude; ICP, intracranial pressure; LIT, lumbar infusion testing; PVI, pressure-volume index; RAP, correlation coefficient between mean ICP and pulse amplitude; Rout, resistance to CSF outflow; SWI, slow-wave instability index.