Figure S1. Positive cut-off determination for the RPA-CRISPR-Cas12a fluorescence system. Fluorescence intensities of 10 PCR-confirmed negative clinical samples and one positive control (UU plasmid) at 15 minutes after the CRISPR–Cas12a reaction.

Figure S2. Sensitivity of the RPA-CRISPR-Cas12a Fluorescence System. Fluorescence signals from serial dilutions of the UU recombinant plasmid ranging from 1 to 6,570 copies/μL. The limit of detection (LOD) of the fluorescence system was determined to be 3 copies/μL.

Figure S3. Specificity of the RPA-CRISPR-Cas12a fluorescence system. Fluorescence curves of UU and non-target pathogens. Only UU (green curve) exhibited a distinct positive amplification signal, while all other pathogens produced only background fluorescence below the cut-off.