Table S2 SYBR Green and TaqMan qPCR conditions

| cycle(s) |  |  | 1X | 40X | melting curve |
| --- | --- | --- | --- | --- | --- |
| SYBR Green system |  |  |  |  |  |
| Gradient PCR |  |  | 95oC for 3min | 95oC for 10 sec, 55-65oC for 30 sec | 65oC to 95oC, 0.5oC per 5 sec |
| General PCR |  |  | 95oC for 3min | 95oC for 10 sec, 63oC for 30 sec | na |
| TaqMan system |  |  |  |  |  |
| Gradient PCR |  |  | 50oC for 2 min, 95oC for 10 min | 95oC for 20 sec, 55-65oC for 30 sec | na |
| General PCR |  |  | 50oC for 2 min, 95oC for 10 min | 95oC for 20 sec, 63 or 65oCa for 30 sec | na |

a The temperature 63oC was used in TaqMan PCR assay with PrA-LNA and PrA-MGB probes. The temperature 65oC was used in TaqMan PCR assay with PrB-LNA probe.