Table S2 SYBR Green and TaqMan qPCR conditions
	cycle(s)
	
	1X
	40X
	melting curve

	SYBR Green system
	
	
	

	Gradient PCR
	
	95oC for 3min
	95oC for 10 sec, 55-65oC for 30 sec
	65oC to 95oC, 0.5oC per 5 sec

	General PCR
	
	95oC for 3min
	95oC for 10 sec, 63oC for 30 sec
	　na

	TaqMan system
	
	
	
	

	Gradient PCR
	
	50oC for 2 min, 95oC for 10 min
	95oC for 20 sec, 55-65oC for 30 sec
	na

	General PCR
	
	50oC for 2 min, 95oC for 10 min
	95oC for 20 sec, 63 or 65oCa for 30 sec
	　na


[bookmark: _GoBack]a The temperature 63oC was used in TaqMan PCR assay with PrA-LNA and PrA-MGB probes. The temperature 65oC was used in TaqMan PCR assay with PrB-LNA probe.

