SUPPLEMENT 1

Echocardiographic and cardiac magnetic resonance protocol

Transthoracic echocardiography (TTE) was conducted using a Vivid 9 ultrasound system (GE Healthcare, Wisconsin, USA) by a board-certified cardiologist. Cardiac dimensions, left ventricular (LV) ejection fraction (EF), and valvular morphology were measured. Dimensions were taken from parasternal long-axis (LA) views, and LVEF was calculated using the biplane Simpson’s method. Diastolic function was assessed by calculating the ratio of early transmitral flow velocity (E wave) to the average early diastolic mitral annular velocity from lateral and septal walls (E/e′ ratio) [1].

Cardiac magnetic resonance (CMR)

CMR was performed on a 1.5 Tesla scanner (Ingenia, Philips Medical Systems, Best, The Netherlands) following a standardized protocol. The system was equipped with 5-element posterior and 32-element anterior phased-array coils, allowing parallel acquisition with repeated breath-holds in the supine position. Functional imaging included balanced turbo field echo cine sequences in two-, four-chamber, LV outflow tract LA, and short-axis (SAX) planes.

Typical acquisition parameters included a field of view of 320 × 280 mm, reconstruction matrix of 256, slice thickness of 8 mm, voxel size of 1.7 × 1.7 × 8.0 mm, repetition time of approximately 3.2 ms, echo time of approximately 1.6 ms, and SENSE factor 1.7.

Late gadolinium enhancement (LGE) imaging was performed 10 minutes after intravenous administration of 0.2 mmol/kg gadobutrol (Gadovist; Bayer-Schering Pharma, Germany) using an inversion-recovery turbo field echo (IR-TFE) sequence. If necessary, phase-sensitive inversion recovery sequences were used for improved contrast. Both two- and three-dimensional images were acquired in mid-diastole. Typical IR-TFE parameters included a field of view of 320 × 320 mm, matrix size 288, voxel size 1.6 × 1.7 × 10 mm, repetition time approximately 4.1 ms, echo time approximately 1.2 ms, and SENSE factor 2.5.

LGE presence was semi-quantitatively analyzed using the American Heart Association 17-segment model[2] in IntelliSpace Portal (version 11, Philips Healthcare). LGE was considered present if visual enhancement exceeded the mean signal intensity of a reference remote myocardium segment.

LV function and morphology were assessed from SAX images by the summation-of-discs method following Society for CMR guidelines[3]. Wall motion abnormalities were qualitatively evaluated by an experienced cardiologist and radiologist.

Septal and lateral mitral annular plane systolic excursion (MAPSE) was measured as previously described[4,5]. This involved defining the end-diastolic and end-systolic mitral annular planes on the long-axis four-chamber view. The average MAPSE was calculated as the mean of septal and lateral values.

Abbrevations:

CMR - Cardiac magnetic resonance

EF - Ejection fraction

IR-TFE - Inversion-recovery turbo field echo

LA – Long axis

LGE - Late gadolinium enhancement

LV - Left ventricular

MAPSE - Mitral annular plane systolic excursion

TTE - Transthoracic echocardiography

References:

1.	Nagueh SF, Appleton CP, Gillebert TC, Marino PN, Oh JK, Smiseth OA, et al. Recommendations for the Evaluation of Left Ventricular Diastolic Function by Echocardiography. Eur J Echocardiogr. 2009 Mar 1;10(2):165–93. doi:10.1093/ejechocard/jep007

2.	Cerqueira MD, Weissman NJ, Dilsizian V, Jacobs AK, Kaul S, Laskey WK, et al. Standardized myocardial segmentation and nomenclature for tomographic imaging of the heart. A statement for healthcare professionals from the Cardiac Imaging Committee of the Council on Clinical Cardiology of the American Heart Association. Circulation. 2002 Jan 29;105(4):539–42. doi:10.1161/hc0402.102975 PubMed PMID: 11815441.

3.	Schulz-Menger J, Bluemke DA, Bremerich J, Flamm SD, Fogel MA, Friedrich MG, et al. Standardized image interpretation and post-processing in cardiovascular magnetic resonance - 2020 update. J Cardiovasc Magn Reson. 2020 Mar 12;22(1):19. doi:10.1186/s12968-020-00610-6

4.	Florian A, Ludwig A, Engelen M, Waltenberger J, Rösch S, Sechtem U, et al. Left ventricular systolic function and the pattern of late-gadolinium-enhancement independently and additively predict adverse cardiac events in muscular dystrophy patients. J Cardiovasc Magn Reson. 2014 Sep 25;16(1):81. doi:10.1186/s12968-014-0081-1 PubMed PMID: 25315351; PubMed Central PMCID: PMC4176580.

5.	Puchalski MD, Williams RV, Askovich B, Sower CT, Hor KH, Su JT, et al. Late Gadolinium Enhancement: Precursor to Cardiomyopathy in Duchenne Muscular Dystrophy? Int J Cardiovasc Imaging. 2009 Jan;25(1):57–63. doi:10.1007/s10554-008-9352-y PubMed PMID: 18686011; PubMed Central PMCID: PMC2746925.