Table 3: Solution-based BCIP/NBT activity confirmation protocol and results

| Sample | Sample volume | BCIP/NBT red solution volume | Buffer volume (200mM Tris-HCl, 8.5 pH) | Total reaction volume | Observed result | Color intensity grade | Interpretation (active ALP present) | Pictorial representation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Blank No enzyme | 100µl | 100µl | 2.3 ml | 2.5 ml | No color (color of substrate remain same) | Grade 0 | Negative control –no background reaction |  |
| CPP (crude) | 100µl | 100µl | 2.3 ml | 2.5 ml | Blue -purple coloration (strong/ intense | Grade 1 | Yes – high activity (multiple Isoforms) |  |
| MWOCT | 100µl | 100µl | 2.3 ml | 2.5 ml | Blue –purple coloration (very intense) | Grade 2 | Yes – highest activity retention (enriched) |  |
| AELXD load | 100µl | 100µl | 2.3 ml | 2.5 ml | Blue purple coloration (moderate) | Grade 1 | Yes- activity retained after dilution |  |
| AEET.1 | 100µl | 100µl | 2.3 ml | 2.5 ml | Blue purple coloration- (moderate) | Grade 1 | Yes – active ALP present (partial purification) |  |
| AEET.2 | 100µl | 100µl | 2.3 ml | 2.5 ml | Blue purple coloration (strong-moderate) | Grade 3 | Yes- active ALP present (purest fraction) |  |