Supplementary table 1: MRI specified safety conditions for the HiRes™ Ultra 3D CI with a self-aligning diametric magnet, and the subsequent five a HiRes 90K™ CI with an axial magnet at 1.5T

| Implant | Spatial gradient field (T/m) | Maximum head SAR (W/kg) | Maximum body SAR(W/kg) |
| --- | --- | --- | --- |
| HiRes™ Ultra 3D CI | 20 | ≤3.2 | ≤2 |
| HiRes 90K™ CI | 2.5 | ≤1 | ≤1.7 |