Health Risk Assessment of Toxic Metal Accumulation in Pleurotus ostreatus Cultivated on Agricultural Residues Amended with Calcium Carbonate

## Mudasiru A. Amusat1, Adijat O. Atayese2,3, Oluwaseyi Z. Ojekunle1, Adewale M. Taiwo1,

### Department of Environmental Management and Toxicology, Federal University of Agriculture, PMB 2240, Abeokuta, Ogun State, Nigeria

- Centre of Excellence in Agricultural Development and Sustainable Environment, Federal University of Agriculture, PMB 2240, Abeokuta, Ogun State, Nigeria.

- Department of Microbiology, Federal University of Agriculture, PMB 2240, Abeokuta, Ogun State, Nigeria

Supplementary Information

Tables S1: Background information about AAS instrument and percent recovery

| Metal | Recovery (%) | LOD (mg/L) | LQD (mg/L) | Wave Length (nm) | Slit Width (nm) | Lamp current (mA) | Lamp type | Gas type | Gas flow | Flame type colour | Sensitivity Check (mg/L) | Calibration Range (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cr | 98 | 0.01 | 0.10 | 357.9 | 0.7 | 2.0 |  |  |  | A-A, rich/yellow | 2.0 | 0-5 |
| Cd | 111 | 0.001 | 0.01 | 228.9 | 0.7 |  |  |  |  | A-A, lean/ blue | 0.75 | 0-5 |
| Ni | 115 | 0.01 | 0.10 | 232.0 | 0.2 |  |  |  |  |  | 3.5 | 0-5 |
| Pb | 113 | 0.01 | 0.10 | 283.3 | 0.7 | 2.0 |  |  |  |  | 10 | 0-5 |

LOD-Limit of Detection, LQD – Limit of quantification

Table 4: Estimated daily dose of metals in mushroom