Supporting Information

Effect of Interfacial Properties on Viscoelastic Behavior of High-Temperature Multi-Phase System

Kento Nakanishi 1*, Takehiro Sumita1, and Noritaka Saito1

1Department of Materials, Kyushu University, 744 Motooka, Nishi-ku, Fukuoka, 819-0395, Japan.

*Corresponding author: nakanishi.kento.830@s.kyushu-u.ac.jp

Fig. S1 Picture of Al2O3 beads (diameter: 0.5 mm) used in this study, confirming their nearly spherical shape

200μm

S.1 Sample preparation and material characterization 
S.2 Alignment mechanism of the measuring rod assembly

Fig. S2 Schematic illustration of the alignment fixture used for assembling the rod.

To minimize eccentricity of the rod, the Al₂O₃ tube, stainless-steel tube, and torque sensor accessory were precisely aligned and fixed using the custom-made fixture. An alumina plate with a central circular opening was placed on an aluminum base plate. The alumina plate was clamped from the top and bottom using screws. The rod was inserted through the central opening of the alumina plate and mechanically constrained to maintain a straight, coaxial configuration, after which the Al₂O₃ tube and stainless-steel tube were bonded using a ceramic adhesive

S.3  Calibration of the torque-to-stress conversion

The raw output of the present measurement system is the torque generated on the rod, M [mN·m]. To convert this quantity into shear stress, σ [Pa], a calibration curve was established. Specifically, 20 mL of silicone oil standards with known viscosities η [Pa·s] were loaded into the crucible and subjected to seven shear rates, γ (0.01, 0.05, 0.1, 0.5, 1, 5, and 10 s-1). Under each condition, the torque was measured 20 times. Since the shear stress of a Newtonian fluid is strictly given by σ=ηγ, this procedure enabled calibration over a wide stress range. Although torque and stress are theoretically proportional, an intercept was included in the calibration equation to account for the instrumental detection limit and offset:

M=aσ+b,                                                                                                                           (S.3.1)

where a and b are constants.

Fig. S3 shows the relationship between stress and torque. Because the scatter in torque increased at higher stress levels, a weighted linear regression was performed using the standard deviation obtained from each calibration condition. The stress values were treated as exact, while the standard deviation of torque was calculated from the 20 repeated measurements (n=20). The weighting factors, regression coefficients, and weighted centroids were determined according to the conventional weighted least-squares method[1].The weighting factor wi was defined as

wi=si-2isi-2/n.                                                                                                                   (S.3.2)

Using these weights, the weighted slope a and intercept b were determined as

a=wiσiMi-nσwMwwiσi2-nσw2,                                                                                                 (S.3.3)

b=Mw-aσw,                                                                                                                    (S.3.4)

where σw and Mw are the weighted centroids defined by

σw=wiσin,                                                                                                                        (S.3.5)

Mw=wiMin.                                                                                                                     (S.3.6)

As a result of the calibration, the following conversion equation was obtained:

σ Pa=121.05 M mN⋅m+2.70×10-3.                                                               (S.3.7)

Fig. S3 Calibration results obtained at room temperature using silicone oil measured by the rotational method

R2 = 0.0998

S.4  Uncertainty propagation to the dynamic moduli

A sinusoidal strain,

γt=γ0sin⁡ωt,　　　　　　　　　　　　　　　　　　　                    　 (S.4.1)

was applied to the sample. The storage modulus G' and loss modulus G'' were theoretically calculated from the stress response as follows[2].

G'=2γ0T0Tσtsin⁡ωt dt,　　　　　　          　　　　　　　　   　   　 (S.4.2a)

G''=2γ0T0Tσtcos⁡ωt dt,　　　　　　          　　　　　　　   　　 　 (S.4.2b)
where T is the oscillation period. In practice, stress data were recorded at N equally spaced time points tk (k=0,1,…,N-1) with a sampling interval Δt=T/N. Therefore, Eqs. (S.4.2a) and (S.4.2b) can be approximated by

G'≈2γ0Tk=0N-1σtksin⁡ωtkΔt, 　　　　　　　　                                 　　 　 (S.4.3a)

G''≈2γ0Tk=0N-1σtkcos⁡ωtkΔt.             　　                                                        　 (S.4.3b)

Since Eqs. (S.4.3a) and (S.4.3b) represent linear combinations of σk, the standard uncertainties of G' and G'' were evaluated using the law of propagation of uncertainty [1] and are given by

uG'=2γ0Tk=0N-1uσtksin⁡ωtkΔt2,　                                                            　 (S.4.4a)

uG''=2γ0Tk=0N-1uσtkcos⁡ωtkΔt2,                                                           　 　 (S.4.4b)

where uσtk denotes the uncertainty of the stress measurement. Using Δt=T/N, Eqs. (S.4.4a) and (S.4.4b) become

uG'=2γ0Nk=0N-1uσtksin⁡ωtk2,                 　                                                   　 (S.4.5a)

uG''=2γ0Nk=0N-1uσtkcos⁡ωtk2.                                                                      　 (S.4.5b)

Assuming that uσtk is independent of time,

uG'=2uσγ0Nk=0N-1sin2ωtk,                                                                                             (S.4.6a)

uG''=2uσγ0Nk=0N-1cos2ωtk.                                                                                        (S.4.6b)

The uncertainty in stress calculated from an arbitrary measured torque M is given by

uσMk=sy/xwa1+1n+M-Mw2a2iwiσi2-nσw2,                                                 (S.4.7)

where

sy/xw=iwiMi-Mi2n-21/2,                                                                                 (S.4.8)

and Mi=aσi+b is the torque predicted by the regression equation. Using the trigonometric identities sin2θ=1-cos2θ/2 and cos2θ=1+cos2θ/2, the summation of sin2ωtk over one oscillation cycle can be written as

k=0N-1sin2ωtk=k=0N-11-cos⁡2ωtk2=k=0N-112-k=0N-112cos⁡2ωtk.                (S.4.9)

Since the sampling points are equally spaced over one complete oscillation cycle, the summation of the cosine term becomes zero. Therefore,

k=0N-1sin2ωtk=N2.                                                                                                           (S.4.10)

Similarly,

k=0N-1cos2ωtk=N2.                                                                                                          (S.4.11)
Substituting these results into Eqs. (S.5a) and (S.5b) yields

uG'=uG''=2 uσNγ0.                                                                                                          (S.4.12)

S.5  Stress Responses under Oscillatory Shear

(a) Molten Sn + Al2O3 beads at 973 K

(b) Molten Sn + Al2O3 beads at 773 K

(c) Molten Sn + Al2O3 beads at 611 K

Shear strain, γ/-

10-4

10-3

10-2

10-1

1.3 %

1.5 %

0.9 %

1.4 %

29.3 %

5.5 %

6.5 %

13.5 %

16.8 %

2.2 %

4.3 %

16.7 %

Fig. S4 Stress responses of the samples—(a) Sn/Al₂O₃ at 973 K, (b) Sn/Al₂O₃ at 773 K, and (c) Sn/Al₂O₃ at 611 K, —under applied sinusoidal strains. For each sample, the stress response corresponding to each imposed strain amplitude is shown. The contribution of the third harmonic component (%) obtained from Fourier analysis is indicated in each panel

S.6  Correlation between Storage Modulus and Candidate Interfacial Deformation Mechanisms

Fig. S5 Relationships between the storage modulus G′ and the effective spring constants derived from (a) lateral capillary interactions and (b) interfacial capillary forces. The solid lines represent the linear regression fits (G’∝ kα) for each strain condition. For the lateral capillary interaction (a), the coefficients of determination (R²) for strain amplitudes of 10⁻5, 10⁻4, and 10⁻3 are 0.82, 0.86, and 0.77, respectively. For the interfacial capillary force (b), the corresponding R² values are 0.79, 0.79, and 0.71, respectively.

(a)

(b)

Reference

1. 	Miller, J.N., Miller, J.C.: Statistics and chemometrics for analytical chemistry. Prentice Hall (2000)

2. 	Hyun, K., Wilhelm, M., Klein, C.O., Cho, K.S., Nam, J.G., Ahn, K.H., Lee, S.J., Ewoldt, R.H., McKinley, G.H.: A review of nonlinear oscillatory shear tests: Analysis and application of large amplitude oscillatory shear (LAOS). Prog. Polym. Sci. 36, 1697–1753 (2011). https://doi.org/10.1016/j.progpolymsci.2011.02.002