Supplementary table S1: Reported estimated cost of the workflows.

| Cost parameter | Category/Device | Workflow | Mean (€) | Median (€) | SD (€) | Total (%) |
| --- | --- | --- | --- | --- | --- | --- |
| Material cost per splint | Splint material consumption | Subtractive (milled) | 22.03 | 22.00 | 19.88 | 115 (58.9) |
|  |  | Additive (printed) | 7.60 | 5.00 | 7.22 | 22 (11.5) |
|  |  | Wax-injection technique | 10.00 | 10.00 | 10.00 | 1 (0.5) |
|  |  | Vacuum thermoforming technique | 9.66 | 10.00 | 4.35 | 16 (8.3) |
|  |  | Other conventional workflow | 14.00 | 12.00 | 5.29 | 3 (1.6) |
| Annual maintenance costs of the equipment | Device maintenance | Subtractive (milled) | 2,423.51 | 1,800.00 | 3,595.81 | 49 (25.5) |
|  |  | Additive (printed) | 1,038.64 | 650.00 | 1136.03 | 22 (11.5) |
|  |  | Wax-injection technique | 100.00 | 100.00 | 141.42 | 2 (1.0) |
|  |  | Vacuum thermoforming technique | 53.64 | 10.00 | 88.94 | 11 (5.7) |
|  |  | Other conventional workflow | 100.00 | 100.00 | 100.00 | 1 (0.5) |
| Annual repair costs of all devices | Device repair | Subtractive (milled) | 1,353.87 | 1,000.00 | 1,764.94 | 31 (16.1) |
|  |  | Additive (printed) | 1,528.57 | 900.00 | 3,065.05 | 14 (7.3) |
|  |  | Wax-injection technique | 100.00 | 100.00 | 141.42 | 2 (1.0) |
|  |  | Vacuum thermoforming technique | 53.00 | 27.50 | 78.22 | 10 (5.2) |
|  |  | Other conventional workflow | 300.00 | 300.00 | 300.00 | 1 (0.5) |
| Monthly CAD software license | CAD software | CAD/CAM workflow | 206.79 | 108.00 | 357.29 | 80 (41.6) |
| Monthly CAM software license | CAM software | CAD/CAM workflow | 158.76 | 50.00 | 507.91 | 59 (30.7) |
| Acquisition costs of the devices | Milling machine | Subtractive (milled) | 74,557.88 | 77,500.00 | 39,162.14 | 52 (27.1) |
|  | 3D printer | Additive (printed) | 17,766.20 | 12,000.00 | 18,914.96 | 71 (37.0) |
|  | Ultrasonic bath |  | 1,039.46 | 800.00 | 855.24 | 56 (29.2) |
|  | Light polymerization device |  | 2,186.84 | 2,000.00 | 1,403.34 | 57 (29.7) |
|  | Combination device (ultrasonic bath and light polymerization device) |  | 2,606.25 | 2,250.00 | 2,582.11 | 16 (8.3) |
|  | Modell scanner | CAD/CAM hybrid workflow | 14,778.88 | 15,000.00 | 6,655.32 | 85 (44.3) |
|  | Pressure pot | Conventional workflow | 2,070.59 | 2,500.00 | 947.70 | 17 (8.9) |
|  | Light polymerization device |  | 1,412.50 | 1,250.00 | 1,038.41 | 12 (6.3) |
|  | Thermofoil machine | Vacuum thermoforming technique | 2,025.00 | 2,300.00 | 815.18 | 14 (7.3) |
|  | Articulator | Used in both CAD/CAM hybrid and conventional workflows | 1,206.37 | 900.00 | 2,728.89 | 117 (60.3) |