Supplementary Information

S-1: Results of pH, EC, DO, and ORP

Table 1. Results of pH of deionized water before magnetization (NM) and after magnetization by using 3M and BM MagVortex® devices

|  | pH | Average | Standard Deviation | % Change |
| --- | --- | --- | --- | --- |
| NM | 8.05 | 8.05 | 0.005773503 |  |
| NM | 8.04 |  |  |  |
| NM | 8.05 |  |  |  |
| 3M | 7.51 | 7.51 | 0.005773503 | -6.710853355 |
| 3M | 7.50 |  |  |  |
| 3M | 7.51 |  |  |  |
| BM | 7.07 | 7.07 | 0.005773503 | -12.17895609 |
| BM | 7.06 |  |  |  |
| BM | 7.07 |  |  |  |

Table 2. Results of conductance (EC) of deionized water before magnetization (NM) and after magnetization by using 3M and BM MagVortex® devices

|  | EC | Average | Standard Deviation | % Change |
| --- | --- | --- | --- | --- |
| NM | 18.2 | 18.17 | 0.057735027 |  |
| NM | 18.1 |  |  |  |
| NM | 18.2 |  |  |  |
| 3M | 23.8 | 23.77 | 0.057735027 | 30.82568807 |
| 3M | 23.8 |  |  |  |
| 3M | 23.7 |  |  |  |
| BM | 44.1 | 44.17 | 0.115470054 | 143.1192661 |
| BM | 44.1 |  |  |  |
| BM | 44.3 |  |  |  |

Table 3. Results of dissolved oxygen (DO) of deionized water before magnetization (NM) and after magnetization by using 3M and BM MagVortex® devices

|  | DO | Average | Standard Deviation | % Change |
| --- | --- | --- | --- | --- |
| NM | 3.97 | 3.97 | 0.005773503 |  |
| NM | 3.96 |  |  |  |
| NM | 3.97 |  |  |  |
| 3M | 4.02 | 4.02 | 0.005773503 | 1.428571429 |
| 3M | 4.02 |  |  |  |
| 3M | 4.03 |  |  |  |
| BM | 3.88 | 3.87 | 0.01 | -2.43697479 |
| BM | 3.86 |  |  |  |
| BM | 3.87 |  |  |  |

Table 4. Results of reduction potential ORP, (mV) of deionized water before magnetization (NM) and after magnetization by using 3M and BM MagVortex® devices

|  | Reduction Potential ORP (mV) | Average | Standard Deviation | % Change |
| --- | --- | --- | --- | --- |
| NM | 143.00 | 113.50 | 41.719 |  |
| NM | 84.00 |  |  |  |
| NM |  |  |  |  |
| 3M | 166.00 | 156.00 | 14.142 | 37.44493392 |
| 3M | 146.00 |  |  |  |
| 3M |  |  |  |  |
| BM | 186.00 | 152.00 | 48.083 | 33.92070485 |
| BM | 118.00 |  |  |  |
| BM |  |  |  |  |