## Supplementary Information
Exposure-Integrated Risk Prioritization of Legacy and Emerging PFAS: A Case Study of a Major River Basin in South Korea via High-Resolution Mass Spectrometry
Minsu Shin, Gyojin Choo*
Department of Environmental Science, Kangwon National University, Chuncheon, 24341, Republic of Korea
*Corresponding author: Gyojin Choo
E-mail address: gjchoo@kangwon.ac.kr
Table S1 List of target PFAS and isotope labelled standards
Table S2 Instrument conditions for LC-Orbitrap/MS
Table S3 Criteria and attributes used for PFAS ToxPi scoring
Table S4 Calibration curve parameters, procedural recoveries, method detection limits (MDLs) of PFAS
Table S5. Drinking water guidelines for PFAS in Korea, Japan, USA, Australia, EU, and Canada
Table S6. Daily PFAS load at each sampling site in Geum River (g/day)
Table S7. QSAR-predicted persistence, bioaccumulation, and toxicity of PFAS
Table S8. ToxPi scores, exposures, and risk indexes (RIs) of PFAS in Geum River

## Table S1
Table S1. List of target PFAS and isotope labelled standards
Compound class |  | Compound | Acronym | Corresponding labeled standard | Formula | Suppliers
Native Standards | Perfluoroalkyl carboxylic acids (PFCAs) | Perfluorobutanoic acid | PFBA | MPFBA | C4HF7O2 | Wellington laboratories, Canada
|  | Perfluoropentanoic acid | PFPeA | M5PFPeA | C5HF9O2 | Wellington laboratories, Canada
|  | Perfluorohexanoic acid | PFHxA | M5PFHxA | C6HF11O2 | Wellington laboratories, Canada
|  | Perfluoroheptanoic acid | PFHpA | M4PFHpA | C7HF13O2 | Wellington laboratories, Canada
|  | Perfluorooctanoic acid | PFOA | M8PFOA | C8HF15O2 | Wellington laboratories, Canada
|  | Perfluorononanoic acid | PFNA | M9PFNA | C9HF17O2 | Wellington laboratories, Canada
|  | Perfluorodecanoic acid | PFDA | M6PFDA | C10HF19O2 | Wellington laboratories, Canada
|  | Perfluoroundecanoic acid | PFUnDA | M7PFUdA | C11HF21O2 | Wellington laboratories, Canada
|  | Perfluorododecanoic acid | PFDoDA | MPFDoA | C12HF23O2 | Wellington laboratories, Canada
|  | Perfluorotridecanoic acid | PFTrDA | MPFDoA | C13HF25O2 | Wellington laboratories, Canada
|  | Perfluorotetradecanoic acid | PFTeDA | M2PFTeDA | C14HF27O2 | Wellington laboratories, Canada
|  | Perfluorohexadecanoic acid | PFHxDA | M2PFHxDA | C16HF31O2 | Wellington laboratories, Canada
|  | Perfluorooctadecanoic acid | PFODA | M2PFHxDA | C18HF35O2 | Wellington laboratories, Canada
| Perfluoroalkyl sulfonic acids (PFSAs) | Perfluorobutane sulfonic acid | PFBS | M3PFBS | C4HF9O3S | Wellington laboratories, Canada
|  | Perfluoropentane sulfonic acid | PFPeS | M3PFBS | C5HF11O3S | Wellington laboratories, Canada
|  | Perfluorohexane sulfonic acid | PFHxS | M3PFHxS | C6HF13O3S | Wellington laboratories, Canada
|  | Perfluoroheptane sulfonic acid | PFHpS | M3PFHxS | C7HF15O3S | Wellington laboratories, Canada
|  | Perfluorooctanesulfonic acid | PFOS | M8PFOS | C8HF17O3S | Wellington laboratories, Canada
|  | Perfluorononane sulfonic acid | PFNS | M8PFOS | C9HF19O3S | Wellington laboratories, Canada
|  | Perfluorodecane sulfonic acid | PFDS | M8PFOS | C10HF21O3S | Wellington laboratories, Canada
| Perfluoro sulfoamides (FASAs) | Perfluorobutanesulfonamide | FBSA | M8PFOS | C4H2F9NO2S | Wellington laboratories, Canada
|  | Perfluorohexanesulfonamide | FHxSA | M8PFOS | C6H2F13NO2S | Wellington laboratories, Canada
|  | Perfluorooctanesulfonamide | FOSA | M8FOSA | C8H2F17NO2S | Wellington laboratories, Canada
|  | N-Methyl perfluorooctane sulfonamide | N-MeFOSA | d-N-MeFOSA | C9H4F17NO2S | Wellington laboratories, Canada
|  | N-Ethyl perfluorooctane sulfonamide | N-EtFOSA | d-N-EtFOSA | C10H6F17NO2S | Wellington laboratories, Canada
| Perfluoro sulfonamido acetic acids (FASAAs) | N-Methyl perfluorooctane sulfonamido acetic acid | N-MeFOSAA | d3-N-MeFOSAA | C11H6F17NO4S | Wellington laboratories, Canada
|  | N-Ethyl perfluorooctane sulfonamidoacetic acid | N-EtFOSAA | d5-N-EtFOSAA | C12H8F17NO4S | Wellington laboratories, Canada
| Fluorotelomer carboxylic acids (FTCAs) | 3:3 Fluorotelomer carboxylic acid | 3:3 FTCA | M5PFPeA | C6H5F7O2 | Wellington laboratories, Canada
|  | 5:3 Fluorotelomer carboxylic acid | 5:3 FTCA | M5PFHxA | C8H5F11O2 | Wellington laboratories, Canada
|  | 7:3 Fluorotelomer carboxylic acid | 7:3 FTCA | M5PFHxA | C10H5F15O2 | Wellington laboratories, Canada
| Fluorotelomer unsaturated carboxylic acids (FTUCAs) | 8:2 Fluorotelomer unsaturatedcarboxylic acid | 8:2 FTUCA (FOUEA) | M8:2 FTUCA | C10H2F16O2 | Wellington laboratories, Canada
| Fluorotelomer sulfonic acids (FTSs) | 4:2 Fluorotelomer sulfonic acid | 4:2 FTS | M2-4:2 FTS | C6H5F9O3S | Wellington laboratories, Canada
|  | 6:2 Fluorotelomer sulfonic acid | 6:2 FTS | M2-6:2 FTS | C8H5F13O3S | Wellington laboratories, Canada
|  | 8:2 Fluorotelomer sulfonic acid | 8:2 FTS | M2-8:2 FTS | C10H5F17O3S | Wellington laboratories, Canada
| Fluorotelomer phosphate diester (diPAP) | 8:2 Fluorotelomer phosphate diester | 8:2 diPAP | M4-8:2 diPAP | C20H9F34O4P | Wellington laboratories, Canada
| Perfluoroether carboxylic acids (PFECAs) | Hexafluoropropylene oxide dimer acid | HFPO-DA (Gen-X) | M3 Gen-X | C6HF11O3 | Wellington laboratories, Canada
|  | Ammonium 4, 8-dioxa-3H-perfluorononanoate | ADONA | M4PFHpA | C7H2F12O4 | Wellington laboratories, Canada
| Perfluoroether sulfonic acids (PFESAs) | 6:2 Chlorinated perfluoroether sulfonic acid | 6:2 Cl-PFESA (9Cl-PF3ONS) | M8PFOS | C8HClF16O4S | Wellington laboratories, Canada
|  | 8:2 Chlorinated perfluoroethersulfonic acid | 8:2 Cl-PFESA (11Cl-PF3OUdS) | M8PFOS | C10HClF20O4S | Wellington laboratories, Canada
Isotope labelled Standards |  | Perfluoro-n-(13C4 )butanoic acid | MPFBA | M3PFBA | [13C4]HF7O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(13C5 )pentanoic acid | M5PFPeA | M2PFOA | [13C5]HF9O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(1,2,3,4,6-13C5 )hexanoic acid | M5PFHxA | M2PFOA | [13C5]CHF11O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(1,2,3,4,-13C4 )heptanoic acid | M4PFHpA | M2PFOA | [13C4]C3HF13O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(13C8 )octanoic acid | M8PFOA | M2PFOA | [13C8]HF15O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(13C9 )nonanoic acid | M9PFNA | MPFDA | [13C9]HF17O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(1,2,3,4,5,6-13C6 )decanoic acid | M6PFDA | MPFDA | [13C6]C4HF19O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(1,2,3,4,5,6,7-13C7 )undecanoic acid | M7PFUdA | MPFDA | [13C7]C4HF21O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(1,2-13C2 )dodecanoic acid | MPFDoA | MPFDA | [13C2]C10HF23O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(1,2-13C2 )tetradecanoic acid | M2PFTeDA | MPFDA | [13C2]C2HF27O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(1,2-13C2 )hexadecanoic acid | M2PFHxDA | MPFDA | [13C2]C14HF31O2 | Wellington laboratories, Canada
|  | Sodium perfluoro-1-(2,3,413C3 )butanesulfonate | M3PFBS | MPFOS | [13C3]CHF9O3S | Wellington laboratories, Canada
|  | Sodium perfluoro-1-(1,2,3-13C3 )hexanesulfonate | M3PFHxS | MPFOS | [13C3]C3HF13O3S | Wellington laboratories, Canada
|  | Sodium perfluoro-1-(13C8 )octanesulfonate | M8PFOS | MPFOS | [13C8]HF17O3S | Wellington laboratories, Canada
|  | Perfluoro-1-(13C8 )octanesulfonamide | M8FOSA | MPFOS | [13C8]H2F17NO2S | Wellington laboratories, Canada
|  | N-methyl-d3 -perfluoro-1-octanesulfonamide | d-N-MeFOSA | MPFOS | C9[2H3]HF17NO2S | Wellington laboratories, Canada
|  | N-ethyl-d5 -perfluoro-1-octanesulfonamide | d-N-EtFOSA | MPFOS | C10[2H5]HF17NO2S | Wellington laboratories, Canada
|  | N-methyl-d3 -perfluoro-1-octanesulfonamidoacetic acid | d3-N-MeFOSAA | MPFOS | C11[2H3]H3F17NO4S | Wellington laboratories, Canada
|  | N-ethyl-d5-perfluoro-1-octanesulfonamidoacetic acid | d5-N-EtFOSAA | MPFOS | C12[2H5]H3F17NO4S | Wellington laboratories, Canada
|  | 2H-Perfluoro-(1,2-13C2 )-2-decenoic acid | M8:2 FTUCA | MPFDA | [13C2]C8H2F16O2 | Wellington laboratories, Canada
|  | Sodium 1H,1H,2H,2H-perfluoro(1,2-13C2 )hexanesulfonate | M2-4:2 FTS | MPFOS | [13C2]C4H5F9O3S | Wellington laboratories, Canada
|  | Sodium 1H,1H,2H,2H-perfluoro(1,2-13C2 )octanesulfonate | M2-6:2 FTS | MPFOS | [13C2]C6H5F13O3S | Wellington laboratories, Canada
|  | Sodium 1H,1H,2H,2H-perfluoro(1,2-13C2 )decanesulfonate | M2-8:2 FTS | MPFOS | [13C2]C10H5F17O3S | Wellington laboratories, Canada
|  | Sodium bis(1H,1H,2H,2H-(1,2-13C2 )perfluorodecyl)phosphate | M4-8:2 diPAP | M2PFOA | [13C4]C16H8F34O4PNa | Wellington laboratories, Canada
|  | 2,3,3,3-Tetrafluoro-2-(1,1,2,2,3,3,3-heptafluoropropoxy)-13C3-propanoic acid | M3 Gen-X | M2PFOA | [13C3]C3H4F11NO3 | Wellington laboratories, Canada
|  | Perfluoro-n-[2,3,4-13C3]butanoic acid | M3PFBA |  | [13C3]CHF7O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(1,2-13C2 )octanoic acid | M2PFOA |  | [13C2]C6HF15O2 | Wellington laboratories, Canada
|  | Perfluoro-n-(1,2-13C2 )decanoic acid | MPFDA |  | [13C2]C8HF19O2 | Wellington laboratories, Canada
|  | Sodium perfluoro-1-(1,2,3,4-13C4 )octanesulfonate | MPFOS |  | [13C4]C4HF17O3S | Wellington laboratories, Canada

## Table S2
Table S2. Instrument conditions for LC-Orbitrap/MS
A. LC instrument analysis conditions
Column |  | Hypersil GOLD (4.6 mm)
Column temperature |  | 40 ℃
Mobile phase |  | A: 10 mM AA (water/methanol = 9:1 v/v), B: 10 mM AA in methanol
Gradient | Time (min) | 0–1 | 1–3 | 3–13 | 13–17 | 17–22 | 22–25 | 25–28
| Solvent B (%) | 1 | 50 | 70 | 95 | 95 | 2 | 1
| Flow rate (mL/min) | 0.3 | 0.3 | 0.3 | 0.3 | 0.5 | 0.5 | 0.3
Injection volume |  | 10 µL
B. HRMS instrument analysis conditions
Ion Transfer Tube |  | 325 ℃
Vaporizer |  | 350 ℃
Spray voltage (V) |  | 3500 (negative)
Sheath gas flow rate (a.u.) |  | 45
Aux gas flow rate (a.u.) |  | 10
Sweep gas flow rate (a.u.) |  | 1
Full MS | Mass range | 100–1300 m/z
| Resolution | 120000
| AGC target | Standard
| Maximal injection time | Auto
| Inclusion list | All target compounds listed in Talbe S1
| Exclusion list | Methanol blank; top 50 features
Data dependent MS/MS (Top 4) | Resolution | 15000
| AGC target | Standard
| Maximal injection time | Auto
| Dynamic exclusion filter | n=3, 6s exclusion; exclude isotopes
Note: AA: acetic acid; a.u.: arbitrary units (range: 0–80)

## Table S3
Table S3. Criteria and attributes used for PFAS ToxPi scoring
Criteria |  | Attributes | Unit | Scaling | Weight | Software | Model
Persistence |  | Biowin1 | unitless | -x | 1/9 | EPI Suite v4.11 | BIOWIN v4.11
|  | Biowin3 | unitless | -x | 1/9
|  | Biowin5 | unitless | -x | 1/9
Bioaccumulation |  | BCF | L/kg | log(x) | 1/6 | EPI Suite v4.11 | BCFBAF v3.02
|  | Log Kow | unitless | x | 1/6 |  | KOWWIN v1.69
Toxicity | Ecotoxicological effects | Fish LC50 (96 h) | mg/L | -log(x) | 1/18 | ECOSAR v2.2 | ECOSAR v2.2
|  | Daphnid LC50 (48 h) | mg/L | -log(x) | 1/18 |  | ECOSAR v2.2
|  | Green Algae EC50 (96 h) | mg/L | -log(x) | 1/18 |  | ECOSAR v2.2
| Human health effects | Carcinogenicity | unitless | x | 1/60 | VEGA v1.2.4 | CAESAR v2.1.14
ISS v 1.0.3
IRFMIN-ISSCAN-CGX v1.0.2
IRFMIN-Antares v1.0.2
|  | Developmental toxicity | unitless | x | 1/60 | VEGA v1.2.4 | CAESAR v2.1.8
[6 empty] | VEGA v1.2.4 | PG v1.1.2
[6 empty] | T.E.S.T. v5.1.2.0 | T.E.S.T. v5.1.2.0
|  | Mutagenicity | unitless | x | 1/60 | VEGA v1.2.4 | Consensus v1.0.4
CORAL v1.0.1
IRFMN-VERMEER v1.0.1
IRFMN v1.0.2
|  | Endocrine disrupting effect | unitless | x | 1/60 | VEGA v1.2.4 | IRFMN-CERAPP v1.01
IRFMN-COMPARA v1.0.1
IRFMN v1.0.2
|  | Hepatotoxicity | unitless | x | 1/60 | VEGA v1.2.4 | IRFMN v1.0.1
|  | Skin irritation/corrosion | unitless | x | 1/60 | QSAR Toolbox v 4.5 | BfR
|  | Eye irritation/corrosion | unitless | x | 1/60 | QSAR Toolbox v 4.5 | BfR
|  | Skin sensitization | unitless | x | 1/60 | VEGA v1.2.4 | CAESAR v2.1.7
IRFMN-JRC v1.0.1
NCSTOX v1.0.1
TOXTREE v1.0.0
|  | Repeated dose toxicity | mg/kg | -log(x) | 1/60 | VEGA v1.2.4 | IRFMN-CORAL v1.0.1
|  | Oral rat LD50 | mg/L | -log(x) | 1/60 | T.E.S.T. v5.1.2.0 | T.E.S.T. v5.1.2.0

## Table S4
Table S4. Calibration curve parameters, procedural recoveries, method detection limits (MDLs) of PFAS
Analytes | Calibration range (ng/ml) | Number of points | R2 | Recovery (%) | Precision (%) | MDLsa (ng/L)
PFBA | 0.1–20 | 8 | >0.99 | 97.3 | 1.99 | 0.62
PFPeA | 0.2–20 | 7 | >0.99 | 99.5 | 1.01 | 0.32
PFHxA | 0.2–20 | 7 | >0.99 | 101 | 0.96 | 0.3
PFHpA | 0.2–20 | 7 | >0.99 | 99.3 | 1.06 | 0.33
PFOA | 0.2–20 | 7 | >0.99 | 101 | 1.14 | 0.36
PFNA | 0.1–20 | 8 | >0.99 | 101 | 0.84 | 0.26
PFDA | 0.1–20 | 8 | >0.99 | 99.1 | 0.77 | 0.24
PFUnDA | 0.1–20 | 8 | >0.99 | 95.6 | 2.16 | 0.68
PFDoDA | 0.1–20 | 8 | >0.99 | 99.6 | 1.77 | 0.56
PFTrDA | 0.1–20 | 8 | >0.99 | 99.6 | 2.61 | 0.82
PFTeDA | 0.1–20 | 8 | >0.99 | 100 | 2.35 | 0.74
PFHxDA | 0.2–20 | 7 | >0.99 | 101 | 1.7 | 0.53
PFODA | 0.1–20 | 8 | >0.99 | 98.5 | 3.48 | 1.09
PFBS | 0.1–20 | 8 | >0.99 | 110 | 0.82 | 0.23
PFPeS | 0.1–20 | 8 | >0.99 | 101 | 0.36 | 0.11
PFHxS | 0.1–20 | 8 | >0.99 | 106 | 0.81 | 0.23
PFHpS | 0.1–20 | 8 | >0.99 | 98.6 | 1.88 | 0.56
PFOS | 0.1–20 | 8 | >0.99 | 109 | 1.84 | 0.54
PFNS | 0.1–20 | 8 | >0.99 | 74.3 | 10.2 | 3.08
PFDS | 0.1–20 | 8 | >0.99 | 58.7 | 12.3 | 3.72
FBSA | 0.1–20 | 8 | >0.99 | 164 | 9.34 | 2.93
FHxSA | 0.1–20 | 8 | >0.99 | 158 | 8.41 | 2.64
FOSA | 0.1–20 | 8 | >0.99 | 99.8 | 1.81 | 0.57
N-MeFOSA | 0.1–20 | 8 | >0.99 | 97.3 | 2.55 | 0.8
N-EtFOSA | 0.1–20 | 8 | >0.99 | 97.5 | 4.85 | 1.52
N-MeFOSAA | 0.1–20 | 8 | >0.99 | 100 | 2.23 | 0.72
N-EtFOSAA | 0.1–20 | 8 | >0.99 | 101 | 2.54 | 0.8
3:3 FTCA | 2–20 | 4 | >0.99 | 97.9 | 6.22 | 1.95
5:3 FTCA | 0.5–100 | 6 | >0.99 | 105 | 4.97 | 7.81
7:3 FTCA | 0.25–100 | 7 | >0.99 | 78.5 | 5.91 | 9.28
FOUEA | 0.1–20 | 8 | >0.99 | 104 | 1.76 | 0.55
4:2 FTS | 0.2–20 | 7 | >0.99 | 105 | 2.8 | 0.61
6:2 FTS | 0.2–20 | 7 | >0.99 | 105 | 1.6 | 0.48
8:2 FTS | 0.1–20 | 8 | >0.99 | 107 | 1.43 | 0.43
8:2 diPAP | 0.2–20 | 7 | >0.99 | 107 | 2.09 | 0.66
Gen-X | 1–20 | 5 | >0.99 | 98.3 | 3.11 | 0.98
ADONA | 0.1–20 | 8 | >0.99 | 106 | 1.83 | 0.54
9Cl-PF3ONS | 0.1–20 | 8 | >0.99 | 101 | 1.65 | 0.48
11Cl-PF3OUdS | 0.1–20 | 8 | >0.99 | 57.4 | 12.5 | 3.71
a MDLs: method detection limits

## Table S5
Table S5. Drinking water guidelines for PFAS in Korea, Japan, USA, Australia, EU, and Canada
(ng/L) | Korea | Japan | China | USA | Australia | Europe(EU) | Canada
PFOA | 70 (PFOA+PFOS) | 50 (PFOA+PFOS) | 80 | 4 | 200 | 100 (∑PFAS-20)b 500 (Sum of all)c | 100 (∑PFAS-20)d
PFOS |  |  | 40 | 4 | 8
PFHxS | 480 | - | - | 10 | 30
PFNA | - | - | - | 10 | -
Gen-X | - | - | - | 10 | -
Others | - | - | - | HIa = 1 | 1000 (PFBS)
a HI (Health Index): [PFHxS]/10 + [PFNA]/10 +[Gen-X]/10 + [PFBS]/2000
b PFAS-20 in clude PFCAs (C4-C13, n=10), PFSAs (C4-C13, n=10)
c Total PFAS method under discussion: TOP + LC/MS, AOF/EOF
d PFAS-25: PFCAs (C4-C12, n=9), PFSAs (C4-C8, n=5), FTS (4:2, 6:2, 8:2, n=3), PFECAs (Gen-X, ADONA, PFMPA, PFMBA, NFDHA, n=5), PFESAs (9Cl-PF3ONS, 11CPF3OUdS, PFEESA, n=3)

## Table S6
Table S6. Daily PFAS load at each sampling site in Geum River (g/day)
Analytes | M1 | T1 | T2 | M2 | T3 | T4 | M3 | M4 | M5 | T5 | M6 | M7
Flow rate (m3/s) | 30.8 | 0.86 | 6.32 | 44.8 | 4.89 | 27.2 | 89.7 | 90.5 | 116.1 | 8.38 | 210 | 217
PFBA | 3.19 | 0.09 | 2.45 | 4.23 | 0.67 | 25.7 | 51.6 | 28.1 | 40 | 4.74 | 70.8 | 76.4
PFPeA | 1.06 | 0.05 | 1.74 | 6.05 | 1.87 | 23.7 | 33 | 30.4 | 32.8 | 8.21 | 78.8 | 87.1
PFHxA | 3.2 | 0.08 | 2.88 | 10.6 | 2.17 | 22.2 | 33.3 | 32.5 | 39.6 | 11 | 110.2 | 122.2
PFHpA | 1.54 | 0.04 | 1.31 | 4.65 | 0.94 | 9.87 | 15.3 | 16.1 | 18.6 | 2.33 | 39.1 | 23.7
PFOA | 3.73 | 0.21 | 6.81 | 16.8 | 1.57 | 12.3 | 27.8 | 34.1 | 46.3 | 5.57 | 90 | 95.2
PFNA | 1.54 | 0.04 | 0.67 | 3.28 | 0.44 | 3.55 | 7.84 | 7.85 | 9.35 | 0.94 | 18.2 | 17.8
PFDA | 0 | 0 | 0.26 | 0 | 0.13 | 0.88 | 0 | 0 | 0 | 0.22 | 0 | 5.02
PFBS | 1.52 | 0.09 | 2.59 | 6.61 | 0.96 | 74.4 | 65.5 | 62.6 | 55.7 | 1.97 | 88.3 | 104.3
PFPeS | 0.3 | 0.01 | 0.19 | 0.73 | 0.07 | 0.99 | 1.5 | 1.36 | 1.93 | 0 | 2.82 | 3.03
PFHxS | 0.94 | 0.08 | 1.14 | 5.44 | 0.92 | 17.2 | 19.1 | 16.7 | 24.2 | 1.26 | 36.2 | 35.5
PFOS | 2.13 | 0.21 | 2.42 | 8.31 | 1.1 | 10.2 | 19.4 | 19.2 | 25.8 | 0.96 | 36.1 | 39.8
6:2 FTS | 0 | 0 | 0.3 | 0 | 0 | 1.73 | 25.6 | 0 | 0 | 0 | 0 | 0
Total PFAS | 19.1 | 0.9 | 22.8 | 66.7 | 10.8 | 202.8 | 300 | 249 | 294.3 | 37.2 | 570.4 | 610
a ND: Not detected
b DF: Detection frequency

## Table S7
Table S7. QSAR-predicted persistence, bioaccumulation, and toxicity of PFAS
| Biowin1 | Biowin3 | Biowin5 | BCF | log Kow | Fish LC50 (96 h) | Daphnid LC50 (48 h) | Green Algae EC50 (96 h) | Carcinogenicity | Developmental toxicity | Mutagenicity | Endocrine disrupting effect | Hepatotoxicity | Skin irritation/corrosion | Eye irritation/corrosion | Skin sensitization | Repeated dose toxicity | Oral rat LD50
unit | unitless | unitless | unitless | L/kg | unitless | mg/L | mg/L | mg/L | unitless | unitless | unitless | unitless | unitless | unitless | unitless | unitless | mg/kg | mg/kg
PFBA | -0.17 | 2.15 | 0.68 | 3.16 | 2.14 | 1300 | 760 | 600 | 0.5 | 0.67 | 0 | 0 | 0 | 0.33 | 0.33 | 0.25 | 120 | 1784
PFPeA | -0.38 | 1.83 | 0.59 | 3.16 | 2.81 | 410 | 250 | 250 | 0.5 | 0.33 | 0 | 0 | 0 | 0.33 | 0.33 | 0.25 | 0.011 | 1564
PFHxA | -0.59 | 1.51 | 0.5 | 3.16 | 3.48 | 120 | 79 | 100 | 0.75 | 0 | 0 | 0 | 0 | 0.33 | 0.33 | 0.25 | 76 | 779
PFHpA | -0.79 | 1.19 | 0.41 | 3.16 | 4.15 | 35 | 25 | 41 | 0.75 | 0 | 0.25 | 0 | 0 | 0.33 | 0.67 | 0.25 | 61 | 222
PFOA | -1 | 0.86 | 0.32 | 3.16 | 4.81 | 10 | 7.4 | 16 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 49 | 176
PFNA | -1.21 | 0.54 | 0.23 | 10 | 5.48 | 2.8 | 2.2 | 6.3 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25 | 39 | 175
PFDA | -1.42 | 0.22 | 0.14 | 56.2 | 6.15 | 0.79 | 0.66 | 2.4 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25 | 31 | 479
PFBS | -0.36 | 1.58 | 0.21 | 3.16 | 1.82 | 3600 | 2000 | 1400 | 0.25 | 0.67 | 0 | 0 | 0 | 0.33 | 0.33 | 0.25 | 4 | 1043
PFPeS | -0.57 | 1.26 | 0.12 | 3.16 | 2.49 | 1100 | 630 | 560 | 0.5 | 0.33 | 0 | 0 | 0 | 0.33 | 0.33 | 0.25 | 3.2 | 339
PFHxS | -0.77 | 0.93 | 0.03 | 3.16 | 3.16 | 300 | 190 | 220 | 0.75 | 0.33 | 0 | 0 | 0 | 0.33 | 0.33 | 0.5 | 2.6 | N/A
PFOS | -1.19 | 0.29 | -0.15 | 3.16 | 4.49 | 24 | 17 | 33 | 0.75 | 0 | 0.25 | 0 | 0 | 0.33 | 0.33 | 0.25 | 1.7 | N/A
6:2 FTS | -0.79 | 0.87 | 0.04 | 3.16 | 2.66 | 900 | 540 | 520 | 0.75 | 0.33 | 0 | 0 | 0 | 0.33 | 0.33 | 0.5 | 130 | N/A
H-PFBS | 0.17 | 2.13 | 0.12 | 3.16 | 1.21 | 12000 | 6300 | 3500 | 0.5 | 0.33 | 0 | 0 | 0 | 0.33 | 0.33 | 0.75 | 5.2 | 560

## Table S8
Table S8. ToxPi scores, exposures, and risk indexes (RIs) of PFAS in Geum River
Compound | Exposurenormalized | ToxPi score | RI | Priority | Rank
PFBS | 1 | 0.22551 | 0.22551 | High | 1
PFOA | 0.39066 | 0.49197 | 0.1922 | High | 2
PFHxA | 0.47604 | 0.31889 | 0.15181 | High | 3
PFHxS | 0.22688 | 0.41733 | 0.094683 | Medium | 4
PFPeA | 0.35427 | 0.24102 | 0.085386 | Medium | 5
PFHpA | 0.12721 | 0.44253 | 0.080447 | Medium | 6
PFOS | 0.13467 | 0.59738 | 0.056293 | Medium | 7
PFBA | 0.34187 | 0.14409 | 0.049259 | Medium | 8
PFNA | 0.041635 | 0.64047 | 0.026666 | Medium | 9
6:2 FTS | 0.019972 | 0.37785 | 0.0075464 | Low | 10
PFPeS | 0.0059709 | 0.32282 | 0.0019275 | Low | 11
H-PFBS | 0.012433 | 0.14829 | 0.0018437 | Low | 12
PFDA | 0 | 0.82354 | 0 | Insignificant | 13