| Table 1. Demographics and Characteristics (n= 379). |  |  |  |  |
| --- | --- | --- | --- | --- |
| Variable | Category | Number | Percentage (%) | Median (Range) |
| Age (years) | reported | 150 | 39.58 | 71 (25-89) |
|  | NR | 229 | 60.43 | - |
| Weight (kg) | - | 71 | 18.74 | 75.0 (45.0-134.0) |
|  | NR | 308 | 81.27 | - |
| Sex | Male | 129 | 34.0 | - |
|  | Female | 66 | 17.4 | - |
|  | NR | 184 | 48.5 | - |
| Ethnicity | Non-Hispanic | 79 | - | - |
|  | Hispanic | 4 | - | - |
|  | NR | 296 | 78.11 | - |
| Race | Asian | 66 | 17.41% | - |
|  | White | 53 | 13.98 | - |
|  | Black Or African American | 4 | 1.05 | - |
|  | NR | 256 | 67.55 | - |
| NR, not reported. |  |  |  |  |

| Table 2. Distribution of Adverse Event Types Reported in the MAUDE Database. |  |  |
| --- | --- | --- |
| Event Type | Number | Percentage (%) |
| Injury | 289 | 76.3% |
| Malfunction | 85 | 22.4% |
| Death | 5 | 1.3% |
| Total | 379 | 100 |

| Table 3. Frequencies of Reported Device Problems (n = 372). |  |  |  |
| --- | --- | --- | --- |
| Class | Subclass (Device Problem) | Number | Percentage (%) |
| Patient–Device Interaction / Use-Related | Patient Device Interaction Problem | 288 | 77.42 |
| Mechanical / Structural Malfunction | Mechanical Jam | 23 | 6.18 |
|  | Unintended Movement | 6 | 1.61 |
|  | Defective Device | 5 | 1.34 |
|  | Material Protrusion/Extrusion | 3 | 0.81 |
|  | Material Twisted/Bent | 3 | 0.81 |
|  | Entrapment of Device | 3 | 0.81 |
|  | Break | 2 | 0.54 |
|  | Structural Problem | 1 | 0.27 |
|  | Physical Resistance/Sticking | 1 | 0.27 |
|  | Material Separation | 1 | 0.27 |
|  | Mechanical Problem | 1 | 0.27 |
|  | Disconnection | 1 | 0.27 |
|  | Difficult to Open or Close | 1 | 0.27 |
|  | Material Too Rigid or Stiff | 1 | 0.27 |
| Flow / Delivery System Problems | Coagulation in Device or Device Ingredient | 15 | 4.03 |
|  | Obstruction of Flow | 13 | 3.50 |
|  | Air/Gas in Device | 4 | 1.08 |
|  | Failure to Deliver | 2 | 0.55 |
|  | Excess Flow or Over-Infusion | 1 | 0.27 |
|  | Flushing Problem | 1 | 0.27 |
|  | Complete Blockage | 1 | 0.27 |
| Electrical / Electronic Malfunction | Electrical Shorting | 3 | 0.82 |
|  | Device Sensing Problem | 2 | 0.55 |
|  | Failure to Sense | 2 | 0.55 |
|  | Activation Failure | 1 | 0.28 |
|  | High Impedance | 1 | 0.28 |
| Software / Communication / Interface Errors | Communication or Transmission Problem | 4 | 1.08 |
|  | Display or Visual Feedback Problem | 3 | 0.81 |
|  | Computer Operating System Problem | 1 | 0.27 |
|  | Incorrect Interpretation of Signal | 1 | 0.27 |
|  | Device Provides Uninformative Message | 1 | 0.27 |
|  | Device Displays Incorrect Message | 1 | 0.27 |
|  | No Display/Image | 4 | 1.08 |
| Measurement / Reading Problems | High Readings | 7 | 1.88 |
|  | Low Readings | 1 | 0.27 |
| Infection / Contamination Related | Device Contamination with Body Fluid | 8 | 2.15 |
|  | Delivered as Unsterile Product | 1 | 0.27 |
|  | Contamination/Decontamination Problem | 1 | 0.27 |
| Procedural / Human Error Related | Improper or Incorrect Procedure or Method | 4 | 1.08 |
|  | Positioning Problem | 2 | 0.55 |
| Manufacturing / Quality / Supply Issues | Manufacturing, Packaging or Shipping Problem | 3 | 0.81 |
| Compatibility Issues | Device-Device Incompatibility | 3 | 0.81 |
| Device Performance Failure | Therapeutic or Diagnostic Output Failure | 8 | 2.15 |

| Table 4. Frequencies of Reported Patient Problems =294 |  |  |  |
| --- | --- | --- | --- |
| Class | Subclass (Patient Problem) | Number | Percentage (%) |
| Neurologic / Cerebrovascular Events | Stroke/CVA | 134 | 45.58 |
|  | Transient Ischemic Attack | 20 | 6.80 |
|  | Ischemic Stroke | 10 | 3.40 |
|  | Unspecified Nervous System Problem | 11 | 3.74 |
|  | Paralysis | 3 | 1.02 |
|  | Loss of Vision | 1 | 0.34 |
|  | Intracranial Hemorrhage | 1 | 0.34 |
|  | Encephalopathy | 1 | 0.34 |
| Cardiac Structural / Pericardial Complications | Cardiac Tamponade | 48 | 16.33 |
|  | Cardiac Perforation | 14 | 4.76 |
|  | Pericardial Effusion | 4 | 1.36 |
|  | Pericarditis | 3 | 1.02 |
| Arrhythmia / Conduction Abnormalities | Cardiac Arrest | 9 | 3.06 |
|  | Heart Block | 7 | 2.38 |
|  | Asystole | 6 | 2.04 |
|  | Bradycardia | 4 | 1.36 |
|  | Arrhythmia | 4 | 1.36 |
|  | Tachycardia | 3 | 1.02 |
|  | Atrial Flutter | 2 | 0.68 |
|  | Ventricular Fibrillation | 1 | 0.34 |
| Heart Failure / Ischemic / Hemodynamic Events | Heart Failure/Congestive Heart Failure | 7 | 2.38 |
|  | Ischemic Heart Disease | 6 | 2.04 |
|  | Cardiogenic Shock | 5 | 1.7 |
|  | Pulmonary Edema | 3 | 1.02 |
|  | Low Blood Pressure/Hypotension | 3 | 1.02 |
|  | Myocardial Infarction | 1 | 0.34 |
|  | Syncope/Fainting | 2 | 0.68 |
| Thromboembolic / Vascular Events | Thrombosis/Thrombus | 7 | 2.38 |
|  | Air Embolism | 2 | 0.68 |
|  | Embolism/Embolus | 2 | 0.68 |
|  | Vasoconstriction | 3 | 1.02 |
|  | Vasospasm | 2 | 0.68 |
|  | Vascular Dissection | 1 | 0.34 |
|  | Stenosis | 1 | 0.34 |
|  | Unspecified Vascular Problem | 1 | 0.34 |
| Bleeding / Hematologic Events | Hemorrhage/Blood Loss/Bleeding | 3 | 1.02 |
|  | Hemolysis | 4 | 1.36 |
| Respiratory Events | Respiratory Failure | 5 | 1.7 |
|  | Respiratory Tract Infection | 1 | 0.34 |
|  | Bronchospasm | 1 | 0.34 |
|  | Dyspnea | 1 | 0.34 |
| Renal / Metabolic / Systemic Dysfunction | Renal Impairment | 3 | 1.02 |
| General / Symptom-Based Events | Pain | 5 | 1.7 |
|  | Dizziness | 3 | 1.02 |
|  | Discomfort | 1 | 0.34 |
| Gastrointestinal Events | Heartburn/Indigestion | 2 | 0.68 |
| Psychiatric / Behavioral | Unspecified Mental, Emotional or Behavioral Problem | 2 | 0.68 |
| Urinary / Other Systemic | Urinary Retention | 1 | 0.34 |