## Slide 1
Calibration Samples |  |  | Modern Samples |  |  | Fossil Samples |  | 
Name | Modern Goat (MG1, MG2) | Modern Human (MH1, MH2) | Bovid Molar Strip A1 (Fragment P1-P6) | Bovid Molar Strip A1 (Fragment P7) & Alanine | Bovid Molar Strips A2-A5 | Bovid Powder (B1) | Bovid Fragment (B2) | Primate Powder and Fragment
Irradiation Type | Gamma |  | X-ray | X-ray | Gamma | Gamma | X-ray | Gamma & X-ray
Irradiation Settings | 200Gy and 800Gy | 50 Gy and 400Gy | 600s | 60s, 120s, 300s, 600s, 1800s, 3600s and 7200s. | 50Gy (B1), 200Gy (B2), 400Gy (B3) and 800Gy(B4) | 50Gy, 100Gy, 250Gy, 600Gy, 1200Gy, 2400Gy, 4000Gy, 8000Gy, 11000Gy and 17000Gy | 17Gy, 71Gy, 201Gy, 335Gy, 672Gy, 1352Gy, 2735Gy, 5398Gy and 11645Gy | 52.8Gy, 203.5Gy, 507.1Gy, 1060Gy, 2870Gy and 7820 Gy
ESR intensity | DRC generated by X-ray protocol ( with steps 60s to 66000s ) |  | Derived from ESR measurement | Derived from ESR measurement | DRC generated by X-ray irradiation dose estimation (with steps 60s to 66000s) | Derived from ESR measurement | Derived from ESR measurement | DRC generated by X-ray irradiation dose estimation (with steps 60s to 66000s)
Aim | Calibrate Samples |  | (i) Evaluate X-ray penetration | (ii) Evaluate X-ray ionisation efficiency | (iii)Enamel dose recovery of known gamma dose by X-ray irradiation | (iv) Investigate the discrepancy between gamma and X-ray irradiation |  | 
Table 1

## Slide 2
Sample Number | Gamma Dose Equivalent (Gy) | Dose Rate (Gy/s) | X-ray Gun (s) | Calibration Coefficient a | De | Error
MH1 | 50 | 4.225 | 438.6 | 0.0268 | 51.6 | 2.6
MG1 | 200 | 4.281 | 1632.8 | 0.0286 | 193.5 | 9.6
MH2 | 400 | 4.285 | 3383.8 | 0.0276 | 400.1 | 19.5
MG2 | 800 | 4.281 | 6765.0 | 0.0276 | 801.7 | 42.1
Average |  |  |  | 0.0277 ±0.001 |  | 
Table 2

## Slide 3
A | Modern Samples | Gamma Dose (Gy) | Gamma Dose 2% Error (Gy) | De X-ray (Gy) | 2-S Error (Gy) | Offset Percentage
 | A2-1 | 50 | 1 | 47.5 | 4.4 | 5%
 | A2-2 | 50 | 1 | 49.5 | 5.3 | 1%
 | A2-3 | 50 | 1 | 52.3 | 5.3 | 5%
 | A3-1 | 200 | 4 | 196.2 | 15.7 | 2%
 | A3-2 | 200 | 4 | 185.8 | 16.4 | 7%
 | A3-3 | 200 | 4 | 188.4 | 15.9 | 6%
 | A4-1 | 400 | 8 | 395.1 | 28 | 1%
 | A4-2 | 400 | 8 | 417.4 | 28.8 | 4%
 | A4-3 | 400 | 8 | 378.5 | 31.9 | 5%
 | A5-1 | 800 | 16 | 841.5 | 65.4 | 5%
 | A5-2 | 800 | 16 | 799.6 | 54.6 | 0%
 | A5-3 | 800 | 16 | 769.5 | 66.6 | 4%
B | Fossil Samples | Gamma Dose (Gy) | Gamma Dose error (Gy) | De X-ray (Gy) | X-ray Error (Gy) | Offset Percentage
 | Bovid (B1&B2) | 377 | 36 | 451 | 31 | 20%
 | Primate 1 | 726 | 49 | 896 | 43 | 23%
 | Primate 2 | 198 | 8 | 233 | 8 | 18%
 | Primate 3 | 1325 | 99 | 1667 | 96 | 26%
 | Homo naledi (1778) | 159 | 11 | 232 | 22 | 46%
 | Homo naledi (1810) | 232 | 29 | 281 | 34 | 21%
Table 3