Supplementary 1:

3-Dimensional Forearm Model

Supplementary 2:

| Material | Electrical conductivity (σ)(S/m) | Electrical permittivity(ε) |
| --- | --- | --- |
| Skin | 0.0025 | 8000 |
| Fat | 0.01 | 20000 |
| Blood | 0.7 | 5197 |
| Muscle | 1 | 100000 |
| Bone | 0.083 | 613 |
| Nerve | 0.6 | 100000 |

Tissue material constants: σ, specific conductivity; ε, relative permeability

Supplementary 3:

The image of ultrasound

The dotted green line is the cross-section of the median nerve; the red dotted line represents the distance from skin to nerve. An individualized depth plan was developed for each patient.

Supplementary 4:

Percutaneous nerve stimulation

Supplementary 5:

Transcutaneous electrical nerve stimulation

Supplementary 6:

Current Density Distributions under Electrode at Different Distance

Supplementary 7:

Current Distributions at Different Needle Distance

A: Electric potential distribution at 1cm distance between two needles; B: Electric potential distribution at 2cm distance between two needles; C: Electric potential distribution at 3cm distance between two needles.

Supplementary 8:

Current Density Distribution Diagram

Ultimately, we calculate percutaneous nerve stimulation optimal parameters by finite element modeling: parallel to each other, electrical needles are located at both ends of the injury nerve with a distance of 3 cm.