## Overview & Legend
Complete Rule Base & Weight Schema
Version: 2.0 (Revised for Major Revision Submission)
Date: August 2026
Author: Mohamad Firas Wahbeh
METHODOLOGICAL STATUS:
• Rule weights are AUTHOR-ASSIGNED heuristics informed by literature and informal clinical consultation
• NOT derived from formal Delphi consensus or empirical calibration
• Offered as a REPRODUCIBLE SUBSTRATE for future formal weight calibration
• All weights must be read as ORDINAL HEURISTICS, not calibrated probabilities
SCORING ARCHITECTURE:
• Baseline: Neutral (0) for each candidate item
• Positive indication: +weight
• Caution/contraindication: -weight
• Hard exclusion: -large penalty + exclusion flag (recommendation blocked)
• Displayed 'suitability match': clamped [2%, 98%] for interpretability
• Internal ranking: unclamped raw sum retained
LAYER STRUCTURE:
Layer 1: 5 Device Categories → Layer 2: 9 AFO Subtypes → Layer 3: 11 Ankle-Joint Mechanisms → Layer 4: 4 Insole Subtypes

## Layer 1 - Categories
Layer 1: Top-Level Device Categories
Category ID | Category Name | Clinical Domain | Key Indications (Summary) | Key Contraindications | Baseline Weight | Methodological Note
CAT-01 | Foot Orthosis (FO) | Flexible foot deformities, accommodative needs | Flexible flatfoot, plantar fasciitis, metatarsalgia, diabetic foot, mild pronation | Rigid flatfoot (Jack's test negative), severe spasticity, fixed equinus | 0 | Leading category when FPI-6 and navicular drop indicate flexible pronation without proximal control needs | Evidence Level
CAT-02 | Supramalleolar Orthosis (SMO) | Coronal-plane subtalar control without sagittal ankle restriction | Flexible flatfoot with subtalar instability, mild valgus, low tone | Fixed deformities, significant sagittal-plane instability, severe spasticity | 0 | Extends just above malleoli; influences subtalar motion only | Level of evidence supporting category assignment
CAT-03 | Dynamic Ankle-Foot Orthosis (DAFO) | Dynamic control with some flexibility | Cerebral palsy (GMFCS I-III), mild-moderate spasticity, crouch gait (mild) | Severe spasticity (Ashworth ≥3), fixed contractures, severe crouch | 0 | Combines foot control with dynamic ankle response; often articulated | II–III (systematic reviews with heterogeneity)
CAT-04 | Ground-Reaction AFO (GRAFO) | Knee-extension moment generation | Crouch gait (moderate-severe), quadriceps weakness, CP with knee flexion contracture <15° | Fixed knee flexion contracture >15°, severe equinus, severe spasticity | 0 | Anterior tibial shell replaces posterior shell to generate external knee-extension moment during stance | II–III (CP consensus; biomechanical rationale)
CAT-05 | Ankle-Foot Orthosis (AFO) Family | Comprehensive ankle-foot mechanical control | Drop foot, hemiplegia, post-polio, moderate-severe instability, fixed deformities requiring containment | Severe spasticity with uncontrolled movements (relative contraindication for standard designs) | 0 | Broadest category; cascades to 9 subtypes and 11 joint mechanisms | III (broad clinical consensus; institutional atlases)

## Layer 2 - AFO Subtypes
Layer 2: AFO Family Subtypes (Activated when CAT-05 is leading)
Subtype ID | Subtype Name | Structural Description | Primary Indications | Contraindications / Cautions | Typical Weight Range | Hard Exclusion Flag | Evidence Source
AFO-01 | Solid (Rigid) AFO | Full posterior shell, fixed ankle, no joint | Flaccid paralysis, severe instability, fixed deformity containment, post-polio | Mild cases needing some ankle motion; may cause muscle atrophy if over-prescribed | +8 to +12 | No | ISO terminology; ISPO CP consensus 1995; Morris 2002 | Evidence Level
AFO-02 | Posterior Leaf-Spring (PLS) | Trimmed posterior shell with flexible mediolateral leaf-spring | Drop foot (flaccid), mild hemiplegia, need dorsiflexion assist with some flexibility | Severe spasticity (Ashworth ≥3), significant varus/valgus instability, >10kg body weight on single limb | +6 to +10 | Yes (if Ashworth ≥3) | Figueiredo et al. 2008; manufacturer guides (Ottobock, Becker) | Level of evidence supporting subtype assignment
AFO-03 | Articulated Free-Motion (Hinged) | Mechanical ankle joint with free dorsi/plantarflexion | Preserved muscle strength needing mediolateral stability only, sports/recreational use | Significant sagittal-plane weakness, spasticity, crouch gait | +4 to +8 | Yes (if Ashworth ≥2) | ISPO consensus; Ridgewell et al. 2010 | III (ISPO consensus; Ridgewell et al. 2010)
AFO-04 | Plantarflexion Stop | Joint blocks plantarflexion beyond neutral, allows dorsiflexion | Crouch gait (mild-moderate), uncontrolled plantarflexion in stance, CP with some knee control | Fixed equinus contracture, severe crouch with >15° knee flexion | +5 to +9 | Yes (if fixed equinus >5°) | Miccinilli et al. 2024; ISPO CP consensus | II–III (Miccinilli et al. 2024 SR; ISPO CP consensus)
AFO-05 | Carbon-Fiber Dynamic-Response | Carbon-composite shell storing/releasing energy | Active ambulators, drop foot with high step length, athletic populations, need energy return | Severe instability, spasticity, fixed deformities, non-ambulatory | +5 to +9 | Yes (if non-ambulatory or Ashworth ≥3) | Manufacturer guides (Allard, Fillauer); systematic reviews | II–III (manufacturer guides; systematic reviews)
AFO-06 | Tone-Reducing / Inhibitory | Contoured footplate with medial/lateral posting, proprioceptive features | Moderate spasticity (Ashworth 2-3), hypertonia with adducted/inverted foot, CP | Flaccid paralysis (no tone to reduce), severe spasticity (Ashworth 4), fixed bony deformity | +4 to +8 | Yes (if Ashworth =1 or Ashworth =4) | ISPO CP consensus; clinical practice literature | III (ISPO CP consensus; clinical practice literature)
AFO-07 | Dorsiflexion-Assist / Night-Stretch | Elastic/strap dorsiflexion assist or static night stretch | Mild plantarflexion contracture, need passive stretch, preventive in early CP | Fixed contracture >10°, severe spasticity, weight-bearing as primary AFO | +3 to +6 | Yes (if fixed contracture >10°) | Manufacturer guides (Cascade DAFO, SureStep); clinical practice | III (manufacturer guides; clinical practice)
AFO-08 | Soft Fabric-Reinforced | Fabric ankle support with plastic/foam reinforcements | Mild instability, low tone, sensory-proprioceptive needs, very low activity level | Significant mechanical instability, spasticity, need rigid control | +2 to +5 | Yes (if Ashworth ≥2 or significant instability) | Clinical practice; manufacturer guides | III (clinical practice; manufacturer guides)
AFO-09 | Patellar Tendon-Bearing (PTB-AFO) | Proximal anterior shell loading patellar tendon for partial weight relief | Partial weight-bearing needs, fracture healing, severe pain with full weight-bearing | Normal weight-bearing capacity, need full free ankle motion, poor patellar tendon integrity | +3 to +6 | No | ISPO polio consensus 2001; clinical practice | III (ISPO polio consensus 2001; clinical practice)

## Layer 3 - Joint Mechanisms
Layer 3: Ankle-Joint Mechanisms (Activated for articulated devices / GRAFO)
Mechanism ID | Mechanism Name | Functional Description | Primary Indications | Contraindications | Weight Range | Notes
JNT-01 | Fixed / Solid Ankle | No motion; maximum mechanical control | Flaccid paralysis, severe instability, fixed deformity, post-polio | Need any ankle motion for function or stretch | +6 to +10 | Default for solid AFO; not applicable to articulated designs | Evidence Level
JNT-02 | Free-Motion Pin-and-Channel | Unrestricted dorsi/plantarflexion in sagittal plane | Preserved strength, need mediolateral stability only, athletic use | Sagittal-plane weakness, spasticity, crouch | +3 to +6 | Basic hinge design; low profile | Level of evidence supporting mechanism assignment
JNT-03 | Elastomeric Flexure Joint | Rubber/polymer flexure allowing limited motion | Mild-moderate instability, need some motion with durability | Severe instability, need precise angle control | +3 to +6 | Durable; no metal parts | III (manufacturer literature; durability studies)
JNT-04 | Single Plantarflexion Stop | Blocks plantarflexion at set angle, free dorsiflexion | Mild crouch, uncontrolled plantarflexion, CP with some knee control | Fixed equinus, severe crouch | +4 to +7 | Often paired with DAFO/GRAFO designs | II–III (CP consensus; post-surgical protocols)
JNT-05 | Single Dorsiflexion Stop | Blocks dorsiflexion at set angle, free plantarflexion | Calcaneal gait, excessive dorsiflexion in stance (rare) | Crouch gait, need dorsiflexion assist | +2 to +5 | Rarely primary indication | III (rare indication; biomechanical rationale)
JNT-06 | Dual Stop (Plantar + Dorsiflexion) | Motion restricted within defined arc | Need controlled range for safety, post-surgical protection | Need free motion for function, spasticity with breakthrough movements | +3 to +6 | Protective rather than functional primary role | III (post-surgical protection protocols)
JNT-07 | Adjustable Bi-Channel Joint | Independent adjustment of dorsi/plantarflexion resistance | Variable tone, changing needs over rehabilitation course, need fine-tuning | Fixed contractures, need simple robust design | +4 to +7 | Requires trained adjustment; higher maintenance | III (rehabilitation literature; requires trained adjustment)
JNT-08 | Proprietary Geometries (e.g., SureStep) | Manufacturer-specific hinge geometry with unique motion characteristics | Indications per manufacturer clinical guide | When manufacturer-specific evidence is lacking or contraindicated | +3 to +6 | Evidence base varies by manufacturer; requires scrutiny | III (manufacturer-specific; evidence base varies)
JNT-09 | Spring-Assisted Energy Return | Mechanical spring assists dorsiflexion during swing | Drop foot with active ambulation, need energy return, high step length | Severe spasticity, fixed deformity, non-ambulatory | +4 to +8 | Requires adequate range of motion | II–III (manufacturer guides; energy-return studies)
JNT-10 | Variable-Stiffness Energy Return | Progressive resistance matching gait phase | Active ambulators, variable terrain, need adaptive response | Severe instability, spasticity, cognitive inability to adapt | +4 to +8 | Advanced technology; limited long-term evidence | III (advanced technology; limited long-term evidence)
JNT-11 | Multi-Axis / Ball-and-Socket | Controlled motion in multiple planes | Complex multiplanar instability, rare anatomical variants | Simple uniplanar needs (over-engineering), severe spasticity | +2 to +5 | Rarely indicated; complex fitting | III (rare indication; complex fitting literature)

## Layer 4 - Insole Refinement
Layer 4: Insole-Specific Biomechanical Refinement Module (Activated when CAT-01 is leading)
Insole ID | Insole Type | Structural Description | Primary Indications | Hard Exclusion | Input Measures | Methodological Note
INS-01 | Rigid Corrective Shell | Full-length rigid polypropylene/carbon shell with deep heel cup | FPI-6 ≥ 6 (pronated), navicular drop ≥ 10mm, Jack's test POSITIVE (flexible) | Jack's test NEGATIVE (rigid flatfoot) | FPI-6, Navicular Drop (mm), Jack's Test | Hard exclusion if Jack's negative: rigid shell cannot correct fixed deformity | Evidence Level
INS-02 | Semi-Rigid with Deep Heel Cup & Medial Post | Semi-rigid shell with posted heel and medial arch support | FPI-6 4-5 (mild-moderate pronation), navicular drop 6-9mm, Jack's test POSITIVE | Jack's test NEGATIVE | FPI-6, Navicular Drop (mm), Jack's Test | Intermediate control; hard exclusion if Jack's negative | Level of evidence supporting insole assignment
INS-03 | Soft Accommodative | Multi-density foam, cushioned, no rigid shell | Diabetic foot, neuropathy, rigid flatfoot (Jack's negative), high-risk skin | None specific | FPI-6, Navicular Drop, Skin Status | Pressure redistribution primary goal; not for correction | II–III (diabetic foot literature; pressure-redistribution studies)
INS-04 | Cushioned with Lateral Forefoot Wedge | Soft cushion with lateral wedge under forefoot | High-arched foot (FPI-6 ≤ 0), supinated posture, lateral column overload | Flatfoot/promated posture | FPI-6, Navicular Drop | Compensates for supination; contraindicated in pronation | III (high-arched foot biomechanics; clinical practice)
ADDITIONAL CLINICAL INPUT: Silfverskiöld Test
Test Result | Interpretation | System Action
Positive (gastrocnemius tightness only) | Isolated gastrocnemius contracture; ankle dorsiflexion improves with knee flexed | Generate plain-language note: 'Finding not correctable by insole. Recommend stretching program or referral for further evaluation.'
Negative (tightness with knee flexed and extended) | Soleus also involved or joint contracture | No specific insole note; deformity may need AFO-level intervention

## Clinical Inputs & Reliability
Standardized Clinical Input Variables: Published Reliability Characteristics
Measure | What It Measures | Input Format in Orthotica | Published Reliability | Limitations | System Transparency Action
Modified Ashworth Scale (MAS) | Muscle spasticity / tone | Ordinal 0-4 | Original testing: elbow flexors only (n=30). Inter-rater reliability variable across muscle groups in subsequent literature. | Inconsistent reliability across joints; ordinal scale may not capture nuanced tone changes | Inline explanation warns user of reliability constraints; hard-exclusion logic engages at MAS ≥3 for certain devices
Foot Posture Index (FPI-6) | Standing foot posture in 3 planes | Sum of 6 items (-12 to +12) | Documented construct validity; generally acceptable reliability in adults and children | Subject to rater training; may not reflect dynamic foot posture during gait | Inline guide explains scoring; linked to insole module when FO is leading category
Navicular Drop Test | Midfoot pronation magnitude | Millimeters (mm) | Original diagnostic threshold ~10mm for excessive pronation; moderate reliability | Measurement technique sensitive; caliper placement variable | Threshold of 10mm used as heuristic; inline guide describes measurement protocol
Silfverskiöld Test | Isolated gastrocnemius tightness vs. soleus/joint contracture | Positive / Negative | Poor-to-moderate inter- and intra-rater reliability in recent dedicated studies | Technique-sensitive; distinction between gastrocnemius and soleus involvement can be ambiguous | Result generates informational note only (does not directly affect score); user informed of reliability limits
Jack's Test | Flexible vs. rigid flatfoot | Positive (flexible) / Negative (rigid) | Long-standing clinical distinction; limited formal reliability data in recent literature | Subjective interpretation of 'reformation' of arch | Hard exclusion for rigid/semi-rigid insoles when negative; inline guide describes expected observation
GMFCS Level | Gross motor function in CP | Level I-V | Acceptable inter-rater reliability (formal Delphi development) | CP-specific; not applicable to non-CP populations | Used as contextual input for CP cases; informs AFO subtype selection
Manual Muscle Testing (MMT) | Muscle strength grade | Ordinal 0-5 per muscle group | Reliability varies by muscle group and rater experience | Subjective; requires training; may not reflect functional strength | Used in combination with other inputs; no single MMT score drives recommendation independently

## Scoring Examples
Illustrative Scoring Examples (Retrospective Case Series)
Case ID | Diagnosis | Key Inputs | Leading Category | Leading Subtype | Suitability Match (clamped) | Rationale Summary
P006 | Poliomyelitis | FPI-6=4; Navicular drop=10mm; Ashworth=1 | Foot Orthosis (CAT-01) | Semi-Rigid Insole (INS-02) | 97% | Low tone, flexible pronation pattern, no contraindications. All positive-indication rules matched.
P023 | Rigid Flatfoot | Jack's test NEGATIVE; FPI-6=8; Navicular drop=12mm | Foot Orthosis (CAT-01) | Soft Accommodative (INS-03) | 97% | Jack's negative triggers hard exclusion for rigid/semi-rigid insoles; soft accommodative selected. High match because FO category remains appropriate.
P030 | Drop Foot (Flaccid) | Ashworth=0; MMT dorsiflexors=1; no fixed deformity | AFO Family (CAT-05) | Posterior Leaf-Spring (AFO-02) | 97% | Classic flaccid drop foot presentation. PLS matches all positive rules; no exclusions.
P008 | Drop Foot with Severe Spasticity | Ashworth=4; MMT=2; previous skin breakdown | AFO Family (CAT-05) | Tone-Reducing AFO (AFO-06) | 76% | Lowest score in cohort. Severe spasticity triggers caution flags and down-ranks standard PLS. Tone-reducing design selected but with conservative warning. Demonstrates hard-exclusion logic prioritizing safety.
P017 | Cerebral Palsy (GMFCS III) | Ashworth=2; mild crouch; knee flexion 10° | Ground-Reaction AFO (CAT-04) | Plantarflexion Stop (JNT-04) | 89% | Crouch gait with preserved some knee control; GRAFO indicated. Joint mechanism selected for plantarflexion control.

## Weight Provenance
Rule Weight Provenance & Methodological Transparency
Weight Category | Assignment Method | Evidence Base | Limitations & Future Calibration Plan
Category-level weights (Layer 1) | Author-assigned based on clinical hierarchy from ISO terminology and ISPO consensus reports | ISO 2008; ISPO CP 1995; ISPO Polio 2001; Morris 2002 | NOT Delphi-calibrated. Sensitivity to weight perturbation untested. Planned: 3-round Delphi with ≥15 international experts.
AFO subtype weights (Layer 2) | Author-assigned informed by systematic reviews (Figueiredo 2008, Miccinilli 2024) and manufacturer clinical guides | Figueiredo et al. 2008; Miccinilli et al. 2024; manufacturer guides (Cascade, SureStep, Ottobock, Becker, Allard, Fillauer) | Manufacturer literature is non-peer-reviewed. Weight sensitivity analysis pending. Delphi calibration planned.
Joint mechanism weights (Layer 3) | Author-assigned based on mechanical rationale and clinical indications from consensus literature | ISPO consensus reports; Atlas of Orthoses; clinical biomechanics principles | Limited comparative trial evidence for specific joint mechanisms. Formal consensus needed.
Insole refinement weights (Layer 4) | Author-assigned based on FPI-6 validation studies and navicular drop threshold literature | Redmond et al. 2006; Keenan et al. 2007; Mueller et al. 1993 | Jack's test reliability limitations acknowledged. Thresholds are heuristics, not validated cut-points.
Hard-exclusion penalties | Fixed large penalty (-50) with exclusion flag; applied when contraindication is documented in literature | Consensus contraindications; safety-critical clinical reasoning | Binary exclusion may be overly conservative in some edge cases. Delphi review of exclusion criteria planned.
IMPORTANT DISCLAIMER:
All weights in this schema are ORDINAL HEURISTICS representing relative clinical importance within the author's informed judgment. They are NOT:
• Calibrated probabilities of clinical success
• Products of formal expert consensus
• Validated against prospective patient outcomes
• Substitutes for the judgment of a certified orthotist and physician