|  | Table 2: Revision characteristics of 967 patients undergoing revision rTSA. Values are presented as number (percentage) as indicated. |  |  |
| --- | --- | --- | --- |
|  | Revisions characteristics, n=967 |  |  |
|  | Reason for revision, n (%) * |  |  |
|  | Infection | 318 (33) |  |
|  | Instability | 284 (29) |  |
|  | Glenoid component loosening | 125 (13) |  |
|  | Malalignment | 84 (9) |  |
|  | Humeral component loosening | 125 (13) |  |
|  | Peri-prosthetic fracture | 81 (8) |  |
|  | Cuff pathology | 38 (4) |  |
|  | Other | 125 (13) |  |
|  | Revision procedure, n (%) |  |  |
|  | Partial revision | 615 (64) |  |
|  | Removal of prosthesis | 143 (15) |  |
|  | Total revision | 122 (12) |  |
|  | Other | 63 (7) |  |
|  | Unspecified | 24 (2) |  |
|  | Component replaced, n (%)* |  |  |
|  | Humeral head insert | 453 (47) |  |
|  | Glenosphere | 339 (35) |  |
|  | Metaphysis taper | 162 (17) |  |
|  | Glenoid baseplate | 146 (15) |  |
|  | Humeral stem | 95 (10) |  |
|  | Bonegraft, n (%) |  |  |
|  | Allograft | 71 (7) |  |
|  | Autograft | 14 (1) |  |
|  | Combination of both | 4 (0) |  |
|  | No | 750 (78) |  |
|  | Unspecified | 128 (14) |  |
|  | Two stage revision, n | 143 |  |
|  | *Multiple entries were possible |  |  |