  - Tables

Table 1. Data distribution for training and testing the AI modules

| Module / Category | Training data (n) | Testing data (n) |
| --- | --- | --- |
| DCNN2 (Anatomical Site Classification) |  |  |
| 0 - Oropharynx&unspecified site(s) | 3, 219 | 200 |
| 1 - Esophagus | 2, 451 | 200 |
| 2 - Squamocolumnar junction | 2, 045 | 200 |
| 3 - Antrum | 2, 467 | 200 |
| 4 - Lower body | 1, 822 | 200 |
| 5 - Upper-Middle body | 1, 809 | 200 |
| 6 - Duodenal | 2, 340 | 200 |
| 7 - Incisura | 1, 987 | 200 |
| 8 - Fundus | 2, 031 | 200 |
| Total | 20, 171 | 1, 800 |
| DCNN1 (Image Quality Assessment) |  |  |
| 0 - Low Quality | 1, 670 | 205 |
| 1 - High Quality | 2, 422 | 205 |
| Total | 4, 092 | 410 |
| DCNN3a (Atrophy Diagnosis) |  |  |
| Total | 3, 714 | 1, 038 |
| DCNN3b (Atrophy Segmentation) |  |  |
| Total | 3, 150 | 300 |

Table 2. Baseline characteristics of the test set (Dataset 3a)

| Characteristic | Value |
| --- | --- |
| Age, years, mean ± SD | 52.95±13.07 |
| Gender, n (%) |  |
| Male | 102 (54.26%) |
| Female | 86 (45.74%) |
| Pathology, n (%) |  |
| CAG | 91 (48.40%) |
| CNAG | 97 (51.60%) |
| Anatomical Site, number of images |  |
| Fundus | 403 |
| Antrum | 653 |
| Incisura | 412 |
| Upper-Middle Body | 235 |
| Lower Body | 321 |

Table 3. Comparative performance of DCNN1 SOTA models on Independent test set

|  | EfficientNet-B7 | Resnet50 | Resnet50 (Based on MeanTeacher) |
| --- | --- | --- | --- |
| Index | Accuracy, % | Accuracy, % | Accuracy, % |
| 0 - Low Quality | 94.63(194/205) | 93.17(191/205) | 96.10(197/205) |
| 1 - High Quality | 91.22(187/205) | 90.73(186/205) | 94.15(193/205) |
| Average (95% CI) | 92.93(91.37-94.48) | 91.95(90.33-93.57) | 95.12 (93.75-96.49) |

Table 4. Comparative performance of DCNN2 SOTA models on Independent test set

|  | EfficientNet-B7 | Resnet50 | Resnet50 (Based on MeanTeacher) |
| --- | --- | --- | --- |
| Index | Accuracy, % | Accuracy, % | Accuracy, % |
| 0 - Oropharynx and unspecified site(s)​​ | 97.00 | 92 | 95.5 |
| 1 - Esophagus | 96.00 | 96.50 | 96.50 |
| 2 - Squamocolumnar junction | 99.50 | 99.50 | 99.50 |
| 3 - Antrum | 99.50 | 99.50 | 99.50 |
| 4 - Lower body | 96.50 | 97.50 | 97.50 |
| 5 - Upper-Middle body | 100.00 | 100.00 | 100.00 |
| 6 - Duodenal | 93.50 | 94.50 | 94.00 |
| 7 - Incisura | 97.00 | 98.00 | 97.00 |
| 8 - Fundus | 99.50 | 100.00 | 100.00 |
| Average (95% CI) | 97.61(96.91, 98.32) | 97.50(96.78, 98.22) | 97.72(97.03, 98.41) |

Table 5.  Comparative performance of DCNN3b SOTA models

|  | Mean IOU | Recall at 50% IOU (95% CI) |
| --- | --- | --- |
| Unet V2 | 0.753 | 0.941 (0.915-0.967) |
| UNet++ | 0.704 | 0.934 (0.911-0.964) |

Table 6. Performance Comparison of DCNN3a-1 (Feature-prompt) and DCNN3a-2 (Whole-image) Methods for Detecting CAG

| Method | Region | Sensitivity (95% CI) | Specificity (95% CI) | Accuracy (95% CI) |
| --- | --- | --- | --- | --- |
| DCNN3a-1 (Feature-prompt) | Fundus | 88.7% (83.0-92.8) | 83.2% (78.0-87.5) | 85.4% (81.3-88.7) |
|  | Antrum | 93.6% (90.6-95.7) | 90.5% (86.6-93.4) | 92.2% (89.6-94.2) |
|  | Incisura | 94.3% (90.7-96.6) | 89.1% (83.3-93.2) | 92.2% (88.8-94.7) |
|  | Upper-Middle Body | 87.5% (78.4-93.2) | 94.2% (89.3-97.0) | 91.9% (87.4-95.0) |
|  | Lower Body | 92.7% (88.1-95.6) | 92.2% (86.2-95.8) | 92.5% (88.6-95.2) |
|  | Total | 92.4% (90.6-93.9) | 89.2% (87.1-91.1) | 90.9% (89.4-92.2) |
| DCNN3a-2 (Whole-image) | Fundus | 83.6% (77.0-88.8) | 79.9% (74.4-84.6) | 81.4% (76.7-85.4) |
|  | Antrum | 90.8% (87.5-93.4) | 86.1% (81.6-89.6) | 88.8% (85.6-91.3) |
|  | Incisura | 90.3% (86.0-93.4) | 86.7% (80.5-91.2) | 87.2% (82.9-90.5) |
|  | Upper-Middle Body | 81.3% (71.1-88.6) | 90.3% (84.6-94.1) | 87.9% (82.8-91.6) |
|  | Lower Body | 88.6% (83.3-92.5) | 86.7% (79.7-91.6) | 87.9% (83.1-91.5) |
|  | Total | 88.4% (86.4-90.2) | 85.4% (83.0-87.5) | 87.0% (85.2-88.6) |
| p-value (Total) |  | < 0.001 | 0.005 | < 0.001 |

Table 7. Diagnostic performance of AI and 6 endoscopists in the competitions

|  | AI model | All endoscopists( n=6) | Seniors (n=2) | Intermediates (n=4) |
| --- | --- | --- | --- | --- |
| Sensitivity % (95% CI) | 92.4 (90.6-93.9) | 86.6% (85.9-87.4) | 91.3 (90.0-92.5) | 84.3 (83.2-85.3) |
| Specificity % (95% CI) | 89.2 (87.2-91.0) | 87.7% (87.0-88.5) | 89.2 (87.8-90.5) | 87.0 (85.9-88.1) |
| Accuracy % (95% CI) | 90.9 (89.4-92.1) | 87.2% (86.6-87.8) | 90.3 (89.2-91.3) | 85.6 (84.8-86.4) |
| P value for Accuracy |  | <0.05* | 0.738** | <0.001*** |

* AI vs. All endoscopists; ** AI vs. Senior endoscopists; *** AI vs. Intermediate endoscopists